## Sheet1
Hall D & Beam Line Element | [5 empty] | FEET UNITS | [8 empty] | METER UNITS
|  | Incremental Distance In Ft | Distance from Point of Tangency | Beam Elevation Jlab System | Floor Elevation | Clear Ceiling Height from Floor | Distance to North Wall from Beam | Total Width | East Coordinate | North Coordinate | Incremental Distance In m | Distance from Point of Tangency | Beam Elevation Jlab system | Floor Elevation | Clear Ceiling Height from Floor | Distance to North Wall from Beam | Total Width | East Coordinate | North Coordinate
Point of Tangency |  | 0 | 0 | 11.8568 | 11.25 | 10 | 4.5 | 13.5 | 5579.3 | 2893.44 |  |  | 3.6149 | 3.4299 | 3.0488 | 1.372 | 4.1159 | 1701.0061 | 882.1463
Existing Stub Interior Face |  |  | 143.6562 | 11.8568 | 11.25 | 10 | 4.5 | 13.5 | 5722.9563 |  |  | 43.7976 | 3.6149 | 3.4299 | 3.0488 | 1.372 | 4.1159 | 1744.8037
Inclined Tunnel Extension
| Start of Inclined Floor | 103.276 | 103.276 |  | 11.25 | 7 | 1.5416 | 7 | 5682.576 |  | 31.4866 | 31.4866 |  | 3.4299 | 2.1341 | 0.47 | 2.1341 | 1732.4927
| End of Inclined Floor | 81.2422 | 184.5182 |  | 25.5867 | 7 | 1.5416 | 7 | 5763.8182 |  | 24.769 | 56.2556 |  | 7.8008 | 2.1341 | 0.47 | 2.1341 | 1757.2617
Horizontal Tunnel Extension
| Start of floor |  | 184.5182 |  | 25.5867 | 7 | 1.5416 | 7 | 5763.8182 |  |  | 56.2556 |  | 7.8008 | 2.1341 | 0.47 | 2.1341 | 1757.2617
| End of Floor |  | 282.08 | 28.92 | 25.5867 | 7 | 1.5416 | 7 | 5861.38 |  |  | 86 | 8.8171 | 7.8008 | 2.1341 | 0.47 | 2.1341
Tagger Building
| West Face |  | 282.08 | 28.9198 | 23.0158 | 14.76 | 9.84 | 24.6 | 5861.38 |  |  | 86 | 8.817 | 7.017 | 4.5 | 3 | 7.5 | 1787.0061
| Radiator |  | 285.36 | 28.9198 | 23.0158 | 14.76 | 9.84 | 24.6 | 5864.66 | 2893.44 |  | 87 | 8.817 | 7.017 | 4.5 | 3 | 7.5 | 1788.0061 | 882.1463
| Tagger Magnet (west end) |  |  | 28.9198 | 23.0158 | 14.76 | 9.84 | 24.6 |  |  |  |  | 8.817 | 7.017 | 4.5 | 3 | 7.5
| Permanent Magnet |  |  | 28.9198 | 23.0158 | 14.76 | 9.84 | 24.6 |  |  |  |  | 8.817 | 7.017 | 4.5 | 3 | 7.5
| East Face |  | 368.2128 | 28.9198 | 23.0158 | 14.76 | 9.84 | 24.6 | 5947.5128 |  |  | 112.26 | 8.817 | 7.017 | 4.5 | 3 | 7.5 | 1813.2661
Beam Pipe |  |  |  | 28.9198 | [8 empty] | 8.817
Collimator
| West Face |  | 531.36 | 28.9198 | 25.6398 | 8.856 | 7.38 | 14.76 | 6110.66 |  |  | 162 | 8.817 | 7.817 | 2.7 | 2.25 | 4.5 | 1863.0061
| East Face |  | 570.72 | 28.9198 | 25.6398 | 8.856 | 7.38 | 14.76 | 6150.02 |  |  | 174 | 8.817 | 7.817 | 2.7 | 2.25 | 4.5 | 1875.0061
Hall D
| West Face |  | 570.72 | 28.9198 | 17.407 |  | 23.5 | 56.5 | 6150.02 | 2893.44 |  | 174 | 8.817 | 5.307 |  | 7.1646 | 17.2256 | 1875.0061 | 882.1463
| GlueX Solenoid |  |  | 28.9198 | 17.407 |  | 23.5 | 56.5 |  |  |  |  | 8.817 | 5.307 |  | 7.1646 | 17.2256
| East Face |  | 667.3867 | 28.9198 | 17.407 |  | 23.5 | 56.5 | 6246.6867 |  |  | 203.4716 | 8.817 | 5.307 |  | 7.1646 | 17.2256 | 1904.4777
Photon Beam Dump
| East End |  |  | 28.9198 | [8 empty] | 8.817
Fence |  |  |  | 28.9198 | [8 empty] | 8.817
Canon Blvd. West Side |  |  |  | 28.9198 | [8 empty] | 8.817
Electron Beam Dump |  |  |  | 28.9198 | [8 empty] | 8.817