## Sheet1
[11 empty] | with scope in April 2014 | Run267 | Run304 | with scope in July 2014 |  | suggested action
wires:
[9 empty] | S1 | FDC1,C1,S1-24 | ??? |  |  | to be tested
| FDC1 | U2-8BOT | slot7 | ch.45 (top connector #21) | no signal | TDCROC4 | slot4 | ch.45 | S22 | FDC1,C6,S1-24 | bad 3M |  |  | to be tested |  | bad 3M very certain!!! Fix it!
| FDC3 | U2-4BOT | Slot 8 | ch.73 (bottom connector) | no signal |  |  |  | S73 | FDC3,C4,S73-96 | [5 empty] | signal sometime appears when cable is bending
[9 empty] | S5 | FDC2,C4,S1-24 | ??? |  |  | to be tested
strips:
| FDC1 | U2-4-TOP | slot4 | all channels | noisy | ROC4 | slot1 | all channels |  | FDC1,C1,D169-192-23 | x | disconnected |  | no noise
|  | U2-4-TOP | slot5 | ch.71 | low | ROC4 | slot2 | ch.0 | D97A | FDC1,C2,D97A-120-0 | bad | disconnected |  | 70 mV
|  | U2-4-TOP | slot7 | ch.69 | no pedestal | ROC4 | slot4 | ch.69 | U75 | FDC1,C4,U73-96A-2 | x | disconnected |  | OK | bad again in run 176
|  | U2-4-TOP | slot7 | ch.71 | low | ROC4 | slot4 | ch.71 | U73 | FDC1,C4,U73-96A-2 | bad | disconnected |  | max 50mV | ok at 100 (ADC units thresh.)
|  | U2-4-TOP | slot9 | ch.0 | low | ROC4 | slot6 | ch.0 | U24 | FDC1,C5,U1-24-23 | bad, some noise | disconnected |  | 50 mV, noise 30mV 23-13 down to 15mV on rest
|  | U2-4-MID | slot5 | ch.25 | low | ROC5 | slot2 | ch.25 | U167 | FDC1,C5,U145-168-22 | bad | disconnected |  | max 60mv
[9 empty] | U73 | FDC1,C5,U73-96A | OK | disconnected |  | to be checked | bad in run 176
| FDC2 | U2-4-MID | slot8 | ch.32 | no pedestal | ROC5 | slot5 | ch.32 | D136 | FDC2,C1,D121-144-15 | x | disconnected |  | OK
|  | U2-4-MID | slot14 | ch71 | low | ROC5 | slot9 | ch.71 | U97A | FDC2,C4,U97A-120-0 | bad | disconnected |  | 60 mV |  | cable pulled during insertion? Already happened once
|  | U2-4-MID | slot15 | ch59 | no pedestal | ROC5 | slot10 | ch.59 | U85 | FDC2,C5,U73-96A-12 | x | disconnected |  | OK
| FDC3 | U2-5-TOP | slot14 | ch0 | no signal | ROC7 | slot9 | ch0,4 | D192 | FDC3,C1,D169-192-23 | bad | D192 | D192 | no signal no noise (<6mv) |  | try fixing 3M??? If doesn't help not worth fixing it (tried everything else)
|  | U2-5-TOP | slot14 | ch4 | no pedestal | ROC7 | slot9 | ch0,4 | D188 | FDC3,C1,D169-192-23 | x | D188-ok;D175(new) | D175 | OK
|  | U2-5-TOP | slot15 | ch67 | low | ROC7 | slot10 | ch67 | D101A | FDC3,C2,D97A-120-4 | bad | D101A-ok | ok | max 50mV |  | was fixed once, bad pre-amp connector
|  | U2-5-MID | slot6 | ch25,26 | very low | ROC8 | slot3 | ch25,26 | D70,71 | FDC3,C6,D49-72-22 | 3 bad | ok | ok | max 60mV, 2 bad |  | can be fixed by bending up, #1,2,3 appearred before
|  | U2-5-MID | slot7 | ch24 | very low | ROC8 | slot4 | ch24 | D144 | FDC3,C6,D121-144-23 | bad | ok | ok | max 60mV |  | difficult to fix it
|  | U2-5-MID | slot7 | ch0 | very low | ROC8 | slot4 | ch0 | D168 | FDC3,C6,D145-168-23 | bad | ok | ok | max 50mV |  | fixed by bending up very little, but re-appearred several times
|  | U2-5-MID | slot8 | ch1 | very low | ROC8 | slot5 | ch1 | U23 | FDC3,C6,U1-24-22 | bad | U23-ok; U1,U2(new) | ok | max 50mV |  | next to manifold, depending how bend tube, could be #23,24 or #2 (now)
|  | U2-5-MID | slot8 | ch24 | no | ROC8 | slot5 | ch24 | U72 | FDC3,C6,U49-72-23 | bad | U72 | U72 | no signal no noise |  | 3M???
|  | U2-5-MID | slot9 | ch25 | very low | ROC8 | slot6 | ch25 | D167 | FDC3,C1,D145-168-22 | bad | D167-ok | ok | max 40mV |  | fixed once by bending up
|  | U2-5-MID | slot10 | ch0 | low | ROC8 | slot7 | ch0 | U168 | FDC3,C3,U145-168-23 | bad | ok | ok | up to 150mV, but most ~50mV
|  | U2-5-MID | slot16 | ch47 | very low | ROC8 | slot11 | ch47 | D25 | FDC3,C6,D25-48-0 | bad | ok | ok | max 70mV
| FDC4 | U2-5-MID | slot17 | ch0 | low | ROC8 | slot12 | ch0 | D24 | FDC4,C1,D1-24-23 | bad | ok | ok | to be checked | x
|  | U2-5-MID | slot19 | ch65,68,70,71 | very low | ROC8 | slot14 | ch65,68,70,71 | D97,98,100,103A | FDC4,C2,D97A-120-0 | 5 bad | ok | ok | max 40,50,40,50 mV, total 4 | x | one channel fixed before by pushing tubes on both sides, not worth fixing
|  | U2-5-BOT | slot4 | ch24 | very low | ROC9 | slot1 | ch24 | U72 | FDC4,C4,U49-72-23 | bad | ok | ok | OK | x
|  | U2-5-BOT | slot5 | ch25 | no pdestal | ROC9 | slot2 | ch25 | U143 | FDC4,C4,U121-144-22 | x | U143 | U143 | OK | x
|  | U2-5_BOT | slot6 | ch47 | low | ROC9 | slot3 | ch47 | U49 | FDC4,C5,U49-72 | bad | ok | ok | max 50mV | x
|  | U2-5-BOT | slot7 | ch47 | low | ROC9 | slot4 | ch47 | U121 | FDC4,C5,U121-144-0 | bad | ok | ok | max 50mV | x | re-seating helps
|  | U2-5-BOT | slot8 | ch24,25,26 | low | ROC9 | slot4 | ch24,25,26 | D48,47,46 | FDC4,C5,D25-48-23 | only 48 bad | ok | ok | max 50,50,50 mV, total 3 | x | fixed by bending tube up out of plane, all three were not working at some point
|  | U2-5-BOT | slot8 | ch48 | very low?no? | ROC9 | slot4 | ch48 | D108B | FDC4,C5,D85B-108B-23 | bad | ok | ok | no signal no noise (<6mv) | x | 3M???
|  | U2-5-BOT | slot10 | ch0 | no | ROC9 | slot7 | ch0 | D168 | FDC4,C6,D145-168-23 | bad | D168 | ok | no signal no noise (<6mv) | x | 3M???
|  | U2-5-BOT | slot10 | ch23 | low | ROC9 | slot7 | ch23 | D145 | FDC4,C6,D145-168-0 | x | ok | ok | OK | x
|  | U2-5-BOT | slot13 | ch20 | no pedestal | ROC9 | slot8 | ch20 | U4 | FDC4,C6,U1-24-3 | x | U4,U1(new) | U4 | OK | x
|  | U2-5-BOT | slot14 | ch0 | no | ROC9 | slot9 | ch0 | D168 | FDC4,C2,D145-168-23 | bad | D168 | D168 | no signal no noise (<6mv) | x | 3M! worked with another cable!
|  | U2-5_BOT | slot14 | ch2 | no pedestal | ROC9 | slot9 | ch2 | D166 | FDC4,C2,D145-168-21 | x | D166-ok,D157(new) | D157 | OK | x
|  | U2-5-BOT | slot17 | ch24,25,29 | low | ROC9 | slot12 | ch24,25,29 | U48,47,43 | FDC4,C4,U25-48-23 | 3 bad | ok |  | max 50, 50, 40 mV | x | fixed before by bending tube up out of plane
| FDC2 | U2-6-TOP | slot8 | ch11,12 | medium | ROC10 | slot5 | ch11,12 | D181,180 | FDC2,C6,D169-192-12 | x | D181,180-ok;183-187(new) | ok | OK
| FDC3 | U2-6-TOP | slot13 | ch0,21,23 | low | ROC10 | slot8 | ch0,21,23 | U24,3,1 | FDC3,C1,U1-24-23 | bad only 24 | ok | ok | max 40,50,50 mV, 3 total |  | 1,3 were fixed by re-seating
|  | U2-6-TOP | slot13 | ch24,34 | low | ROC10 | slot8 | ch24,34 | u72,62 | FDC3,C1,U49-72-23 | bad | U72-????,U62-ok | ok | max 40,40 mV |  | once fixed by changing pre-amp
|  | U2-6-TOP | slot14 | ch43,47 | low | ROC10 | slot9 | ch43,47 | U125,121 | FDC3,C1,U121-144-4 | 5 bad | U125,121-ok | ok | max 60,50 mV, 2 total |  | once fixed by bending tube significanly
|  | U2-6-TOP | slot14 | ch48,50 | low | ROC10 | slot9 | ch48,50 | U120,118 | FDC3,C1,U97A-120-23 | 4 bad | U120,118-ok | ok | max 60,40 mV, 2 total |  | once fixed by bending tube significanly
|  | U2-6-MID | slot3 | ch48 | low | ROC11 | slot0 | ch48 | D120 | FDC3,C3,D97A-120-23 | bad | ok | ok | max 60 mV |  | works after bending tube inwards
|  | U2-6-MID | slot4 | ch71 | low | ROC11 | slot1 | ch71 | U85B | FDC3,C3,U85B-108B-0 | bad | ok | ok | max 50 mV |  | LV disconnected after insertion, checked only after final insertion.
|  | U2-6-MID | slot5 | ch26 | med/low | ROC11 | slot2 | ch26 | U142 | FDC3,C6,U121-144-21 | x | ok | ok | max 60 mV |  | never had problems before
|  | U2-6-MID | slot5 | ch48 | no | ROC11 | slot2 | ch48 | U120 | FDC3,C6,U97A-120-23 | bad | ok | U120 | no signal no noise |  | 3M!, always different channnels not working
|  | U2-6-MID | slot5 | ch69 | medium | ROC11 | slot2 | ch69 | U99A | FDC3,C6,U97A-120-2 | bad | ok | ok | max 50 mV |  | works if bending inwards
|  | U2-6-MID | slot7 | ch20 | low | ROC11 | slot4 | ch20 | D172 | FDC3,C5,D169-192-3 | x | ok | ok | max 50 mV |  | never had problems before
|  | U2-6-MID | slot7 | ch35,37,39,40,43,45,47 | low | ROC11 | slot4 | ch35,37,39,40,43,45,47 | D133,131,129,128,125,123,121 | FDC3,C5,D121-144-12 | 5 bad | ok | ok | 40,43OK, but 44 low!!!, total 6 bad |  | bending tube out of plane helped a lot (fixing all but #24)
|  | U2-6-MID | slot7 | ch49,50,51,57,58,59,60,62 | low | ROC11 | slot4 | ch49,50,51,57,58,59,60,62 | D119,118,117,111,110,109,108,106 | FDC3,C5,D97A-120-22 | 8 bad | ok | ok | 49 OK, 54 low, total 8 bad |  | has g10 insert, very delicate!!!
|  | U2-6-MID | slot9 | ch22 | low | ROC11 | slot6 | ch22 | D146 | FDC3,C5,D145-168-1 | bad | ok | ok | very low rate 40mV |  | after re-palcing pre-amp many were fixed, but this one only
|  | U2-6-MID | slot9 | ch24,25,26 | medium | ROC11 | slot6 | ch24,25,26 | D168,167,166 | FDC3,C4,D145-168-23 | x | ok | ok | all OK!!!
|  | U2-6-MID | slot10 | ch0 | medium | ROC11 | slot7 | ch0 | U168 | FDC3,C1,U145-168-23 | bad | ok | ok | up to 100 mV
|  | U2-6-MID | slot13 | ch46 | no sig., ped up | ROC11 | slot8 | ch46 | U26 | FDC3,C1,U25-48-1 | bad | U26 | U26 | no signal no noise |  | had problems before with #1&#24 fixed by bending inwards outside manifold (if absolutely needed), now #23 3M???
|  | U2-6-MID | slot13 | ch51 | low | ROC11 | slot8 | ch51 | D105B | FDC3,C1,D85B-108B-20 | x | ok | ok | 60 mV |  | never had problems before
|  | U2-6-MID | slot15 | ch26 | low | ROC11 | slot10 | ch26 | U166 | FDC3,C2,U145-168-21 | bad | ok | ok | 60 mV
| FDC4 | U2-6-MID | slot17 | ch0 | no | ROC11 | slot12 | ch0 | U24 | FDC4,C1,U1-24-23 | bad | U24 | U24(low) | no signal no noise | x | fixed before by pressing inwards, next to the manifold!!!
|  | U2-6-MID | slot17 | ch21,23?? | Ok | ROC11 | slot12 | ch21,23?? | U3,1 | FDC4,C1,U1-24-23 | x | ok | ok | signals OK on scope!!
|  | U2-6-MID | slot17 | ch28 | neg. pedestal | ROC11 | slot12 | ch28 | U68 | FDC4,C1,U49-72-19 | x | ok | ok | OK | x
|  | U2-6-MID | slot19 | ch26 | no ped | ROC11 | slot19 | ch26 | U70 | FDC4,C2,U49-72-21 | x | U70 | U70 | OK | x
|  | U2-6-BOT | slot3 | ch24,25 | low | ROC12 | slot0 | ch24,25 | D72,71 | FDC4,C2,D49-72-23 | 2 bad | ok | ok | 50, 70 mV | x
|  | U2-6-BOT | slot7 | ch32 | no sig,ped up | ROC12 | slot4 | ch32 | U40 | FDC4,C3,U25-48-15 | bad | ok | ok | no signal no noise | x | 3M!!! after bending cable signal appeared
|  | U2-6-BOT | slot7 | ch24 | no sig,ped up | ROC12 | slot4 | ch24 | U48 | FDC4,C3,U25-48-15 | x | ok | ok | to be checked | x | same cable!!!
|  | U2-6-BOT | slot8 | ch71 | med/low | ROC12 | slot5 | ch71 | D73 | FDC4,C4,D73-96A-0 | bad | ok | ok | to be checked | x
|  | U2-6-BOT | slot10 | ch1,2,6 | med/low | ROC12 | slot7 | ch1,2,6 | D191,190,186 | FDC4,C5,D169-192-22 | 3 bad | D186-ok,D190,191,D192(new) | ok | 40, 40, 40 mV, total 3 | x | bending a little up helped for #3, changing pre-amp no effect
|  | U2-6-BOT | slot14 | ch0 | low | ROC12 | slot9 | ch0 | U168 | FDC4,C6,U145-168-23 | bad | ok | ok | to be checked | x
|  | U2-6-BOT | slot15 | ch0,1 | low | ROC12 | slot10 | ch0,1 | D168,167 | FDC4,C5,D145-168-23 | 2 bad | ok | ok | 40, 40 mV | x | #1 was fixed before by bending tube up out of plane, #2 re-appeared and fixed by just little touching
|  | U2-6-BOT | slot16 | ch48,49 | low | ROC12 | slot11 | ch48,49 | D96,95A | FDC4,C5,D73-96A-23 | x | ok | ok | 60, 50 mV | x | both were fixed before by bending tube up out of plane
|  | U2-6-BOT | slot17 | ch0,1 | low? or rare? | ROC12 | slot12 | ch0,1 | D192,D191 | FDC4,C6,D169-192-23 | x | D191-ok;D192;D184,189,190(new) |  | OK on scope | x
|  | U2-6-BOT | slot19 | ch2,23 | low, med | ROC12 | slot14 | ch2, 23 | D46, D25 | FDC4,C4,D25-48-21 | 2 bad | ok | ok | 40, 40 mV | x | #24 (D25) was fixed before by bending tube up out of plane, but #3 appeared bad, then both
| FDC1 | U2-7-TOP | slot6 | ch60 | no sig, ped up | ROC13 | slot3 | ch60 | D96B | FDC1,C2,D85B-108B-11 | x | D97B(calc[301-Nch]) | U97B | OK
|  | U2-7-TOP | slot15 | ch70 | no pedestal | ROC13 | slot10 | ch70 | D98A | FDC1,C5,D97A-120-1 | x | D98A | D98A | OK
| FDC2 | U2-7-MID | slot14 | ch22,23 | low? or rare? | ROC14 | slot9 | ch22,23 | D1,2 | FDC2,C3,D1-24-0 | x | D1,2-ok;D11-24 (new) | ok | OK | D12-24 bad in run176
[10 empty] | FDC2,C1,U25-48 |  |  | U48
[10 empty] | FDC2,C2,U168-192 |  |  | U189
[10 empty] | FDC3,C2,D73-96A |  |  | D96
[10 empty] | FDC3,C6,U73-96A |  |  | U96

## Sheet2
| Previous | Run N
FDC1_Cell1_Upstream | ok | 193-216
FDC1_Cell1_Downstream | ok | 0-192
FDC1_Cell1_Wires | s1 | ok
FDC1_Cell2_Upstream | ok | 169-216
FDC1_Cell2_Downstream | D97A,D96B | 73-192,204(97B)
FDC1_Cell2_Wires | ok | 49-63(noisy)
FDC1_Cell3_Upstream | ok
FDC1_Cell3_Downstream | ok
FDC1_Cell3_Wires | ok
FDC1_Cell4_Upstream
FDC1_Cell4_Downstream
FDC1_Cell4_Wires
FDC1_Cell5_Upstream
FDC1_Cell5_Downstream
FDC1_Cell5_Wires
FDC1_Cell6_Upstream
FDC1_Cell6_Downstream
FDC1_Cell6_Wires
FDC2_Cell1_Upstream
FDC2_Cell1_Downstream
FDC2_Cell1_Wires
FDC2_Cell2_Upstream
FDC2_Cell2_Downstream
FDC2_Cell2_Wires
FDC2_Cell3_Upstream
FDC2_Cell3_Downstream
FDC2_Cell3_Wires
FDC2_Cell4_Upstream
FDC2_Cell4_Downstream
FDC2_Cell4_Wires
FDC2_Cell5_Upstream
FDC2_Cell5_Downstream
FDC2_Cell5_Wires
FDC2_Cell6_Upstream
FDC2_Cell6_Downstream
FDC2_Cell6_Wires
FDC3_Cell1_Upstream
FDC3_Cell1_Downstream
FDC3_Cell1_Wires
FDC3_Cell2_Upstream
FDC3_Cell2_Downstream
FDC3_Cell2_Wires
FDC3_Cell3_Upstream
FDC3_Cell3_Downstream
FDC3_Cell3_Wires
FDC3_Cell4_Upstream
FDC3_Cell4_Downstream
FDC3_Cell4_Wires
FDC3_Cell5_Upstream
FDC3_Cell5_Downstream
FDC3_Cell5_Wires
FDC3_Cell6_Upstream
FDC3_Cell6_Downstream
FDC3_Cell6_Wires
FDC4_Cell1_Upstream
FDC4_Cell1_Downstream
FDC4_Cell1_Wires
FDC4_Cell2_Upstream
FDC4_Cell2_Downstream
FDC4_Cell2_Wires
FDC4_Cell3_Upstream
FDC4_Cell3_Downstream
FDC4_Cell3_Wires
FDC4_Cell4_Upstream
FDC4_Cell4_Downstream
FDC4_Cell4_Wires
FDC4_Cell5_Upstream
FDC4_Cell5_Downstream
FDC4_Cell5_Wires
FDC4_Cell6_Upstream
FDC4_Cell6_Downstream
FDC4_Cell6_Wires