## Wireboards
| Wireboard # | Epoxy | Humi-seal | Replaced Capacitors | Wire Deadened
Spare | W001 | Epo-lite | No | No | No
Spare | W002 | Epo-lite | Yes | No | Yes
Spare | W003 | Epo-lite | No | No | No
Spare | W006 | Epo-lite | Yes | No | No
Package 1 | W005 | Epon | Yes | No | Yes
| W008 | Epon | No | Yes | Yes
| W009 | Epon | No | Yes | Yes
| W010 | Epon | No | Yes | Yes
| W011 | Epon | No | Yes | Yes
| W012 | Epon | No | Yes | Yes
Package 2 | W007 | Epon | No | Yes | Yes
| W014 | Epon | No | Yes | Yes
| W015 | Epon | No | Yes | Yes
| W017 | Epon | No | Yes | Yes
| W019 | Epon | No | Yes | Yes
| W016 | Epon | No | Yes | Yes
Package 3
Package 4

## Current Tracking
FDC Construction Tracking | [11 empty] | 2012-04-05
FDC1 | UP | End Window | EW003 | X | [8 empty] | 100%
| Cell C6 | Type 3 Cathode | C003 | X | Wireboard | W005 | X | Gas Spacer | X | Type 1 Cathode | C006 | X
| Cell C5 | Type 2 Cathode | C008 | X | Wireboard | W009 | X | Gas Spacer | X | Type 1 Cathode | C007 | X
| Cell C4 | Type 2 Cathode | C010 | X | Wireboard | W008 | X | Gas Spacer | X | Type 1 Cathode | C009 | X
| Cell C3 | Type 2 Cathode | C011 | X | Wireboard | W011 | X | Gas Spacer | X | Type 1 Cathode | C012 | X
| Cell C2 | Type 2 Cathode | C013 | X | Wireboard | W010 | X | Gas Spacer | X | Type 1 Cathode | C014 | X
| Cell C1 | Type 2 Cathode | C015 | X | Wireboard | W012 | X | Gas Spacer | X | Type 3 Cathode | C004 | X
| Down | End Window | EW004 | X
FDC2 | UP | End Window | EW005 | X | [8 empty] | 100%
| Cell C6 | Type 3 Cathode | C016 | X | Wireboard | W007 | X | Gas Spacer | X | Type 1 Cathode | C018 | X
| Cell C5 | Type 2 Cathode | C019 | X | Wireboard | W014 | X | Gas Spacer | X | Type 1 Cathode | C020 | X
| Cell C4 | Type 2 Cathode | C021 | X | Wireboard | W015 | X | Gas Spacer | X | Type 1 Cathode | C022 | X
| Cell C3 | Type 2 Cathode | C023 | X | Wireboard | W017 | X | Gas Spacer | X | Type 1 Cathode | C024 | X
| Cell C2 | Type 2 Cathode | C025 | X | Wireboard | W019 | X | Gas Spacer | X | Type 1 Cathode | C026 | X
| Cell C1 | Type 2 Cathode | C028 | X | Wireboard | W016 | X | Gas Spacer | X | Type 3 Cathode | C017 | X
| Down | End Window | EW006 | X
FDC3 | UP | End Window | EW007 | [9 empty] | 96%
| Cell C6 | Type 3 Cathode | C030 |  | Wireboard | W020 |  | Gas Spacer |  | Type 1 Cathode | C027
| Cell C5 | Type 2 Cathode | C031 |  | Wireboard | W021 |  | Gas Spacer |  | Type 1 Cathode | C032
| Cell C4 | Type 2 Cathode | C034 |  | Wireboard | W022 |  | Gas Spacer |  | Type 1 Cathode | C035
| Cell C3 | Type 2 Cathode | C036 |  | Wireboard | W023 |  | Gas Spacer |  | Type 1 Cathode | C037
| Cell C2 | Type 2 Cathode | C038 |  | Wireboard | W004 Deaden |  | Gas Spacer |  | Type 1 Cathode | C040
| Cell C1 | Type 2 Cathode | C041 |  | Wireboard | W013 Deaden |  | Gas Spacer |  | Type 3 Cathode | C029
| Down | End Window | EW008
FDC4 | UP | End Window | EW009 | [9 empty] | 25%
| Cell C6 | Type 3 Cathode | W042 |  | Wireboard | W024 Components |  | Gas Spacer |  | Type 1 Cathode | W044
| Cell C5 | Type 2 Cathode | W045 Glue Foils |  | Wireboard | W018 String |  | Gas Spacer |  | Type 1 Cathode
| Cell C4 | Type 2 Cathode |  |  | Wireboard | W025 String |  | Gas Spacer |  | Type 1 Cathode
| Cell C3 | Type 2 Cathode |  |  | Wireboard | W026 String |  | Gas Spacer |  | Type 1 Cathode
| Cell C2 | Type 2 Cathode |  |  | Wireboard | W027 String |  | Gas Spacer |  | Type 1 Cathode
| Cell C1 | Type 2 Cathode |  |  | Wireboard | W028 String |  | Gas Spacer |  | Type 3 Cathode | W043 Daughter Cards
| Down | End Window | EW010 Tensioning
Spare |  | End Window | EW001 | [9 empty] | 35%
|  | Type 3 Cathode | C001 |  | Wireboard | W002 |  | Gas Spacer |  | Type 3 Cathode | C002
|  | Type 1 Cathode |  |  | Wireboard | W001 |  | Gas Spacer |  | Type 2 Cathode
|  | Type 1 Cathode |  |  | Wireboard | W003 |  | Gas Spacer |  | Type 2 Cathode
|  | Type 1 Cathode |  |  | Wireboard | W006 |  | Gas Spacer |  | Type 2 Cathode
|  | End Window | EW002
Nonconforming | FDC Componant |  | Nonconformance |  |  | Corrective Action
| W013 |  | Too much heat applied to pads during capacitor removal |  |  | Specified soldering tip to be used during capacitor installation and removal. Board is in the EEFAB Department to be fixed. Capacitors were resoldered to the pads and then epoxied down using Scotchweld 1838. Board returned to service.
| C033 |  | Type 2 Foil Misaligned on G10 Frame |  |  | Retrained techs on procedure and reiterated the importance of high quality
| C039 |  | Misaligned on Tension Ring |  |  | Retrained techs on procedure and reiterated the importance of high quality
| W023 |  | S96 has a short to ground between C96 and the via ajacent to R96 (0402). |  |  | Drilled out the via and determined the short is between the cap and the via. We will have to mill out the G10 and Rohacell and follow the trace until the short is found, then a jumper wire was installed. Board returned to service.
Complete
In-Process
Nonconforming
[10 empty] | X | Assembled In Package
Note on G3: debutler: Stacked 8/31/2011
Note on G4: debutler: Stacked 9/15/2011
Note on G5: debutler: stacked 9/27/2011
Note on G6: debutler: Stacked 9/27/2011
Note on G7: debutler: Stacked 9/30/2011
Note on G8: debutler: Stacked 10/12/2011