## Wireboards
| Wireboard # | Epoxy | Humi-seal | Replaced Capacitors | Wire Deadened
Spare | W001 | Epo-lite | No | No | No
Spare | W002 | Epo-lite | Yes | No | Yes
Spare | W003 | Epo-lite | No | No | No
Spare | W006 | Epo-lite | Yes | No | No
Package 1 | W005 | Epon | Yes | No | Yes
| W008 | Epon | No | Yes | Yes
| W009 | Epon | No | Yes | Yes
| W010 | Epon | No | Yes | Yes
| W011 | Epon | No | Yes | Yes
| W012 | Epon | No | Yes | Yes
Package 2 | W007 | Epon | No | Yes | Yes
| W014 | Epon | No | Yes | Yes
| W015 | Epon | No | Yes | Yes
| W017 | Epon | No | Yes | Yes
| W019 | Epon | No | Yes | No
| W016 | Epon | No | Yes | No
Package 3
Package 4

## Current Tracking
FDC Construction Tracking | [11 empty] | 2012-02-02
FDC1 | UP | End Window | EW003 | X | [8 empty] | 100%
| Cell C6 | Type 3 Cathode | C003 | X | Wireboard | W005 | X | Gas Spacer | X | Type 1 Cathode | C006 | X
| Cell C5 | Type 2 Cathode | C008 | X | Wireboard | W009 | X | Gas Spacer | X | Type 1 Cathode | C007 | X
| Cell C4 | Type 2 Cathode | C010 | X | Wireboard | W008 | X | Gas Spacer | X | Type 1 Cathode | C009 | X
| Cell C3 | Type 2 Cathode | C011 | X | Wireboard | W011 | X | Gas Spacer | X | Type 1 Cathode | C012 | X
| Cell C2 | Type 2 Cathode | C013 | X | Wireboard | W010 | X | Gas Spacer | X | Type 1 Cathode | C014 | X
| Cell C1 | Type 2 Cathode | C015 | X | Wireboard | W012 | X | Gas Spacer | X | Type 3 Cathode | C004 | X
| Down | End Window | EW004 | X
FDC2 | UP | End Window | EW005 | X | [8 empty] | 100%
| Cell C6 | Type 3 Cathode | C016 | X | Wireboard | W007 | X | Gas Spacer | X | Type 1 Cathode | C018 | X
| Cell C5 | Type 2 Cathode | C019 | X | Wireboard | W014 | X | Gas Spacer | X | Type 1 Cathode | C020 | X
| Cell C4 | Type 2 Cathode | C021 | X | Wireboard | W015 | X | Gas Spacer | X | Type 1 Cathode | C022 | X
| Cell C3 | Type 2 Cathode | C023 | X | Wireboard | W017 | X | Gas Spacer | X | Type 1 Cathode | C024 | X
| Cell C2 | Type 2 Cathode | C025 | X | Wireboard | W019 | X | Gas Spacer | X | Type 1 Cathode | C026 | X
| Cell C1 | Type 2 Cathode | C028 | X | Wireboard | W016 | X | Gas Spacer | X | Type 3 Cathode | C017 | X
| Down | End Window | EW006 | X
FDC3 | UP | End Window | EW007 | [9 empty] | 46%
| Cell C6 | Type 3 Cathode | C029 |  | Wireboard | W020 Deaden |  | Gas Spacer |  | Type 1 Cathode | C027
| Cell C5 | Type 2 Cathode | C031 |  | Wireboard | W021 Deaden |  | Gas Spacer |  | Type 1 Cathode | C032
| Cell C4 | Type 2 Cathode | C034 Tensioning |  | Wireboard | W022 Tension Measurments |  | Gas Spacer |  | Type 1 Cathode | C035 Cut Foil
| Cell C3 | Type 2 Cathode |  |  | Wireboard | W023 String |  | Gas Spacer |  | Type 1 Cathode
| Cell C2 | Type 2 Cathode |  |  | Wireboard |  |  | Gas Spacer |  | Type 1 Cathode
| Cell C1 | Type 2 Cathode |  |  | Wireboard |  |  | Gas Spacer |  | Type 3 Cathode | C030
| Down | End Window | EW008
FDC4 | UP | End Window | [10 empty] | 0%
| Cell C6 | Type 3 Cathode |  |  | Wireboard |  |  | Gas Spacer |  | Type 3 Cathode
| Cell C5 | Type 1 Cathode |  |  | Wireboard |  |  | Gas Spacer |  | Type 2 Cathode
| Cell C4 | Type 1 Cathode |  |  | Wireboard |  |  | Gas Spacer |  | Type 2 Cathode
| Cell C3 | Type 1 Cathode |  |  | Wireboard |  |  | Gas Spacer |  | Type 2 Cathode
| Cell C2 | Type 1 Cathode |  |  | Wireboard |  |  | Gas Spacer |  | Type 2 Cathode
| Cell C1 | Type 1 Cathode |  |  | Wireboard |  |  | Gas Spacer |  | Type 2 Cathode
| Down | End Window
Spare |  | End Window | EW001 | [9 empty] | 35%
| Cell 1 | Type 3 Cathode | C001 |  | Wireboard | W002 |  | Gas Spacer |  | Type 3 Cathode | C002
| Cell 8 | Type 1 Cathode |  |  | Wireboard | W001 |  | Gas Spacer |  | Type 2 Cathode
| Cell 9 | Type 1 Cathode |  |  | Wireboard | W003 |  | Gas Spacer |  | Type 2 Cathode
| Cell 10 | Type 1 Cathode |  |  | Wireboard | W006 |  | Gas Spacer |  | Type 2 Cathode
|  | End Window | EW002
Nonconforming | FDC Componant |  | Nonconformance |  |  | Corrective Action
| W013 |  | Too much heat applied to pads during capacitor removal |  |  | Specified soldering tip to be used during capacitor installation and removal. Board is in the EEFAB Department to be fixed
| C033 |  | Type 2 Foil Misaligned on G10 Frame |  |  | Retrained techs on procedure and reiterated the importance of high quality
Complete
In-Process
Nonconforming
[10 empty] | X | Assembled In Package