## Wireboards
| Wireboard # | Epoxy | Humi-seal | Replaced Capacitors | Wire Deadened
Spare | W001 | Epo-lite | No | No | No
Spare | W002 | Epo-lite | Yes | No | Yes
Spare | W003 | Epo-lite | No | No | No
Spare | W006 | Epo-lite | Yes | No | No
Package 1 | W005 | Epon | Yes | No | Yes
| W008 | Epon | No | Yes | Yes
| W009 | Epon | No | Yes | Yes
| W010 | Epon | No | Yes | Yes
| W011 | Epon | No | Yes | Yes
| W012 | Epon | No | Yes | Yes
Package 2 | W007 | Epon | No | Yes | Yes
| W014 | Epon | No | Yes | Yes
| W015 | Epon | No | Yes | Yes
| W017 | Epon | No | Yes | Yes
| W019 | Epon | No | Yes | No
| W016 | Epon | No | Yes | No
Package 3
Package 4

## Current Tracking
FDC Construction Tracking | [11 empty] | 2012-02-29
FDC1 | UP | End Window | EW003 | X | [8 empty] | 100%
| Cell C6 | Type 3 Cathode | C003 | X | Wireboard | W005 | X | Gas Spacer | X | Type 1 Cathode | C006 | X
| Cell C5 | Type 2 Cathode | C008 | X | Wireboard | W009 | X | Gas Spacer | X | Type 1 Cathode | C007 | X
| Cell C4 | Type 2 Cathode | C010 | X | Wireboard | W008 | X | Gas Spacer | X | Type 1 Cathode | C009 | X
| Cell C3 | Type 2 Cathode | C011 | X | Wireboard | W011 | X | Gas Spacer | X | Type 1 Cathode | C012 | X
| Cell C2 | Type 2 Cathode | C013 | X | Wireboard | W010 | X | Gas Spacer | X | Type 1 Cathode | C014 | X
| Cell C1 | Type 2 Cathode | C015 | X | Wireboard | W012 | X | Gas Spacer | X | Type 3 Cathode | C004 | X
| Down | End Window | EW004 | X
FDC2 | UP | End Window | EW005 | X | [8 empty] | 100%
| Cell C6 | Type 3 Cathode | C016 | X | Wireboard | W007 | X | Gas Spacer | X | Type 1 Cathode | C018 | X
| Cell C5 | Type 2 Cathode | C019 | X | Wireboard | W014 | X | Gas Spacer | X | Type 1 Cathode | C020 | X
| Cell C4 | Type 2 Cathode | C021 | X | Wireboard | W015 | X | Gas Spacer | X | Type 1 Cathode | C022 | X
| Cell C3 | Type 2 Cathode | C023 | X | Wireboard | W017 | X | Gas Spacer | X | Type 1 Cathode | C024 | X
| Cell C2 | Type 2 Cathode | C025 | X | Wireboard | W019 | X | Gas Spacer | X | Type 1 Cathode | C026 | X
| Cell C1 | Type 2 Cathode | C028 | X | Wireboard | W016 | X | Gas Spacer | X | Type 3 Cathode | C017 | X
| Down | End Window | EW006 | X
FDC3 | UP | End Window | EW007 | X | [8 empty] | 78%
| Cell C6 | Type 3 Cathode | C030 | X | Wireboard | W020 | X | Gas Spacer | X | Type 1 Cathode | C027 | X
| Cell C5 | Type 2 Cathode | C031 | X | Wireboard | W021 | X | Gas Spacer | X | Type 1 Cathode | C032 | X
| Cell C4 | Type 2 Cathode | C034 | X | Wireboard | W022 | X | Gas Spacer | X | Type 1 Cathode | C035
| Cell C3 | Type 2 Cathode | C036 |  | Wireboard | W013 Componants/Deaden |  | Gas Spacer |  | Type 1 Cathode | C037
| Cell C2 | Type 2 Cathode | C038 Tension Mylar |  | Wireboard | W023 Componants |  | Gas Spacer |  | Type 1 Cathode | C040 Tension
| Cell C1 | Type 2 Cathode | 0041 Glue Foils |  | Wireboard | W004 Componants |  | Gas Spacer |  | Type 3 Cathode | C029 | X
| Down | End Window | EW008 | X
FDC4 | UP | End Window | [10 empty] | 0%
| Cell C6 | Type 3 Cathode | 0042 Glue Foils |  | Wireboard |  |  | Gas Spacer |  | Type 3 Cathode
| Cell C5 | Type 1 Cathode |  |  | Wireboard |  |  | Gas Spacer |  | Type 2 Cathode
| Cell C4 | Type 1 Cathode |  |  | Wireboard |  |  | Gas Spacer |  | Type 2 Cathode
| Cell C3 | Type 1 Cathode |  |  | Wireboard |  |  | Gas Spacer |  | Type 2 Cathode
| Cell C2 | Type 1 Cathode |  |  | Wireboard |  |  | Gas Spacer |  | Type 2 Cathode
| Cell C1 | Type 1 Cathode |  |  | Wireboard |  |  | Gas Spacer |  | Type 2 Cathode
| Down | End Window
Spare |  | End Window | EW001 | [9 empty] | 35%
| Cell 1 | Type 3 Cathode | C001 |  | Wireboard | W002 |  | Gas Spacer |  | Type 3 Cathode | C002
| Cell 8 | Type 1 Cathode |  |  | Wireboard | W001 |  | Gas Spacer |  | Type 2 Cathode
| Cell 9 | Type 1 Cathode |  |  | Wireboard | W003 |  | Gas Spacer |  | Type 2 Cathode
| Cell 10 | Type 1 Cathode |  |  | Wireboard | W006 |  | Gas Spacer |  | Type 2 Cathode
|  | End Window | EW002
Nonconforming | FDC Componant |  | Nonconformance |  |  | Corrective Action
| W013 |  | Too much heat applied to pads during capacitor removal |  |  | Specified soldering tip to be used during capacitor installation and removal. Board is in the EEFAB Department to be fixed. Capacitors were resoldered to the pads and then epoxied down using Scotchweld 1838. Board returned to service.
| C033 |  | Type 2 Foil Misaligned on G10 Frame |  |  | Retrained techs on procedure and reiterated the importance of high quality
| C039 |  | Misaligned on Tension Ring |  |  | Retrained techs on procedure and reiterated the importance of high quality
| W023 |  | S96 has a short to ground between C96 and the via ajacent to R96 (0402). |  |  | Drilled out the via and determined the short is between the cap and the via. We will have to mill out the G10 and Rohacell and follow the trace until the short is found, then a jumper wire was installed. Board returned to service.
Complete
In-Process
Nonconforming
[10 empty] | X | Assembled In Package