## Production
FDC Production Equipment List
Item # | Fixed / Consumable | Item Description | UOM | Qty | Unit Cost | Total Cost | Notes
1 | Consumable | Epoxies | ea | 1 | 21638 | 21638 | Scotch weld (1838 B/A green), Hysol (NAT0001JF), Hummiseal, Conductive, 3-5 minute (hardman), 406 Loctite, 431 Loctite, conductive epoxy
2 | Fixed | Tables | ea | 1 | 11000 | 11000
3 | Consumable | Clean room materials | ea | 1 | 10223 | 10223 | (facial covers, shoe covers, smocks, wipes, cleaning supplies,etc.) These numbers are derived from The ODU Region II cleanroom project
4 | Fixed | Additional transfer ring and tensioning fixture | ea | 1 | 7000 | 7000
5 | Consumable | Storage Crates | ea | 1 | 5000 | 5000
6 | Fixed | Microscope w/ USB camera and articulating options | ea | 1 | 4200 | 4200
7 | Consumable | Carbon Dioxide | tk | 20 | 205 | 4100
8 | Fixed | Metal storage cabinets | ea | 6 | 600 | 3600
9 | Fixed | Metcal solder station w/attachments | ea | 2 | 1600 | 3200
10 | Consumable | Tape | ea | 1 | 3000 | 3000 | Red vinyl (2 inch), White vinyl (1 inch), Copper (1 inch), Kapton (1/2 & 1 inch), Mylar (1 inch), Aluminized Mylar (1 inch), Polyethylene (1 inch), Double sided (1 inch), Teflon, Duct tape (3 inch "Nashua" brand)
11 | Fixed | Tools | multi | 1 | 3000 | 3000
12 | Consumable | Foam swabs | pk | 24 | 120.48 | 2891.52
13 | Consumable | Argon | tk | 40 | 55 | 2200
14 | Fixed | Gas test rack | ea | 1 | 2000 | 2000
15 | Fixed | Gas Leak Detector, Matheson model 866 | ea | 1 | 1942 | 1942
16 | Fixed | Shelving materials | ea | 7 | 275 | 1925
17 | Fixed | Ultrasonic Cleaner | ea | 1 | 1750 | 1750
18 | Consumable | Labels (for label maker) | roll | 20 | 84.88 | 1697.6
19 | Fixed | Clean room chairs | ea | 5 | 300 | 1500
20 | Fixed | Large flammable storage cabinet | ea | 1 | 1500 | 1500 | (for acetone, isopropanol, ethanol storage)
21 | Fixed | Paper towells | case | 10 | 130 | 1300
22 | Fixed | Particle counter | ea | 1 | 1200 | 1200
23 | Consumable | Liquid nitrogen for purging cathodes | dewar | 20 | 56.02 | 1120.4
24 | Fixed | Additional tool carts (7) for the round tables | ea | 7 | 150 | 1050
25 | Consumable | Polyethylene film | roll | 24 | 43 | 1032
26 | Fixed | Cordless tool multipack | kit | 1 | 1000 | 1000 | (drill, sander, impact driver, sawzaw, circular saw)
27 | Fixed | Office furniture | ea | 1 | 1000 | 1000
28 | Consumable | Hardware | multi | 1 | 1000 | 1000
29 | Consumable | Solder Supplies | ea | 1 | 970 | 970 | Indium solder paste, Solder (.025, .031), Solder wick, Wooden (orange) sticks
30 | Consumable | Gloves | bx | 60 | 15 | 900 | Nitrile, Latex
31 | Fixed | Compressed air regulators, filters, hoses | multi | 1 | 900 | 900
32 | Consumable | Vacuum bagging materials (putty, plastic, etc) | yd | 150 | 5.5 | 825
33 | Consumable | Aluminized mylar roll material | roll | 2 | 400 | 800
34 | Fixed | Gas bottle storage rack | ea | 1 | 750 | 750
35 | Consumable | Polyethylene film | roll | 1 | 620 | 620
36 | Fixed | Toolbox | ea | 1 | 600 | 600
37 | Consumable | Solvents | ea | 1 | 600 | 600 | Acetone, Ethanol, Deionized water
38 | Consumable | Copper tubing | coil | 5 | 120 | 600
39 | Fixed | Clamps and clips | multi | 1 | 600 | 600
40 | Fixed | Air compressor | ea | 1 | 550 | 550
41 | Fixed | Lazy Susan building materials | ea | 1 | 500 | 500
42 | Fixed | Wire snips | ea | 2 | 250 | 500 | (for tungsten)
43 | Consumable | Vacuum and pressure gauges, tubing and fittings | multi | 1 | 500 | 500
44 | Consumable | Solder fume extractor | ea | 1 | 460 | 460 | Icludes 10 filters
45 | Fixed | Fluke Multimeter | ea | 1 | 400 | 400
46 | Fixed | 4-6in PVC tubing, 90 deg elbows, T's and casters | ea | 1 | 400 | 400 | (to build rolling dispensers for mylar and kapton rolls)
47 | Fixed | Plastic storage bins for various assembly items | ea | 10 | 40 | 400
48 | Consumable | vacuum bagging putty tape | case | 4 | 80 | 320
49 | Consumable | Braided copper | ft | 50 | 6.32 | 316
50 | Fixed | Particulate vacuum (3M™ HEPA Vacuum, Model 497AJK) | ea | 1 | 300 | 300
51 | Fixed | ".221 reamers for bolt holes | ea | 2 | 150 | 300
52 | Fixed | 80/20 for building a new microscope stand | ea | 1 | 300 | 300 | (needs to be more stable than current setup)
53 | Consumable | Syringes | ea | 1 | 300 | 300 | 3 ml, 10 ml (tips: 14, 16, 18, 22 guage)
54 | Consumable | Roll material dispenser cart | ea | 1 | 300 | 300
55 | Consumable | Foam rollers (2 inch) | ea | 1 | 297 | 297
56 | Consumable | Vacuum bagging material | yd | 50 | 5.5 | 275 | (putty, plastic, etc)
57 | Consumable | O ring material (.093 inch neoprene closed cell foam) | roll | 3 | 87 | 261
58 | Fixed | Minifridge | ea | 1 | 250 | 250 | (solder paste)
59 | Consumable | Batteries | ea | 1 | 240 | 240 | 9V, AAA, AA, C, D
60 | Fixed | Drill bit set | set | 1 | 210 | 210
61 | Consumable | Rotary Blades | pk | 3 | 60 | 180 | 15 blades
62 | Consumable | Assorted paint brushes | ea | 1 | 160 | 160
63 | Fixed | Precision needle nose plier set | ea | 1 | 120 | 120
64 | Consumable | Zip ties | ea | 1 | 120 | 120
65 | Consumable | Cotton swabs | pk | 48 | 2.42 | 116.16
66 | Fixed | Gasket punch set | set | 1 | 110 | 110 | (up to 1 3/16in)
67 | Consumable | Squirt bottles | ea | 20 | 5.47 | 109.4
68 | Consumable | Dessicant to keep epoxy dry | can | 3 | 35 | 105
69 | Fixed | Orbital sander (to clean transfer rings) | ea | 1 | 100 | 100 | (to clean transfer rings)
70 | Fixed | Aluminum spacer blocks | ea | 50 | 2 | 100 | (.186in thick X 1.260in wide X 3in long)
71 | Consumable | Bottle nitrogen for general purpose | bottle | 10 | 7.85 | 78.5
72 | Consumable | 63in. wide rolls of .001" aluminized mylar | ft | 100 | 0.75 | 75
73 | Consumable | Razor blades | bx | 8 | 7 | 56 | various blade types
74 | Consumable | O ring material (.093 inch neoprene closed cell foam) | ft | 300 | 0.17 | 51
75 | Consumable | Plastic cups (epoxy mixing) | ea | 1 | 42 | 42
76 | Consumable | ZipLoc bags | bx | 10 | 3.5 | 35
77 | Consumable | Paint markers | set | 2 | 12 | 24
[5 empty] | Total | 119195.58