## Slide 1
TRD: status and future plans
Short update from the latest TRD tests
Why do we need TRD?
  Pion suppression with calorimeters
  Including dE/dx from CDC
  Complications in J/y analysis
Possible physics
Other advantages
Possible configuration
Cost estimates

## Slide 2
Spring 2018 tests – two modifications
Drift distance increased from 2cm to 3cm – more TR photons will interact
Entrance cathode foil replaced: Aluminized (3m Al) Kapton → Chromium (0.1m)

## Slide 3
TRD prototyping: spring 2018 tests
Best results so far – flat distr. with Ar and enhancement with Xe
Need little more work with field wire HV (will do it during next run)
Drift time, 8ns samples
Drift time, 8ns samples

## Slide 4
Pion background with the current detectors
Currently 36% p contamination in 1.5<M(e+e-)<2.5 GeV
Using all available cuts, except dE/dx from CDC

## Slide 5
Pion background estimation – using dE/dx from CDC
e
p

## Slide 6
p vs M(e+e-) distribution - all events with E/p cut and p>0.4GeV and q>2deg
Pion background estimation – using dE/dx from CDC

## Slide 7
p vs M(e+e-) distribution 1.132< M(pp)<1.332
Pion background estimation – using dE/dx from CDC

## Slide 8
Pion background estimation – using dE/dx from CDC
p vs M(e+e-) distribution – 0<dE/dx<2.4 keV/cm (pions in CDC )
and p>0.4GeV and q>2deg

## Slide 9
Where is the other “electron”? – 90% in forward direction
Pion background estimation – using dE/dx from CDC

## Slide 10
Why pion contamination is bad for J/y analysis
36% contamination in BH resulting in some systematic effect that depends on BCAL, FCAL resolution (not dominating now but in the future we may want to improve it)
Requires cuts on momentum and angle that limit the acceptance and makes it more difficult to simulate
More background in the J/y mass region makes it more difficult to do event-by-event analysis
With additional PID detector one can study the calorimeter efficiency of the E/p cut

## Slide 11
Possible physics with TRD and other advantages
Further studies of J/y
TCS – few percent effects require additional suppression of ~10-20
Rare di-electron decays, CP-violation,…(see Daniel’s report)
f – BH interference
……
Other advantages:
Better tracking
Will help DIRC
Can be used to estimate e/p suppression in FCAL
….

## Slide 12
Approximate location/sizes
3 chambers
x 20cm thick

## Slide 13
Approximate location/sizes
120x120 cm2 sensitive area

## Slide 14
Possible configuration and cost estimates
3 chambers (each factor 4-5 suppression at least)
Each chamber 120 wires and 240 strips
Total of 1,080 channels, 15 fADC125, 1 VXS crate
Gas system cost depend on requirements – will do studies with spare FDC package, need to evaluate minimal gas flow and possible contaminations
item | $k
Electronics $100/chan. ($55/ch for FDC) | 108
Materials for the detectors | 100
Gas system | 100-150
Total | 308-358

## Slide 17
What we have now: e/p separation using p/E
Suppression factor of ~5000 by p/E cuts only
Different for BCAL and FCAL; depends on energy
Still 36% p contamination in M(e+e-) > 1.5 GeV region
~5% of total statistics
~5000 suppression

## Slide 18
36±1.2% contamination in 1.5-2.5 GeV M(e+e-) region with 2s cut on electrons
BH yields corrected in bins of energy – percentage slightly varies with energy
Background shape from pion sample (p/E anti-cuts)
What we have now: e/p separation using p/E