Drawings:

1. Clamps between the coils

Clamps = 5

Voltage taps = 14 (1 on either side of the clamp)

Carbon Glass = 2

PT 100 = 2 (Warm end of the current lead)

2. Additions:

- LN2 Jacket

  - Add PT-100’s(2) inlet and outlet temperatures

  - Valve controls on the jacket

- Vacuum Box

  - Vacuum gauges

High vacuum

Low vacuum

- Carbon glass sensors on bottom fill [After mixing JT3 & JT1]

- Diode warm return (Ref. G0 schematic) (Already present check LHe top fill).

5.    Replace EV with Check valve on LN2 vent.