## Slide 1
1
Transition Radiation Detector – New Field Configuration
0 V
+1950V
0 V
-2000V
Notes: 1
1

## Slide 2
2
Transition Radiation Detector – Prototype Design
Notes: 2
2

## Slide 3
3
Transition Radiation Detector – Prototype Manufacturing
Detector group:
Brian Cross – design and assembly
Seung Joon Lee – tools for stringing
HallD electronics:
Fernando Barbosa – el. board design
Chris Stanislav – el. board assembly and stringing
Casey Heck – just watching
Installed behind the left PS arm by our techs
Using our FDC stringing table
Notes: 3
3

## Slide 4
4
TRD – single event examples
f125 samples of 32ns – colors correspond to different wires
Notes: 4
4

## Slide 5
5
TRD results: nanotube vs fleece radiator
Notes: 5
5

## Slide 6
6
TRD results: averaged distributions
Threshold for cluster counting = 300 fADC units
Notes: 6
6

## Slide 7
7
TRD results: event-by-event distributions
Notes: 7
7