# MEMORANDUM

To:		Distribution

From:		F. Dylla/grn

Subject:	FEL Upgrade Project Weekly Brief  -  September 4-8, 2006

Date:		September 8, 2006

Highlights:

We spent the week performing User tests and making calibration measurements on the short Raleigh range operation.  FEL Users performed tests on a THz spectrometer which offers the possibility of single shot bunch length measurements and exposed jellyfish to UV light using a laser on loan.   We had less success with a detector calibration run for the Dahlgren group when our optical transport system had a motor failure, which prevented delivery of beam to the lab. We held a kickoff for our two JTO efforts: Short Rayleigh Range FEL Operation and Advanced Mirror Figure Control.

We also want to wish our Chief Optical Scientist Michelle Shinn a very happy milestone birthday!

Management:

We held a kickoff for two JTO funded efforts with ONR and JTO attendees.  One effort involves the measurement of FEL performance under short Rayleigh range conditions, a situation that Bill Colson has predicted to provide reasonable performance in contrast to 1D predictions.   Our second effort involves the design of an outcoupler mirror with variable radius of curvature.   We reviewed the technical approach, schedule and budget plan.  This efforts got started quite late in the year but we intend to recover lost time by an aggressive schedule this fall.

We held several meetings to plan efforts for our two week down period which starts next Monday.  The main effort of that period will be the installation of the cryogenic outcoupler and its associated helium lines.  With this system in place we cannot change to mirrors for other wavelengths so the installation will only be to verify the improved performance one gets from the cooling before removing it again.  We anticipate testing the mirror with FEL beam in about two weeks.   There are a large number of other maintenance and improvement items on our activity list involving nearly every system in the FEL in addition to the mirror change.

Operations:

We had a short week, with Ernesto recovery and user runs leaving little time to dance naked in the field of the mind (to quote Kary Mullis...). Monday, we celebrated labor by not working. Tuesday we processed the gun after recesiation and recovered from various storm-associated issues, but eventually got to recover a 1 micron lasing setup in preparation for JTO studies. Wednesday was to be devoted to a Dahlgren user run, but problems with the optical transport system precluded any meaningful work. Thursday we ran for THz users, and interleaved some machine improvement activity. We pushed current to clean up the cryounit & check BBU (we worked up to 4+ mA CW at 37.5 MHz before running out of both time and intestinal fortitude). We also performed a "machine restoration" test, wherein we checked some phase advances and betatron amplitudes, then loaded a sequence of several arbitrarily selected all saves, and rechecked the phase advances and amplitudes. Reloading the allsaves crashed one of our legacy (a flower of early 1980s technology) trim racks, thus providing a real-life flavor to the whole affair. Needless to say, the machine didn't recover; the orbit was hosed by the trim rack fault and the focusing also didn't come back, with minor but evident shifts in the phase advances but amplitude changes of perhaps 20% - corresponding to beam envelope shifts of order 40%. Our repeated need for "matchathons" is therefore not particularly surprising. These tests should be repeated with more care and more quantitatively. Friday we ran for JTO short Rayleigh-range studies, with the 1 micron setup being extended to steady harmonic lasing at 1 micron (actually, 935 nm), on the 3rd harmonic of the 2.8 micron mirrors and the 5th harmonic of the wiggler (set to ~4.7 microns).

Users:

We had very successful jellyfish (ephyrae and polyps) experiments this week. (This was the third in a series of experiments to determine order of magnitude bounds of UV and THz light.) This was essentially a repeat of 355 nm UV from the 4 Watt laser in Lab 4. Exposures were for 300, 600, and 1200 kJ/m2. But in this set, in addition to simply observing if there was a change in ephyrae behavior, here free radicals were monitored as a function of UV dose. In addition, we are gaining experience in dose delivery to live systems, experience needed for future BioScience research such as the melanoma study proposed by the Biomedical Photonics Consortium.

WBS 4 (Injector):

On Monday we re-cesiated the photocathode which had delivered 27 C and 63 hours of beam time for FEL ops since the previous recesiation. Since Monday's re-cesiation the photocathode has delivered 41 C and 14 hours of beam time. We have been re-cesiating more often due the low SHG drive laser power (the drive laser rod will be replaced during our upcoming maintenance). 

We continued high voltage processing the test electrode coated with the field emission suppression film by Nimel Theodore from the College of W&M. The results are encouraging so far. The electrode has been conditioned to 105 kV and 26.25 MV/m with field emission current below the detection level. The maximum electric field in the FEL photocathode gun is 12.4 MV/m at 500 kV. 

We held a kickoff meeting with Dr. Ravi Joshi and his student Deepesh Kumar Koppunuru from the Dept. of Electrical & Computer Engineering at ODU to start a two year collaboration for a MS thesis, extending the PARMELA model to the entrance of the FEL wiggler for further understanding of Longitudinal Space Charge effects.

WBS 6 (RF):

No activity this week.

WBS 8 (Instrumentation):

This week was shortened by the holiday (& lengthened by the hurricane), recovery was rather painless – thankfully! We continued to investigate the cause of the varying momentum spread by installing electric field and magnetic field antennas on several different view ports in the 4F region. It is quite easy to turn this effect on & off so we are hoping to eliminate various chamber discontinuities as the source of this problem.  So far we have looked at the 4F07 viewer and the Upstream OCMMS port and have seen no evidence of a source.  We are also setup to look at the Downstream OCMMS port during OPs today. Efforts were also directed to preparing for our scheduled maintenance activities for next week. Plans are in place for installation of the synchronized timing distribution system with the first hub going into the 3F region.  Other timing and video signals will also be installed at the OFO4 for the multi slit. Additional installation efforts include supporting Optics with the Cryogenic mirror upgrade. This will include wiring and connecting cryo diode read backs into EPICS.  A corrector pair will be installed in the 4F09 region (debunching chicane), channels have been assigned and additional trim cards have been secured for this. 
  We are preparing a multi-function VME card for application in the Emittance frame-grabber system. This will be accomplished by using the previously designed VME carrier board and related modules. Specifically, we have built-up two of the F0106, 1:4 channel analog distribution modules and configured them as a 1 in 8 out timing distribution system using the F0060 VME carrier board. We will complete the project by adding a F0060 4-channel timing board to the carrier which will be hard-coded with the fixed delays which are required to trigger the cameras for the frame-grabber system. We have also recommissioned a test IOC along with the Altera programming PC.
  We have prepared the decommissioned Con-Optics 305 synchronous countdown generator to replace the existing chassis in the drive laser clean room. This will liberate a fully-functional CO305 for use with the advanced drive laser in Lab 6. Also, we have started a project to design a new high-speed analog buffer module. The motivation for this design is to be able to copy the drive laser's EO cell logic pulse in order to monitor it, distribute it and interlock on it.
  A major re-write of the epics-2-devlore data gathering tools was done this week. There are three immediate benefits to the new code. First the server-load is dramatically reduced which increases the amount of data which can be exchanged. Second, the data is archived in a much more efficient way providing smaller archive files and faster data-retrieval. And third, the ability to launch multiple instances of the tools is now possible. This allows for a specific, standardized, "e2d" applications to be run for each system. Currently, we have set-up two instances, one for the web-page strip graph FEL ops graph and another to monitor the drive laser specifically. We are currently in the process of setting up a ‘chron’ process that catalogs the usage of the FEL user labs for the purpose of automating.
    Testing was completed on the 4-Ch RTD Monitor Board this week.  We have one board completely populated and all four channels function as they should and the on board bus controlling PLD was successfully programmed and all operates as it should.  We are currently gathering together enough parts to assemble 20 boards.  We have also received a quote for time frame and cost of assembly.  With this quote and the parts kit that we are assembling we should have these 20 boards within a month. 
    The layout of the 3U General Purpose I/O card is nearing completion.  There are a couple of issues that are being resolved and then the quote will be ready to go out.  A parts list for this board is being generated so the required parts for the prototype can be ordered.  Another board that is being worked on is the HOM BPM Logarithmic Monitor Board.  The schematic for the prototype is completed and the layout is beginning.  This requires some extra time and effort as we figure out how to impedance match the traces.  The general layout is completed, some tweaking will need to occur precisely set things up. 
  The FPGA to ColdFire bridge coding is being worked on. When the code uploaded on the FPGA, the ColdFire couldn't boot normally. After checking, the TEA pin for ColdFire was found to be pulled down by the FPGA. Changed the FPGA code and set the pins TEA and IRQ3 at high level. After that, the ColdFire can boot normally with the FPGA. Still working on the communication between ColdFire and FPGA.
  Testing of the UHV ion pump power supplies is scheduled for next week.  The software for the UHVs is ready and has been setup for iocfel5.  Met with representatives from Freescale and Arrow for a discussion concerning our future plans for embedded IOCs.

WBS 11 (Optics):

#### FEL mirrors

We prepared the cryo-optics for installation next week including the mounting and brazing activities.  On Monday after the part is out of the oven we will be able to determine if the braze successfully produced a mounted mirror with low astigmatism.

Other Activities:

I would first like to welcome Dave Hardy as the new FEL Safety Warden. Dave accepted this position on September 1st for a six-month tour of duty. Shukui Zhang represented the Optics Group for FEL06 where he presented two papers. These papers are titled: “Longitudinal Phase Space Characterization Of Electron Bunches At The JLab FEL Facility” And “Phase Noise Comparison Of Short Pulse Laser Systems”.

Next week is the start of the shutdown period. The majority of this week was spent on preparing for next week’s activities which for the most part consists of an installation of the Cryo-cooled OC mirror, aligning and improving the vacuum of the optical transport, and increasing the output SHG power of the Drive Laser. This week we also installed two B&W cameras, one on each to image both cavity mirrors. These cameras have response at 1.06um and will be used to observe the laser mode for the short Raleigh-range cavity studies. Group members also supported two User experiments and the JTO kickoff meeting.

Terahertz:

On Thursday, we had another good user run in the THz lab.  Nick Agladze, who works with Al Sievers at Cornell, tested their latest interferometer design.  This system generates an interferogram in a single shot with no moving parts.  It’s a very clever design and our THz source offers a unique capability to fully test their system.  The figure shows an image from the tests.  The fringes are the interferogram generated in a single shot on the Pyrocam.  After setting up the interferometer and Pyrocam detection system, we achieved immediately in our first attempt.  With the stable beam being delivered, we were easily able to fine tune the alignment to produce the best signal.  We then performed tests to properly set the polarization of the incoming beam and the angle of the polarizers used in the interferometer.  These tests optimized the interferogram signal and we then proceeded to make spectral measurements as the bunch length was systematically varied by changing the beam energy.  We saw some very interesting results that appear to be consistent with other machine diagnostics for the different beam energies.  Nick will analyze the spectrum for each test more thoroughly when he returns to Cornell.  We also were able to make measurements of the THz transmission spectrum for a few samples, including a 350 mm bandpass filter.  We will use these measurements as well as future planned tests to continue characterization and calibration of this new interferometer design.

Also this week, Michael Kelley and I (Michael Klopf) presented at the 5th International Conference on Photo-Excited Processes and Applications (ICPEPA).  Michael Kelley gave an overview of the FEL capabilities and user program.  I presented the details of a novel optical pump-probe technique for measuring nonequilibrium dynamics, and also gave a brief description of our THz source and user program.  There was a noticeable amount of interest in our THz capabilities and I had some productive discussions with a few of the conference attendees, particularly, Xianfan Xu, who presented work on measurements of coherent phonon excitations in Bismuth in the 1-3 THz range.  These phonon frequencies overlap well with the THz spectrum yielded when we optimize the bunch compression for THz production.