To make it easier to track the extractor gauges as they are moved from system to system, I have started a naming convention for the extractor gauges in our world.

| extractor gauge naming |  |
| --- | --- |
| name | where it is now (Aug08) | where it has been | cal factor | Emission current (mA) | Arrival/PO |
| A | broken in shipping from Daresbury calibration | chamber gauge - NEG stand | 7.22 | 1.38 |  |
| B | broken | neg orifice side | 8.13 | 1.23 |  |
| C | pump side ion pump speed test | ganapati's from Dong's H2 tests | 7.69 |  |  |
| D | top NEG test stand |  | 7.27 | 1.38 |  |
| E | bottom turbo station | Ganapati’s | 5.31 | 1.88 |  |
| F | RGA test stand | Ganapati’s? |  |  |  |
| G | orf side NEG test stand | new – will be chamber NEG test stand | 7.69 | 1.30 |  |
| H | BTLLPEG/cryochamber |  | 7.24 | 1.38 |  |
| I | Gauge stand | Gun 2 | 6.58 | 1.52 |  |
| J | Gun 3 |  | 5.63 | 1.78 |  |
| K | 2nd inv gun in cave | 316 chamber | 7.89 | 1.27 |  |
| L | INVGUN2 in tunnel | 2nd HV chamber LL gun/316LN 400C bake | 8.01 | 1.25 | Nov 07 PR256088? |
| M | 2nd HV chamber LL gun |  | 7.58 | 1.32 | Nov 07 PR256088? |
| N | Beryllium cross |  | 7.66 | 1.30 | Nov 07 PR256088? |
| O | gauge stand before baked beamline |  | 6.45 | 1.55 | Dec09 10-PO1150 |
| P | gauge stand |  | 6.15 | 1.63 | Dec09 10-PO1150 |
| Q | EEL cabinet |  | 5.29 | 1.89 | Dec09 10-PO1150 |
| R | EEL cabinet |  | 6.24 | 1.60 | Aug0909-M1842-0 |
| S | EEL cabinet |  | 5.49 | 1.82 | Aug0909-M1842-0 |
| AA | Going to R28-2 gun |  | 4.54 | 2.2 | 2016 serial number |