## Slide 1
Andreas Jankowiak
on behalf of the BERLinPro project team
Institute for Accelerator Physics
Helmholtz-Zentrum Berlin
BERLinPro
The Berlin Energy Recovery Linac Project
Why, How and Status
BERLinPro
FLS Workshop
JLAB
5th March, 2012

## Slide 2
The menu
Why BERLinPro
the beauty of ERLs
The project
basic layout, goals, timeline
Status
building, radiation protection, optics/theory, srf gun,
cold systems (srf), warm systems
Summary

## Slide 3
high average („virtual“) beam power
(up to A, many GeV = GW class beams)
mature technology
“resonant” system
interaction experiment ↔ ring
beam parameter defined by equilibrium
outstanding beam parameter
single pass experiments
high flexibility
low number of user stations
limited average beam power (<<mA)
high average beam power for single pass “experiments”
excellent beam parameters, high flexibility, multi user facility
Energy Recovery Linacs: The idea
Source
ID
X-Rays
LINEAR ACCELERATOR
IP
X-Rays
ID
STORAGE
RING
IP
IP
X-Rays
ENERGY RECOVERY LINAC
Source
Dump
Main Linac
ID

## Slide 4
Applications of ERL Technology:
High energy electron cooling of bunched proton/ion beams
Ultra high luminosity electron – ion collider (EIC, LHeC)
Compact radiation sources:
FELs, Compton sources,
next generation EUV lithography,
nuclear waste management, port security
Multi-User next generation light sources

## Slide 5
Electron source:
high current , low emittance (100mA – A) cw / enorm < mm rad ) not yet demonstrated
Injector/Booster:
100mA @ 5 – 15MeV = 500 – 1500kW beam loading (coupler, HOM damper)
Main-Linac:
100mA recirculating beam  beam break up (BBU), higher order modes (HOM),
highest cw-gradients (>15MV/m) with quality factor > 1010  reduce cryo costs
Beam dynamics / optics:
recirculation, flexible optics, bunch compression schemes = flexibility
Still many open questions
Control of beam loss
unwanted beam = dark current (cathode, gun, srf), beam halo, collimation
(big step forward: Cornels 50mA)
Storage ring:
nearly Gaussian
~ pA losses typical
~ 10 nA maximum
The “hummingbird”
P. Evtushenko, JLAB
ERL:
no dead mathematician
~ 100 mA losses possible

## Slide 6
BERLinPro – Machine layout / parameters
linac module
3 x 7 cell srf cavities, 44MeV
modified Cornell booster
3 x 2 cell srf cavities, 4.5MeV
srf-gun
1.5-2MeV,
single solenoid,
no buncher cavity
merger
dogleg
recirculation arc
beam dump
7MeV, 100mA = 700kW
BERLinPro = Berlin Energy Recovery Linac Project
100mA / low emittance technology demonstrator (covering key aspects of large scale ERL)
 | Basic Parameter
max. beam energy | 50MeV
max. current | 100mA (77pC/bunch)
normalized emittance | 1 p mm mrad
bunch length (straight) | 2 ps or smaller
rep. rate | 1.3GHz
losses | < 10-5

## Slide 7
BERLinPro – Project goals
Produce and accelerate an electron beam with
emittance: 1 p mm mrad (normalized)
current: 100mA cw
(1.3GHz, 77pC bunch charge)
pulse length: 2 ps
at reasonable energy (50MeV ) in „user quality“ (low losses in
recirculation) with stable and reliable operation
→ Facility for ERL beam tests and developments
- develop the required srf technology (gun/booster/linac)
- explore the parameter space of emittance, charge and pulse length
- understand to control “unwanted” beam(loss)
- educate accelerator physicists, engineers and technicians
- acquire expertise to be prepared for future large scale projects
- foster international collaboration on ERL technology

## Slide 8
Challenges (i)
electron source with cathode and laser system staged approach for development of srf photo electron source
Gun_0 → Gun_1 → Gun_2
already started, fully sc (Pb cathode film), first beam 21.04.11 demonstrator, beam dynamic
nc cathode, CsK2Sb cathode
beam dynamic, emittance, cathode performance
lessons learned / high power
generate high power beam in booster modified Cornell booster design , adapt to our needs
(only 3 cavities,
more power per
coupler – KEK design)

## Slide 9
Challenges (ii)
emittance compensation and preservation - merger design and operation - 2d-emittance compensation scheme gun to end of linac - control of CSR effects
linac cavities for high current (HOMs, BBU) starting point JLAB 5 cell with waveguide damper design started → looking for 7 cell design
control of beam losses
“ERL beams do not occur in distributions
named after dead mathematicians”
Pat O'Shea, Univ. Maryland cited by D. Douglas, JLAB
- dark current from gun and cavities - Halo from laser spot, non linear fields, bunch compression, CSR, ...
- collimation schemes (but where and how ????)

## Slide 10
Challenges (iii)
high “virtual” beam power, very high loss rates possible BESSY II: 200mC / a @ 1.7GeV typical BERLinPro: some 100mC / 1s @ 50 MeV possible (30kW linac RF-power)
new regime of operation (compared to storage ring) → radiation protection issues favor an underground bunker
BERLinPro 50MeV
3m
3m
Ground level

## Slide 11
BERLinPro – Project timeline + budget
2008 10/2010 2011 2012 2013 2014 2015 2016 2017
Application
Approval
(25.8M€ over 5a)
Project
start
first
recirculation
CDR TDR
- first MAC 05/2011
- re-scoping of the project
(100MeV = 50M€
→ 50MeV
following BERLinPro Mac recommendation)
- detailed time planning
- detailed costing
(50MeV = 36.2Mio€, need to stretch timeline)
still hiring additional personnel
Building

## Slide 12
Criteria for the layout of building I
13m x 33m x 3m to host the machine
Close vicinity of the cryo-system and the machine for short cryogenic lines
Radiation protection of the cryogenic systems
Shielding to secure the annual dose limit at any accessible uncontrolled area
Compatibility with environmental contamination requirements (activation of ground water and air)
=> subterranean ~3m “bunker”, adjacent “gallery” with sufficient shielding to place SRF and laser systems
Subterraneous bunker, gallery and entrance ramp
Building + Infrastructure (i)

## Slide 13
industrial hall for technical subsystems and laboratories and new conventional infrastructure
Criteria for the layout of building II
1200m² to host equipment and laboratory space
=> industrial hall above surface for technical subsystems, laboratories and new conventional infrastructure
Building + Infrastructure (ii)

## Slide 14
Vertical cut through bunker
shielding
new analytical formulas for and neutron radiation had to be developed for the BERLinPro parameter space (< 100MeV)
Ott, Helmecke, IPAC11, San Sebastian, Spain, Conf. Proc., http://www.JACoW.org
annual dose calculations for 2000 h/a operation time and 8 h daily operation / annual dose limit of 1 mSv/a for unrestricted areas
    Subterraneous construction eases radiation protection
20cm of concrete and 3m of sand sufficient/cost effective
Radiation protection (i)
technical galley + machine
(klystrons,
cold box, laser)
3m covering with mould (sand)
laboratory space, controls,
technical infrastructure

## Slide 15
Beam power
650 kW beam power in injection/extraction line (regular operation)
first beam dump calculations => water cooled copper cone
electron losses in the recirculator ring are limited by the 30 kW of RF power of the linac (unwanted beam loss)
first thoughts on Machine Protection Systems are under way
(local losses (not at collimators ), will be limited to < 5mA)
Detector development
detectors for high energy neutron:
use standard neutron detector with 1 cm of lead cover of modulator
due to a (n, 2n) nuclear reaction in the lead the complete neutron spectrum can be measured
calibration at CERN in 2012
Radiation protection (ii)

## Slide 16
  merger decision: dogleg
    geometry more comfortable
    second order dispersion acceptable (quads in dispersive region)
  reduction of number of booster cavities (5 -> 3)
    stronger RF focusing
  space requirements for HOM couplers behind gun
    longer bunches / compression in merger necessary
    reduced solenoid field less favorable for emittance
  use of Gaussian laser pulses (see talk T. Quast)
    risk of over compression of low charge slices
  => standard mode optics developed to achieve design goals
Injector layout of BERLinPro
Layout / Optics
Optics and theory – Injector / merger (i)

## Slide 17
First cavity will have 9kV transmitter only
Field without beam loading
enough to energy chirp the bunch
Bunch length behind booster : 0.3 – 5mm
Longitudinal phase space behind booster
2 cavities
5 cavities
Beam size development in injector for 2 and 5 cavities
Standard mode parameters behind booster | 
Emittance [mm mrad] | 0.9
Bunch length [mm] | 1.8
Optics and theory – Injector / merger (ii)

## Slide 18
Optics and theory – Beam dynamics gun to linac
77pC bunch charge
gun
booster
merger
linac
gun
booster
merger
linac

## Slide 19
First arc with beam dump
4 dipoles (45°)
7 quadrupoles
4 sextupoles
High transmission: moderate β-functions and dispersion
Variable R56: ‑0.25 m < R56 < 0.25 m
Adjustable betatron phase advance: increase BBU current threshold
Sextupoles: control non-linear beam transport
Optics and theory – Layout of arcs (i)

## Slide 20
R56 = 0.0 m
Optics and theory – Layout of arcs (ii)
Recirculator lattice:

## Slide 21
High current injector development in three stages
 | HoBiCaT Injector 0 | Injector 1 | Injector 2
Goal | Beam Demonstrator | Brightness R&D Injector | High-current injector
Electron energy | ≥ 1.5 MeV |  | 
RF frequency | 1.3 GHz |  | 
Design peak field | ≤ 50 MV/m |  | 
Operation launch field | ≥ 10 MV/m |  | 
Bunch charge | ≤ 77 pC |  | 
Repetition rate | 30 kHz | 54 MHz / 25 Hz | 1.3 GHz
Cathode material | Pb | CsK2Sb | CsK2Sb
Cathode QE | 10−4 at 258 nm | 10% at 532 nm | 10% at 532 nm
Laser wavelength | 258 nm | 532 nm | 532 nm
Laser pulse energy | 0.15 µJ | 1.8 nJ | 1.8 nJ
Laser pulse shape | Gaussian | Gaussian/Flat-top | Gaussian/Flat-top
Laser pulse length | 2.5 ps FWHM | ≤ 20 ps | 20 ps
Average current | 0.5 µA | ≤ 10 mA / 0.1 mA | 100 mA
Current focus
SRF gun development – Staging
see talk:
T. Kamps, “BERLinPro injector”

## Slide 22
Plasma arc
depositon setup
at Swierk
Pb cathode film (few 100 nm)
R. Nietubyc, Soltan Inst.
J. Sekutowicz, DESY
Cavity production at JLAB
P. Kneisel
SRF gun development – HoBiCaT / fully sc gun with lead cathode

## Slide 23
First beam
21st April 2011
Project Start:
May 2009
1.8MeV
6pC bunch charge
8kHz (~50nA)
3ps rms
2 mm mrad (~ 5 mm mrad / mm)
- important milestone,
demonstrating our capabilities
- great interest in community
- basis for further collaborative
effort
In 2012 test of new fully sc 1.6 cell gun
(with Pb cathod plug)
SRF gun development – HoBiCaT / fully sc gun with lead cathode

## Slide 24
SRF gun development – Gun Lab cryo module gun_1 / 2
Gun1: Plan cryomodule. Needs to be ready to take cold mass in summer 2014
Design based on 2nd gen gun cryomodule design of the HZDR/ELBE SRF gun.
P. Murcek (HZDR) incorporated already some BERLinPro design requirements in the current version.
Detailed design depends on cavity unit, RF coupler, cavity tuner, HOM load, solenoid.
Need to fix soon interfaces with big items with long lead/development time like RF coupler, tuner, solenoid mover.
Courtesy: P. Murcek

## Slide 25
Gun1: Setup for CsK2Sb cathode preparation. Start preparation of cathodes in summer 2012
Order of parts completed.
Next steps: Detailed design of evaporators and cap holder, engineering design of transport vessel, engineering of support base, and location of suitable lab area.
Ion gun
Evaporation
sources
Ion and electron
Energy analyser
X-ray tube
Mass spectrometer
Transfer and
transportation
S. Schubert, D. Böhlick
SRF gun development – Gun Lab cathode preparation
S. Schubert
R. Barday

## Slide 26
 | base design |  | upgrade option
 | stage 1 (50 mA) | stage 2 (100 mA) | 
 | transmitter power |  | 
Gun cavity | 160 kW | 270 kW | 270 kW
Booster Cavity 1 | 15 kW | 15 kW | 80 kW
Booster Cavity 2 | 160 kW | 270 kW | 270 kW
Booster Cavity 3 | 160 kW | 270 kW | 270 kW
Linac | 3x15 kW | 3x15 kW | 3x15 kW
High beam loading in injector path 1 MeV 100 mA  100 kW
Klystron based 270 kW transmitters
Build in two stages 160 kW (~50 mA beam) 270 kW (~100 mA beam)
Low beam loading in main linac (energy recovery)
15 kW solid state transmitters
Klystrons, circulator, transmitter-status: ordered
Collector power supply of klystron transmitter: first stage (blue) 160 kWRF, full 270 kWRF
Overview of BERLinPro transmitters
Two types of transmitters:
Cold systems – RF systems

## Slide 27
Three cryo modules at BERLinPro
Gun module and booster module in construction phase
Linac module construction will start 2013
 | Number of cavities / cells | HOM damping | Accelerating field gradient | Fundamental power coupler | Maximal power at coupler | Tuner
Gun module | 1 x 0.6/1.4- cell | Beam pipe ferrite | ~ 20 MV/m | 2x KEK type | 115 kW | Blade
Booster module | 3 x 2-cell Cornell-type | Beam pipe ferrite | < 10 MV/m | 2x KEK type each cavity | 115 kW | Blade
Main linac module | 3 x 7-cell | Wave guide | 18.3 MV/m | BESSY (TTF3) type | 10 kW | Blade
Model of 7-cell cavity with waveguide HOM dampers
0.6-cell gun cavity with choke cell
Cold systems – Cryo modules
The availability of high current cw srf technology
opens up new possibilities
e.g. BESSYVSR
“overvoltage cavities”
(see Gode Wüstefelds talk)
BESSYVSR

## Slide 28
Cryogenics at BERLinPro is at three temperature levels
 | 1.8 K |  | 4.5 K |  | 80 K | 
 | Static load | Dynamic load | Static load | Dynamic load | Static load | Dynamic load
Photoinjector module | 7 W | 16 W | 34 W | 8 W | 130 W | 75 W
Booster module | 11W | 39 W | 62 W | 24 W | 180 W | 270 W
Linac module | 21 W | 79 W | 59 W | 6 W | 203 W | 30 W
Subtotal | 39 W | 134 W | 155 W | 38 W | 513 W | 375 W
Cryo Distribution | 3 W | -- | 45 W | -- | 550 W | --
Total | 42 W | 134 W | 200 W | 38 W | 1063 W | 375 W
1.8 K for cooling of the cavities. High dynamic load due to cw operation
4.5 K for thermal intercepts
80 K for shield cooling and HOM beam pipe ferrites
Cryogenic loads at BERLinPro
Cold systems – Cryogenics (i)

## Slide 29
Existing cryogenic infrastructure with two operating cryo plants:
TCF 50 liquefaction rate: 180 l/h
L700 liquefaction rate: 700 l/h
New: Cold compressor box needed for BERLinPro
Cold systems – Cryogenics (ii)

## Slide 30
Summary
BERLinPro is a technology demonstrator for “generic ERL research”
(50MeV, 100mA, 1 p mm mrad, srf gun)
Project started 2011, first beam through booster envisaged 2015
Makes efficient use of existing resources at HZB (Matrix org.)
(Institute for Accelerator Physics, Institute for SRF Science, Department
for Accelerator operation, Young Investigator Group)
Well embedded in the Accelerator Research and Development
Initiative of Germanys Helmholtz-Foundation
Very attractive for students (education) from Berlin Universities
and abroad

## Slide 31
From virtual reality to virtual beam power
We are right on the way!

## Slide 32
Thanks to the BERLinPro Team
T. Atkinson, R. Barday, A. Bondarenko, S. Schubert, Y. Petenev, J. Rudolph, J. Völker