## Slide 1
HRS at small angles for e+/ e- pair for APEX
Paul Brindza, Jefferson Lab
Septum magnets and radiation
APEX
schematic

## Slide 2
HRS view for PREX

## Slide 3
Hall A RT Septum magnet

## Slide 4
View downstream from the target
Showing sieve slit

## Slide 5: RT Septum as installed for PREX

## Slide 6: Beam Line field shield for PREX

## Slide 7
PREX septa magnets 2010
Custom beam line for APEX June 2010
Magnetic field on beam line for e+e- configuration APEX Test Run

## Slide 8: RT Septum Modifications for APEX
RT Septum in High field configuration ie. all three coil sets installed and parallel fields
Improved beam line field shield for parallel field operation
Use soft iron shield that is 2 cm thick on mid plane
Field shield extends +/- 100 cm from RT septum center
Preserve beam aperture 7.0 cm diameter

## Slide 9: RT septum model with coils spaced +/- 2 cm

## Slide 10: Model side view showing extended field shield

## Slide 11: Original PREX shield

## Slide 12: RT Septum with original length 1 cm thick shield

## Slide 13: Field on beam line for 2 cm thick long shield

## Slide 14: Saturation in the 2 cm shield at center

## Slide 15: Saturation in shield at yoke end and coil end
Edge of yoke
End of coils

## Slide 16: Field in iron shield mid plane along “Z”

## Slide 17: Field details along beam line

## Slide 18: Integral BdL along gap center

## Slide 19: RT Septum across gap in magnet mid plane

## Slide 20: Cost and time impact of septum beam shield
Iron shield needs to be 2 cm thick in mid plane and ~ 200 cm long. Current shield is length of yoke.
RT septum will need coil spacers to fit the new coil spacing of +/- 1 cm.
RT septum must be disassembled to install new beam shield and change coil spacing.
Cost is about $20,000 plus at least two weeks for several Hall A techs.

## Slide 21: APEX Beam Shield Cost
Iron 350 # annealed $ 3500
Boring 80 hr at 50$/hr $ 4000
Bellows and flanges $ 4000
Welding & leak checking $ 2000
Use $20,000 for new shield components plus Hall A labor

## Slide 22: Latest radiation budget

## Slide 23: Conclusions
RT Septum meets requirements for APEX
APEX requires use of all three coils sets (same as G2P) in parallel field mode
RT Septum requires 2 DC supplies for high field 240 V 1100 A each
Requires a thicker and longer beam field shield
Modifications have reasonable cost and time impact