## Slide 1
SoLID status and Chinese contribution
1
Wang Yi
Department of Engineering Physics
Tsinghua University, Beijing, China

## Slide 2
Outline
Status of SoLID
Chinese activities on GEM
Development of SoLID-TOF
Development of ECAL
Summary

## Slide 3
Why SoLID
JLab 6 GeV: precision measurements
high luminosity (1039) but small acceptance (HRS/HMS: < 10 msr)
or large acceptance but low luminosity (CLAS6: 1034)
JLab 12 GeV upgrade opens up a window of opportunities (DIS, SIDIS, Deep Exclusive Processes) to study valence quark (3-d) structure of the nucleon and other high impact physics (PVDIS, J/y, …)
High precision in multi-dimension or rare processes requires very high statistics  large acceptance and high luminosity
CLAS12: luminosity upgrade (one order of magnitude) to 1035
To fully exploit the potential of 12 GeV, taking advantage of the latest technical (detectors, DAQ, simulations, …) development
SoLID: large acceptance detector can handle 1037 luminosity (no baffles)
1039 with baffles
Solenoidal Large Intensity Device

## Slide 4
Overview of SoLID
Full exploitation of JLab 12 GeV Upgrade
 A Large Acceptance Detector AND Can Handle High Luminosity (1037-1039)
Take advantage of latest development in detectors , data acquisitions and simulations
Reach ultimate precision for SIDIS (TMDs), PVDIS in high-x region and threshold J/y
5 highly rated experiments approved (+3)
Three SIDIS experiments, one PVDIS, one J/y production (+ three run group experiments)
Strong collaboration (250+ collaborators from 70+ institutes, 13 countries)
Significant international contributions (Chinese collaboration)

## Slide 5
Strong collaboration (250+ collaborators from 70+ institutes,13 countries
GEM detectors and MRPC: Chinese Collaboration in Hall A at JLab
SoLID Detector Overview

## Slide 6
SoLID Detector Overview

## Slide 7
SoLID Detector/DAQ/Tracking
/Duke

## Slide 8
SoLID Status
Review committee: “The project was in a good state to move
forward”.
Long range plan: SoLID white paper, SoLID presentations
QCD Hadron highest recommendation include SoLID
On DOE radar screen, support pre-R&D, plan science review

## Slide 9
SoLID-MRPC: Tsinghua University, USTC, JLab, Duke
ECAL： SDU (China), UVA, W&M.
Chinese SoLID collaboration

## Slide 10
R&D on GEM

## Slide 11
Large-area GEM R&D at Tsinghua & IMP

## Slide 12
Performance

## Slide 13
Large-area GEM R&D at USTC

## Slide 14
Large-area GEM Prototypes

## Slide 15
Performance

## Slide 16
Going to Soild-GEM Size (~1m x 0.5m)

## Slide 18
Continued

## Slide 19
R&D on GEM foils

## Slide 20
GEM foil Lab

## Slide 21
GEM foil production process

## Slide 22
GEM foils produced (30cm x 30cm)

## Slide 23
GEM foils produced (40cm x 40cm)

## Slide 24
GEM readout

## Slide 25
“INFN” readout system

## Slide 26
Readout test with a GEM chamber

## Slide 27
Development effort at USTC

## Slide 28
CASAGEM-based readout

## Slide 29
SFE16-based readout

## Slide 30
Development of SoLID-TOF
SoLID-TOF requirement and structure
Development of MRPC prototype
Beam test of MRPC
Production workshop

## Slide 31
Main requirements for TOF
The MRPC is developed for the TOF of SoLID
Main Requirements for TOF:
  /k separation up to 2.5GeV/c
  Time resolution < 100ps
  Rate capability > 10kHz/cm²

## Slide 32
Conceptual design of SOLID-TOF
MRPC TOF wall we designed contain 150 MRPC modules in total, with 50 gas boxes and 3 counters in each box, covering the area of 10m².
MRPC1
MRPC2
MRPC3
100cm
16cm
28cm
The MRPC module we tested is the prototype of smallest one.
Total channel ~3600

## Slide 33
Standard parameters:
Resistivity of glass: ~1012 Ω.cm
Time resolution <100ps
Efficiency >95%
Dark current: a few nA
Noise ~1Hz/cm2
Rate <100 Hz/cm2
MRPC is made of thin
glass, large area and cheap
The inner glasses are
floating, take and keep
correct voltage by
electrostatics. it is
transparent to fast signals
Thin gap->good timing
Multi-gap-> high efficiency
Working mechanism of MRPC
Read out
Read out
Insulator
Carbon
Insulator
Resistive plate

## Slide 34
Performance of low resistive glass
32cm x 30cm
Performance of low resistive glass

## Slide 35
Volume resistivity: ~1010.cm
363mm
219mm
171mm
25mm
 | Length/mm | Width/mm | Thickness/mm
Gas gap | - | - | 0.25×10
Inner glass | 320 | 130-171 | 0.7
Outer glass | 330 | 138-182 | 1.1
Mylar | 335 | 153-198 | 0.18
Inner PCB | 350 | 182-228 | 1.6
Outer PCB | 350 | 172-218 | 0.8
Honeycomb | 330 | 153-198 | 6
Material dimensions
A MRPC prototype for SoLID-TOF

## Slide 36
Cosmic test
Cosmic ray test@Tsinghua August, 2011
Efficiency > 95% @ 96kV/cm (6.0kV)
Time resolution: ~ 52ps
PMT3
PMT4
PMT0
PMT2
PMT1
MRPC
Cosmic Ray Muon

## Slide 37
Beam test @ Hall A
37
Shield
High Energy e-
Top View
PMT1
PMT2
PMT3
PMT4
PMT0
Target
Target
Test setup
The diagram of DAQ system

## Slide 38
Test results (1)
38
Time Resolution: ~75ps
Efficiency: >95%

## Slide 39
Voltage: 6800V
Flux:11kHz/cm²
Efficiency:~95%
Time Resolution: 78ps
Flux:16kHz/cm²
Efficiency:~95%
Time Resolution: 82ps
Test results (2)

## Slide 40
TOF electronics
Fast preamplifier：
Maxim3760 (Tsinghua and RICE Univ.)
Ninos (TOT) (ALICE)
Padi (TOT) (GSI)
CAD (TOT) (Tsinghua)
QDC (CAEN, 25fC/bin)
TDC
HPTDC (ALICE, 25ps/ch)
GET4 (GSI, 25ps/ch)
FPGA TDC (GSI and other)
DAQ

## Slide 41
CAD: Tsinghua amplifier
Supply Voltage | 3.3 V
Technology | 0.35μm CMOS
Chip Package | BGA package
Preamplifier Current Gain | 2
Preamplifier Bandwidth | >100 MHz
Power Consumption | <10 mW/ch
input | Single-end input
output | Single-end CMOS logical output
Specifications

## Slide 42
Test with signal generator and MRPC

## Slide 43
Tsinghua-FPGA TDC
Cyclone-II
FPGA
EP2C35F484C6
100M Ethernet
Readout with
TCP/IP support
Socket for TCXO
(opt.)
24 channels, Ethernet readout
Resolution ~30ps

## Slide 44
RPC workshop: http://www.nuctech.com/en/index.aspx

## Slide 45
MRPC mass production

## Slide 46
EM calorimeter of SoLID
HADRON2014, C. Feng
46
One EM calorimeter unit: Shashlyk detector + pre-shower

## Slide 47
Pre-shower detector prototype
Hexagon scintillator with groove for light fiber, Make in Kedi company, China.
Scintillator couple to wave length shift light fiber, and packet with tyvek.
Light yield of the prototype for single MIP. More than 60 photos are collected for MIP.

## Slide 48
Summary
Full exploitation of JLab 12 GeV Upgrade
 SOLID: A Large Acceptance Detector that can handle High Luminosity (1037-1039)
Highest rated physics program: TMDs, PVDIS, threshold J/y and GPDs
Chinese group has deep collaboration in SoLID-GEM, TOF and ECAL
We are trying to get funding for the construction of GEM and MRPC

## Slide 49
Thank you!
谢谢大家！