## Slide 1
Ecal Connection board and Motherboard design

## Slide 2
Connection Board
Motherboard

## Slide 3
Connection Board
The connection board links the APD on one side and Preamplifier on the other side:
  Connection from the APDs to the Board is by 2 twisted wires.
  Connection from the Board to Amplifier is by 3 pin socket.
There are also preamplifier support rails soldered on the board to hold the amplifiers in place.
The board provides thermal screen and provides ground link between the APD and preamplifiers.
10 Crystals high ~ 160mm (6.3in)
25mm
46 Crystals across ~ 736mm (29in)
23 Crystals
23 Crystals
21 Crystals
21 Crystals
23 Crystals
y
x
16mm
16mm
111 Crystals per Quadrant
Total Crystals = 444
D
C
B
A

## Slide 4
HPS ECal Motherboard
DVCS 2005 Inner Calorimeter Motherboard
Slotted Motherboard

## Slide 5
50mm
D
C
B
A
125mm (4.92in)
986mm (38.8in)
160mm (6.3in)
High Voltage Connector
Low Voltage Connector
Preamp
signals
111 Crystals
111 Crystals
111 Crystals
111 Crystals
Quadrant B
Connectors
Quadrant C
Connectors
Quadrant A
Connectors
Quadrant D
Connectors
8-Pin Connectors
8-Pin Connector
8-Pin Connector
(HE804EN17YOA401)
(Molex_43045-0612)

## Slide 6
50mm
D
C
B
A
786mm (31in)
220mm (8.7in)
High Voltage Connector
Low Voltage Connector
Preamp
signals
111 Crystals
111 Crystals
111 Crystals
111 Crystals
HV/LV Connectors
Quadrant C Connectors
8-Pin Connectors
(HE804EN17YOA401)
(Molex_43045-0612)
Quadrant B Connectors
Quadrant A Connectors
Quadrant D Connectors
HV/LV Connectors

## Slide 7
16mm
16mm
80mm (3.15in)
46 Crystals across ~ 736mm (29in)
25mm
21 Crystals across ~ 336mm (13.2in)
5 Crystals high ~ 80mm (3.15in)
Slotted Motherboard
Board Cutout
Connector Footprint
16mm
GND
GND
GND
Signal
GND
GND
GND
HV
-5V
+5V
12.6mm
6.3mm

## Slide 8
Proposed non-slotted Motherboard
The preamplifier output signals have to be sandwiched between two ground strips (on the motherboard) to reduce crosstalk.
This increases routing complexity.
To reduce noise on the signals, the following Motherboard design is proposed:
Move the existing APD connector to the backside of the motherboard (side with the APD).
Put a LEMO connector on the frontside of the motherboard.
Connect directly to the readout boards from the from motherboard.
To Readout
Module
Connection Board
Motherboard
Crystal
Preamplifier

## Slide 9
16mm
16mm
80mm (3.15in)
46 Crystals across ~ 736mm (29in)
25mm
21 Crystals across ~ 336mm (13.2in)
5 Crystals high ~ 80mm (3.15in)
Precidip 802-PP-NNN-10-001101
Connector Footprint
(12.7mm X 8.5mm)
16mm
Backside View
Lemo EPB.00.250.NTN
Connector Footprint
(7mm X7mm)
GND
GND
GND
Signal
GND
GND
GND
HV
-5V
+5V

## Slide 10
16mm
16mm
80mm (3.15in)
46 Crystals across ~ 736mm (29in)
25mm
21 Crystals across ~ 336mm (13.2in)
5 Crystals high ~ 80mm (3.15in)
Connector Footprint (7mm X 7mm)
16mm
Frontside View
Not to scale
LEMO EPB.00.250.NTN
HV & LV Connectors

## Slide 11
Summary
Discussion of alternative motherboard design.
How does it affect Mechanical design by adding ~ 6inches separation between motherboard and connection board?
Slotted vs non-slotted
Pros
Easier design = Less labor during routing.
Reduce Signal Integrity concerns.
Access to individual crystal signal for readout.
Slotted motherboard is flimsier.
Cons:
Might need another “dummy” slotted board to support the preamp.
Lemo connectors ~ $10 each.

## Slide 12
Questions and/or Comments