Corrective Action Plan

For

TJSO Confined Space Walk Through July 2007

| Observation ID # | Observation | Corrective Action | Person Responsible | Expected Completion Date |
| --- | --- | --- | --- | --- |
| 1. | Finding 01: No annual review has been documented in the last year of the Confined Space Program, as required by 29CFR1910.146(d)(14). | Establish recurring annual process to conduct an overall review of Program effectiveness. Corrective action: MOA-2007-24-01 | John Kelly | 10/13/07 |
| 2. | FINDING 02: The Confined Space Entry Permit, contained in Appendix 6160-T4 General Procedure for Entry into Permit-Required Confined Spaces, does not contain a place to record the attendant’s name, as required by 29CFR1910.146(f)(5). | Revise entry permit (page 5 in 6660-T4) accordingly. Corrective Action: MOA-2007-22-01 | John Kelly | 10/12/07 |
| 3. | FINDING 03: The Confined Space Entry Permit does not contain the rescue and emergency services that can be summoned and the means for summoning, as required by 29CFR1910.146(f)(11). | Revise permit to include this information in a prominent location. Corrective Action: MOA-2007-23-01 | John Kelly | 10/13/07 |
| 4. | FINDING 04: Appendix 6160-T2 Ventilated Entry Procedure does not meet the requirement of 29CFR1910.146(c)(7)(iii) or 29CFR1910.146(c)(5)(ii)(H) which requires that the employer shall document the basis for determining that all hazards in a permit space have been eliminated, through a certification that contains date, location of the space, and the signature of the person making the determination. | Prior to next ORO site visit, JLab SME to research OSHA interpretations and other authoritative sources for actual intent of this section and how best to implement any change that may be needed in JLab procedures. Corrective Action: MOA-2007-25-01 | John Kelly | 11/9/07 |
| 5 | OBSERVATION 01: Many manholes were observed with the painting of the yellow international symbol for NO not visible, which is not in accordance with 6160 Confined Space Entry. | Revise Chapter 6160 to delete the requirement for manhole cover marking. (This practice of marking manholes was initially adopted as a best practice, of primary benefit in the era before JLab had deployed confined-space entry training and widely understood restrictions on unauthorized entry into CSEs.) Corrective Action: MOA-2007-26-01 | John Kelly | 10/12/07 |
| 6 | OBSERVATION 02: The Permit-Required Confined Space in Building 97 Pump Room and the storm sewer Southwest of Building 98 were not listed in Appendix 6160-T1 List of Permit-Required Confined Spaces. | Revise Appendix 6160 T-1 to add manhole to the list of spaces. Revise the Confined Space Location Site Plan to note the pump room pits. Corrective Action: MOA-2007-27-01 | John Kelly | 10/12/07 |