## Slide 1
zcoll = | 590 | cm
ztarg,up = | -75 | cm
ztarg,center = | 0 | cm
ztarg,down = | 75 | cm
θlow = | 5.5 | mrad
θhigh = | 17 | mrad
Rinner = | 3.658 | cm
Router = | 11.306 | cm
From center: |  |  |  | From downstream: |  | 
θlow,cen = | 6.200 | mrads |  | θlow,down = | 7.102 | mrads
θhigh,cen = | 19.161 | mrads |  | θhigh,down = | 21.950 | mrads
Finite Target Effects
Rinner
Router
ztarg,down
ztarg,up
ztarg,center
θlow,up
θlow,down
θhigh,up
θhigh,down
Assume 5.5 mrads at upstream end of target, instead of center
Expected Q2 distribution
Collimator precision
Magnet stability
Tracking measurements

## Slide 2
Background Corrections
G0

## Slide 3
elastic
inelastic
detector
dipole
quads
(2.6 MeV)
pure, thin 208Pb target
Momentum (GeV/c)
Hall A High Resolution Spectrometers
target

## Slide 4: Detectors
Different experiments used different detectors but they have similar requirements
The main detector and electronics have to be fast enough to record data on the timescale of the helicity signals
The entire electronics chain including the detectors must be as linear as possible
A set of tracking chambers is used to determine the acceptance

## Slide 5: Drift Chambers

## Slide 6: GARFIELD SIMULATIONS

## Slide 7: What could go wrong?

## Slide 8: Pockell’s Cell Ringing

## Slide 9: Scaler Counting Problem
Electronics sorts detector coincidences (CEDi and FPDj) into separate scaler channels
  FPGA-based system in North American electronics (4 octants)
Because of error in FPGA programming, two short (~3 ns) pulses could be sent to scaler in < 7 ns
  ~ 1% of events have such miscounts
Such pulse pairs can cause scaler to drop or add bits
  Detailed simulation of ASIC with propagation delays between (flip flop) elements
Effect on asymmetry is <0.01 Aphys
  Test by cutting data; compare with French octants
Data
Simulation

## Slide 10: PVES
Ancilliary measurements

## Slide 11: Other measurements
Measurements made to understand the systematic uncertainties also have physics interest
Transverse asymmetries for signal reaction
Asymmetry of target backgrounds
  Carbon longitudinal
  Carbon transverse
  Aluminum longitudinal
  Aluminum transverse
Delta production/inelastic asymmetries
Pion production asymmetries
Measurements at non-optimal energies for main experiment

## Slide 12: Ancillary Measurements
Proton elastic transverse asymmetry (2-photon exchange)
Nuclear elastic transverse asymmetries (Coulomb distortion)
N→Δ PV measurement at 2 beam energies
Transverse asymmetry in Δ production at 2 beam energies
Non-resonant inelastic PV measurement (γZ box diagram)
Non-resonant inelastic transverse asymmetry
PV asymmetries in pion photoproduction at 3.3 GeV
Transverse asymmetries in pion photoproduction at 3.3 GeV
Proton elastic transverse asymmetry
Non-resonant inelastic PV measurement

## Slide 13: Transverse Polarization
k’
n
ˆ
Pe
Notes: As mentioned earlier the beam normal single spin asymmetries arise because of the interference of two photon exchange with that of single photon exchange. The asymmetry varies as a function of octant because it depends on the direction of the polarization relative to the normal to the scattering plane. For example if an electron is scattered into octant 1, the normal is toward octant 7. Since the asymmetry itself is negative and the dot product produces another negative, the measured asymmetry should be positive in octant 1. Likewise, for an electron scattered into octant 7, the normal is perpendicular to the polarization, so the asymmetry should be 0 in this octant. Indeed this is what we see in the data.
A_n <0
LHS -> octant 1 should be maximum and positive
RHS -> octant 1 (phi=90) should be maximum and positive

## Slide 14: Transverse Parity-conserving Asymmetry
k’
n
ˆ
Pe
Notes: As mentioned earlier the beam normal single spin asymmetries arise because of the interference of two photon exchange with that of single photon exchange. The asymmetry varies as a function of octant because it depends on the direction of the polarization relative to the normal to the scattering plane. For example if an electron is scattered into octant 1, the normal is toward octant 7. Since the asymmetry itself is negative and the dot product produces another negative, the measured asymmetry should be positive in octant 1. Likewise, for an electron scattered into octant 7, the normal is perpendicular to the polarization, so the asymmetry should be 0 in this octant. Indeed this is what we see in the data.
A_n <0
LHS -> octant 1 should be maximum and positive
RHS -> octant 1 (phi=90) should be maximum and positive

## Slide 15: Transverse Correction

## Slide 16: Transverse Correction (cont…)

## Slide 17: The GpE/ GpM Puzzle – 2γ Exchange Effects
Inclusion of the real part of the
2γ exchange in the cross section
may account for the difference
between measurements of GE/GM
from unpolarized cross section and polarization transfer measurements
Understanding the transverse asymmetries tests the theoretical framework that calculates the contribution of γZ and W+W- box diagrams that are important corrections to precision electroweak measurements
Arrington, Melnitchouk, Tjon Phys. Rev. C 76, 035205 (2007)
without 2PE contributions
with 2PE contributions
Notes: Now I will switch gears to talk about the transverse asymmetry measurement. The ratio of the electric to magnetic form factor of the proton has been measured as a function of Q2 using two different methods – unpolarized cross section measurements, and polarization transfer measurements, which clearly don’t agree. It turns out that the explanation comes from two photon exchange corrections that need to be taken into account in the unpolarized cross section measurements.
The measurement of the transverse asymmetries measures the imaginary part of two photon exchange. Understanding the formalism that calculates this effect will also test the theoretical framework that calculates other two boson exchange diagrams.

## Slide 18: Transverse Analyzing Power
virtual photon polarization parameter
contain intermediate hadronic state information
Notes: As mentioned earlier the beam normal single spin asymmetries arise because of the interference of two photon exchange with that of single photon exchange. The asymmetry varies as a function of octant because it depends on the direction of the polarization relative to the normal to the scattering plane. For example if an electron is scattered into octant 1, the normal is toward octant 7. Since the asymmetry itself is negative and the dot product produces another negative, the measured asymmetry should be positive in octant 1. Likewise, for an electron scattered into octant 7, the normal is perpendicular to the polarization, so the asymmetry should be 0 in this octant. Indeed this is what we see in the data.
A_n <0
LHS -> octant 1 should be maximum and positive
RHS -> octant 1 (phi=90) should be maximum and positive

## Slide 19: Predictions
Threshold region: HBχPT
L. Diaconescu & M.J. Ramsey-Musolf, Phys. Rev. C70, 054003 (2004)
Resonance region: moderate energy
B. Pasquini & M. Vanderhaeghen, Phys. Rev. C70, 045206 (2004)
High energy forward scattering region: diffractive limit
Afanasev & Merenkov, Phys. Lett. B599, 48 (2004)
Gorchtein, Phys. Lett. B644, 322 (2007)
Hard scattering region: GPDs (Generalized Parton Distributions)
M. Gorchtein, P.A.M. Guichon, M. Vanderhaeghen, Nuc.Phys. A 741:234-248,2004
N
π N
Sum
“It will be interesting to check that for backward angles, the beam normal SSA indeed grows to the level of tens of ppm in the resonance region.”
The predictions of the asymmetry are sensitive to the physics of the
intermediate hadronic state in the 2γ exchange amplitude
Notes: There are predictions for these asymmetries in various kinematic regimes. The theory relevant to the backward angle G0 kinematics is the resonance region. The predictions are sensitive to the treatment of the intermediate hadronic state. In the plot the asymmetry is almost entirely due to the piN intermediate states, and seems to agree with previous measurements at backward angle. The authors note that it will be interesting to see if the asymemtries do get large.

## Slide 20: Analysis Overview
Transverse Asymmetries
Sinusoidal fit
Unblind
Corrections:
Scaler Counting Correction
Rate Corrections from Electronics
Helicity Correlated Corrections
Beam Polarization
Background Asymmetry
H, D Raw Asymmetries
Ameas
Blinding
Factors
(.75-1.25)
Notes: The analysis chain is similar to that of the main measurement. A sinusoidal fit is used to extract the amplitude which is the size of the asymmetry.

## Slide 21: Data Summary
PAVI 09 Bar Harbor, ME
Target | Energy (MeV) | Q2 (GeV2/c2) | Amount of Data C IN / C OUT
H | 358.8 ± 0.5 | 0.222 ± 0.001 | 1.77 / 1.88
D | 359.5 ± 0.7 | 0.219 ± 0.001 | 1.00 / 1.10
H | 681.7 ± 0.9 | 0.626 ± 0.003 | 1.42 / 1.20
D | 685.9 ± 0.9 | 0.630 ± 0.003 | 0.08 / 0.06
Free fits of the form
G0 Backward, Transverse:
<θlab> ~ 108° for all
a total of
~50 hours of beam
Notes: This is a summary of the data and the relative quality of the low energy data. We didn’t take enough data at the high energy.

## Slide 22: e- Transverse Asymmetries
A=108.6 ± 7.4 ppm
A=176.2 ± 8.3 ppm
A=55.2 ± 78 ppm
A=21.0 ± 23 ppm
Fits of the form
, where = 2.3°
Notes: The fully corrected asymmetries as a function of phi. The fits have a fixed phase of 2.3 degrees.

## Slide 23: Transverse Results for the Proton
Notes: Hydrogen results compared to the prediction.

## Slide 24: Transverse Results for the Deuteron
362 MeV:
= 23 µb/sr = 8 µb/sr
687 MeV: = 2.6 µb/sr = 1.1 µb/sr
p
n
Ebeam =570MeV
In the quasi-static approximation:
Energy | Asymmetry (ppm) | 
 | Neutron (estimated) | Proton
362 MeV | 86 ± 41 | -176.2 ± 9.4
687 MeV | -136 ± 267 | -21 ± 24
Notes: Estimates of the neutron asymmetry using the deuterium measurement.

## Slide 25
Notes: The backward angle G0 results have been published in PRL.

## Slide 26
AT can be a systematic
error for asymmetric
acceptances
Pe
n
ˆ
ke’
Transverse Asymmetry
Surprisingly small AT for 208Pb
AT for 12C qualitatively consistent
with 4He and available calculations
(1) Afanasev ; (2) Gorchtein & Horowitz
LHRS
RHRS
n
ˆ
ke’
Also an interesting independent physics result:
Notes: As mentioned earlier the beam normal single spin asymmetries arise because of the interference of two photon exchange with that of single photon exchange. The asymmetry varies as a function of octant because it depends on the direction of the polarization relative to the normal to the scattering plane. For example if an electron is scattered into octant 1, the normal is toward octant 7. Since the asymmetry itself is negative and the dot product produces another negative, the measured asymmetry should be positive in octant 1. Likewise, for an electron scattered into octant 7, the normal is perpendicular to the polarization, so the asymmetry should be 0 in this octant. Indeed this is what we see in the data.
A_n <0
LHS -> octant 1 should be maximum and positive
RHS -> octant 1 (phi=90) should be maximum and positive

## Slide 27: Transverse Asymmetries