| Jefferson Lab Alignment Group Data Transmittal |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| TO: | Mark Ito |  |  | DATE : | Sep 10, 2004 |  |
| FROM: |  | Richard Schwartz | Checked: |  | # | B945 |

DETAILS:

Below are the results of the TAC calibration survey performed on Sep 2, 2004.  The locations are labeled as noted in the field.  The X and Y values are relative to ideal beam centerline, (in millimeters).  The Z values are relative to CLAS center.  A +X is to the beam left and a +Y is above.

30A

LOC                Z                 X                 Y

1 TAC         -4915.27       -227.87        -633.39

1 30A          -4956.77       -222.43         184.48

1 30B          -4958.34       -222.88           30.11

1 31A          -4909.76       -365.99          -99.56

30B

1 31B          -4910.17       -536.47          -97.64

2 TAC         -4915.32       -227.80        -633.40

2 30A          -4956.87       -222.35         184.48

2 30B          -4958.43       -222.80           30.09

31A

2 31A          -4909.84       -365.94          -99.57

2 31B          -4910.26       -536.41          -97.67

3 TAC         -4915.34       -227.75        -633.42

3 30A          -4956.85       -222.26         184.49

3 30B          -4958.45       -222.70           30.09

3 31A          -4909.84       -365.89          -99.59

3 31B          -4910.25       -536.35          -97.67

4 TAC         -4915.31       -227.72        -633.45

4 30A          -4956.85       -222.36         184.39

4 30B          -4958.44       -222.77           30.02

4 31A          -4909.82       -365.91          -99.62

31B

4 31B          -4910.23       -536.39          -97.71

5 TAC         -4915.31       -227.72        -633.44

5 30A          -4956.87       -222.31         184.45

TAC

5 30B          -4958.41       -222.76           30.06

5 31A          -4909.81       -365.92          -99.60

5 31B          -4910.23       -536.39          -97.71

6 TAC         -4915.20        145.60        -634.02

6 30A          -4956.73        151.30         183.84

6 30B          -4958.26        150.76           29.44

6 31A          -4909.73            7.59        -100.18

6 31B          -4910.21       -162.84          -98.24

| Jefferson Lab Alignment Group Data Transmittal Continued |  | Page | 2 | of |  | 2 |
| --- | --- | --- | --- | --- | --- | --- |
| Date : | Sep 10, 2004 | Transmittal # : |  |  | B945 |  |

LOC               Z                X                    Y

6A TAC     -4953.57      -263.33          -627.76

6A 30A	   -4956.88      -222.45           184.46

6A 30B      -4958.44      -222.90             30.06

6A 31A      -4911.81      -366.03            -99.64

6A 31B      -4910.23      -536.50            -97.70

6B TAC     -4915.15       145.57           -634.03

6B 30A      -4956.69       151.16            183.84

6B 30B      -4958.26       150.69              29.46

6B 31A       4911.45           7.46            100.18

6B 31B      -4910.11      -162.94              98.23

7 TAC        -4915.18       145.61           -633.99

7 30A         -4956.72       151.20            183.88

7 30B         -4958.27       150.74              29.50

7 31A         -4911.46           7.51            100.14

7 31B         -4910.09      -162.89            -98.18

7A TAC      -4915.16       145.56          -633.96

7A 30A       -4956.70       151.17           183.90

7A 30B       -4958.25       150.70             29.53

7A 31A       -4909.67           7.52          -100.05

7A 31B      -4910.08      -162.92             -98.15

8 TAC        -4915.67       147.40              20.84

8 30A     	   -4957.27       152.81            838.64

8 30B     	   -4958.70       152.31            684.26

8 31A         -4909.64          9.25             554.71

8 31B         -4909.63      -161.21            556.62

10 TAC       -4914.77      -226.13              21.44

10 30A        -4956.50      -220.88            839.27

10 30B        -4958.01      -221.34            684.86

10 31A        -4908.90      -364.34            555.28

10 31B        -4908.87      -534.83            557.13

12 TAC       -4915.34        -38.95           -478.43

13 TAC       -4915.29        -38.96           -478.45

14 TAC       -4915.33        -38.98           -478.44

15 TAC       -4915.28        -39.03           -479.47

16 TAC       -4915.30        -39.01           -480.28