## Slide 1: Ecal prototype test
M. Jones
B. Wojtsekhowski

## Slide 2: Construction of C16
4x4 array of 4.2x4.2x30cm3 lead glass
15cm light guide, then PMT
Light tight enclosure
Check signals and light tightness
Wrap heating coil and glass tile between coil and glass.
Glass foam insulation

## Slide 3: Construction of C16 ( part 2)
Enclose in thin aluminum
Cool air blow in back to cool PMT
Temperature monitored at multiple places 225o, 185o and 38o C at PMT

## Slide 4: Test of C16 in Hall A
Test done between April 30th at 17:00 to May 2nd at 10:00 am.
Beam energy = 2.056 GeV, 15 cm LH2 target.
RHRS set for elastic protons at 48.74o and 1.07 GeV/c
C16
  placed at 31o and elastic electrons with 1.574 GeV/c .
  at 6.9m from target so covers about 25x25msr.
  Expect about 1.5% change in elastic electron momentum across the face of C16.
DAQ system used RHRS scintillators as trigger and readout the C16 in FADC250. Readout in sampling mode with time window of 60 samples x 4ns = 240 ns.

## Slide 5: Timeline
C16 positioned
Oven off
LH2 data
Determine
latency
Access to slightly move C16
743
Oven on
Place blocks to monitor radiation
755
772
Move C16 to 10o and 6.1m
Dose rate 100x higher
Move C16 back to 31o and 6.9m
Oven at 250, 190 and 38

## Slide 6: FADC250 Sampling histogram

## Slide 7: Pedestals

## Slide 8: ADC spectra

## Slide 9: ADC spectra of block with highest energy

## Slide 10: Energy in Seed block 7 versus other blocks

## Slide 11: Energy resolution for run 743 at 6 uA
Sum energy in four neighbor blocks which each 1/6 of the energy seed block

## Slide 12: Energy resolution for run 743 at 6 uA
s = 8.9 +/- 0.3 %

## Slide 13: Energy resolution for run 755 at 6 uA
s = 9.4+/- 0.3 %

## Slide 14: Radiation damage monitor
Parallel to C16 side
Perpendicular to C16 face
On spectrometer frame, only slightly damaged
Lead glass bars placed at different locations to monitor radiation damage

## Slide 15: Energy resolution for run 772 at 6 uA
s = 9.9+/- 0.3 %