## Slide 1
SPIN
ASYMMETRIES ON THE
NUCLEON
EXPERIMENT
( E07-003)
Anusha Liyanage
Experiment Nuclear Physics Group Meeting
Hampton University
May 11, 2009
Spin
Spin
Spin
Spin
Spin

## Slide 2: CONTENTS
Introduction
Apparatus setup
  BETA Detector
  HMS Detector
  Target
  Subsystems
Kinematic
Analysis
  Detector Calibration
  Detector Efficiencies
MC Simulation
Work Status

## Slide 3
SANE Physics
SANE is a single arm inclusive scattering experiment.
Used
  Big Electron Telescope Array –BETA In single arm mode
  High Momentum Spectrometer – HMS in both single arm and coincidence mode
● Measure proton spin structure function g2(x, Q²) and
spin asymmetry A1 (x, Q²)
at four-momentum transfer 2.5 ≤ Q² ≤ 6.5 GeV² and
Bjorken x ,0.3 ≤ x ≤0.8
by measuring anti-parallel and near-perpendicular spin asymmetries
● we can learn about proton SSF's from inclusive polarized measurement:
  - twist-3 effects from moments of g2 and g1
  - comparisons with Lattice QCD, QCD sum rules, bag models, chiral quarks
  - Study x dependence (test nucleon models) and Q² dependence (evolution)
  - Exploration of "high" x region: A1's approach to x = 1

## Slide 4
● Two beam energies: 5.9 GeV, 4.7 GeV
● Very good high x coverage with detector at 40°
World data on All, A and SANE kinematics
All
A
CLAS
RSS
SANE

## Slide 5
SANE Layout
BETA (40°)
HMS (14°- 48°)
BigCal
Lucite Hodoscope
Gas Cherenkov
Forward Hodoscope
B at 80° OR 180°
Polarized Target
Polarized Compton
radiator (~20 cm)
Target Beam
position monitor
Beam Line

## Slide 6
● BigCal lead glass calorimeter:
main detector used in GEp-III.
● Tracking Lucite hodoscope
● Gas Cherenkov: pion rejection
● Tracking fiber-on-scintillator
forward hodoscope
● BETA's characteristics
– Effective solid angle = 0.194 sr
– Energy resolution 8%/√E(GeV)
– 1000:1 pion rejection
– vertex resolution ~ 5 mm
– angular resolution ~ 1 mr
● Target field sweeps low E background
– 180 MeV/c cutoff
Big Electron Telescope Array – BETA
BigCal
Tracker
Cherenkov
Lucite Hodoscope
Used for electrons detection.

## Slide 7: What do we expect from HMS ?
Protons in the HMS in coincidence with BETA will define electrons of known energy in the calorimeter from e+p elastic scattering.
The HMS will detect protons of 1 to 2.2 GeV/c.
The HMS will be used to measure the rate of positron events
as a function of scattered energy
The HMS also will be used to check effects of magnetic field on
tracks to BETA.
In single arm mode HMS can be used to measure accurate pair
symmetric backgrounds from γ → e+e- pair production.
HMS will detect positrons up to 2.2 GeV/c.
For the packing fraction it will detect electrons, with momenta from 1 to around 5 GeV/c.

## Slide 8: High Momentum Spectrometer-HMS
DC1
DC2
Cerenkov
S1X
S1Y
S2Y
S2X
Calorimeter
HMS Vacuum pipe exit

## Slide 9: Target
C ,CH2 and NH3
Dynamic Nuclear Polarization (DNP) polarized the protons in the NH3 target upto 90%.
  Used microwaves to excite spin flip transitions.
  Polarization measured using NMR coils

## Slide 10: Closer look at the target setup ….
• Refrigerator - 1 K
• Magnetic Field - 5 T
• Microwaves - 55 GHz - 165 GHz
• NMR system

## Slide 11
● Upstream beam line:
– Girder with chicane
– Rasters: fast and slow
– BPM's and BCM's
– Target Beam Position Monitor (Secondary Emission Monitor):
● needed to determine beam raster position (1 cm radius spiral)
Downstream beam line:
– He gas bag plus short beam pipe section
– In-hall beam dump
SANE – Subsystems

## Slide 12: Beam Time
Energy ΘN Time (Proposal FOM h)
GeV Proposal Actual Fraction
Calibration 2.4 off, 0 ,180 47 25 53%
Production 4.7 180 70 20 29%
4.7 80 130 98 75% 5.9 80 200 143 72%
5.9 180 100 ≥35 ≥35%
Commissioning [calendar days] 14.0 99
Total [calendar days] 70.0 141

## Slide 13: Table of HMS Kinematic For Electron

## Slide 14: Table of HMS Kinematic For Proton
Setting HMS_P HMS_theta Q2
2.399 1.360 41.00 1.340
2.399 1.443 38.25 1.469
2.399 1.555 35.51 1.647
2.399 1.670 32.75 1.834
2.399 1.789 43.10 2.030
2.399 1.907 30.00 2.228
4.725 3.585 22.30 5.193
5.891 4.170 22.00 6.260
5.891 4.400 15.40 6.682
Elastic Calibration
Runs
Production Runs

## Slide 15: Kinematics plot of HMS electron inclusive data

## Slide 16: Analysis
Cerenkov Calibration
ADC plot
NPE plot
Calibration

## Slide 17
Calorimeter Calibration
Before Calibration
After Calibration

## Slide 18: TOF Calibration
  For Electrons
For Protons

## Slide 19: DC Calibrations
Before
After

## Slide 20: Select the more efficient tracks ……
If we have more than one track, use ‘prunning’ with defined parameters including chi2, xptarget,…..etc to select more efficient tracks.

## Slide 21: Detector Efficiency
Cerenkov Efficiency
We have very low tracking Efficiency

## Slide 22: Modification Of the Tracking Efficiency ……

## Slide 24: MC Simulation
Including the
Radiation Correction
Cerenkov Efficiency correction
Target-Field correction

## Slide 25: Work Status
Calibration – completed
Modifying the tracking algorithm
          In progress
          To Do …..
Improve MC simulation
Will concentrate on
Elastic Form Factors ……