## Slide 1: Measurements of F2 and R=σL/σT on Deuterium and Nuclei in the Nucleon Resonance Region
Ya Li
November 3, 2009
Jlab E02-109/E04-001 (Jan05)
Notes: F2 structure function,

## Slide 2: Experiment Description
JLab, HallC, ~2 weeks in January 2005
E02-109: Meas. of F2 and R on Deuterium.
E04-001: Meas. of F2 and R on Carbon, Iron, and Aluminum.
Beam Energies used were: 4.6, 3.5, 2.3, and 1.2 GeV.
Cover 0.05 < Q2 < 2 (GeV)2 and 0.5 <W2 < 4.25 (GeV)2.

## Slide 3: Kinematics' Coverage
Rosenbluth Separation Data
Targets: D, C, Al, Fe , and some H
Final Uncertainties estimated at ~1.6 % pt-pt in e (2% normalization).
Low Q2 data for n modeling
Targets: H,D, C, Al
Final Uncertainties estimated at ~3 - 8% (Much larger RCs and rates)
Rosenbluth separations at multi. energies

## Slide 4: Physics Motivation
FL, F1, F2 Fundamental Structure Function Measurements on Deuterium and Nuclei
• Structure Function Moments
  – Lattice QCD comparisons
  – Singlet and non-singlet distribution functions from deuteron and proton
• Support Broad Range of Deuteron Physics
  – Elastic form factors
  – BONUS neutron structure functions
  – Input to extract spin structure functions from asymmetry measurements.
Quark-hadron duality studies
In QE region (W2~mp2), obtain information on Coulomb Sum Rule
Search for Nuclear Pions on heavy nuclei
Important input for neutrino physics
Notes: Make simple while emphasize on things related to neutrino, add a plot from Gerry’s paper.

## Slide 5: Analysis Status
Detector Calibration completed
Calorimeter Eff. completed
Cerenkov Eff. completed
Tracking Eff. Problem?
Trigger Eff. Problem?
Computer Dead Time completed
Acceptance Corrections completed
Beam Position Stability Study completed
Beam Position Offsets completed
Target Position Offsets completed
Optics Checks Preliminary Sieve Slit
Charge Symmetric Background completed
Radiative Corrections iterating
Cross Sections iterating

## Slide 6: Faulty Discriminator
Sx1 hodoscopes faulty discriminator caused low efficiency in some channels
Solution: Implementing Position dependent trigger efficiency (∆p/p)

## Slide 7
Reconstruction Problem at Low E/
Large additional multiple scattering at low E/ (E/<1GeV) caused by the new HMS exit window ( 20mil Titanium!)
The fitted reconstruction MEs are not well behaved at the edge of the FP distribution. While COSY MEs in MC are
Solution: Apply different MEs for the data depending on the region of the FP which the event occupies.
7

## Slide 8: Analysis Updates
Cross sections vs. W2 binning (Elog266)
Delta correction