## Slide 1
Nov.29,2011/HU group meeting
Spectroscopic Investigation
of P-shell Λ
hypernuclei by (e,e'K+)
-Analysis Updated Status-
Chunhua Chen
Hampton Universithy

## Slide 2
Outline
Experimental Goal of E05115
Kinematics of the E05115
Experimental Setup of E05115
Analysis process and status
Preliminary results

## Slide 3
Experimental Goal
The 3rd Generation (e,e’K+) Hypernuclear Spectroscopy in JLab-HallC
Medium - heavy hypernuclear spectroscopy
  52Cr(e,e’K+) 52LV
  L hyperon bound in the mean field
  quark picture vs. conventional picture
Light L hypernuclear spectroscopy
  LN interaction, ls coupling, Charge Symmetry Breaking
  p shell hypernuclei : 12C(e,e'K+)12ΛB , 7Li(e,e'K+)7ΛHe, 10B(e,e'K+)10ΛBe , and 9Be(e'K+)9ΛLi
Calibration by the elementary process p(e,e’K+)Λ or Σ: H2O and CH2
Notes: We plan to determine high-precision binding energies of lambda single particle states with various l from the excitation spectra of lambda hpernuclei up to A=52
3

## Slide 4
Kinematics of the
E05-115 Experiment
Momentum: 2.344GeV/c
Momentum: 0.844GeV/c ±17%
Angular acceptance: 3°〜9°
Momentum: 1.2GeV/c ±12.5%
Angular acceptance : 1°〜13°
1.5GeV γ*
Scattered electron
K+
Electron beam
M.Q.Tran et al.
PLB445 (1998) 20

+p →+K+
Target
nucleus
p
Coincidence measurement
Notes: 4

## Slide 5
Kinematics of the
E05-115 Experiment
Momentum: 2.344GeV/c
Momentum: 0.844GeV/c ±17%
Angular acceptance: 3°〜9°
Momentum: 1.2GeV/c ±12.5%
Angular acceptance : 1°〜13°
1.5GeV γ*
Scattered electron
K+
Electron beam
M.Q.Tran et al.
PLB445 (1998) 20

+p →+K+
Target
nucleus
p
Coincidence measurement
Notes: 5

## Slide 6
Experimental Setup

## Slide 7
Experimental Setup
Notes: In order to avoid the high rate of Blau and moller, we used title hes by 6.5 degree similar as the experiment in 2005.Here, our new spectrometer HES and the new Splitter enlarge the acceptance of angle and momentum, which allow us to get higher beam energy, at the same time improve the signal to noise ratio. At this case, we are able to run the heavy target.
7

## Slide 8
Experimental Setup
-Tilt Method-
Electroproduction differential cross section(Miloslav Sontana)
Г : virtual photon flux
Photoproduction cross section by virtual photon

## Slide 9
Experimental Setup
-Detector Package-
HES-D
e’
EHOD2
EHOD1
EDC2
EDC1
HES Detectors

## Slide 10: Flow Chart
Tracking
(KDC)
TOF
(Hodoscopes)
KID
(AC,WC,LC)
HKS Focal Plane
(X,X’,Y,Y’,Tfp)
HKS
Optics
(HKS+Splitter)
HKS Target Plane
(X’, Y’, P, Ttar)
Tracking
(EDC)
TOF
(Hodoscopes)
HES Focal Plane
(X,X’,Y,Y’, Tfp)
HES
Optics
(HES+Splitter)
HES Target Plane
(X’, Y’, P, Ttar)
Coincident
(RF )
Kinematics Correction
(Beam, Target effects, Momentum, Angular)
Missing Mass
Raw Data
Need to do
Data & Info
Lambda&Sigma
Spectra
Geant4 Simulation
HKS Sieve Slit
HES Sieve Slit

## Slide 11
Online Trigger: (2/3 ()) (WC1WC2)
AC (rejecte +> 99%), WC (rejecte p+>99%),
Offline KID: Cuts on number of photon electrons (NPE)
Optimize Cutting values – More Kaon(95%), less Pion &Proton
Particle ID

## Slide 12
Online Trigger: (2/3 ()) (WC1WC2)
AC (rejecte +> 99%), WC (rejecte p+>99%),
Offline KID: Cuts on number of photon electrons (NPE)
Optimize Cutting values – More Kaon(95%), less Pion &Proton
Particle ID

## Slide 13
Tracking Status
HKS tracking residual~200µm
EDC1-1 single residual
@ CH2 Run(76312)

## Slide 14
Coincident Events Selection
abs( coincident time)<=1
Path-length correction has done
Coincident Time:
The correlation of HKS target time and HES target time, give us the coincident spectrum:
Real events
Accidental

## Slide 15: Forward Optics Tuning
Purple: Real HKS SS data Blue: Geant4 Simulation
Target
Beam
Kaon
Q1
Q2
Splitter field contour on xoz plane
The leakage of splitter fringe field causes the cross talk between the splitter and quadrupole

## Slide 16
Forward Optics Tuning
The asymmetry functions are introduced and tuned for HKS&HES quadrupole field Bx and By, independently.

## Slide 17
Spectrometer System Calibration
=M
Kinematics calibration
(ΔEbeam0 , Δ PK,ΔPe’)
Optical calibration
M

## Slide 18: Spectrometer System Calibration -Minimize -
Kinematics calibration: utilizing well known masses of ,  produced from CH2 , 12ΛBgs from 12C to determine binding energy to a level of precision ~100keV
Optical calibration: Minimize Chisquare w.r.t reconstruction matrix M by an Nonlinear Least Square method.
Mgs: fitted mean
MΛ &MΣ : theoretical data
ωi : statistic weigth

## Slide 19: Preliminary Results
Start Point
Current Status

## Slide 20: Preliminary Results
Preliminary
Resolution : ~1.7MeV (FWHM) for .
Preliminary

## Slide 21: Preliminary Results
Preliminary
Resolution : ~850 keV (FWHM) for g.s.
7Li(e,e'K+)7ΛHe
Resolution : ~700 keV (FWHM) for g.s
Preliminary
12C(e,e'K+)12ΛB

## Slide 22
Thank you for your attention!

## Slide 23: BACK UP

## Slide 24
Coincident
t
2 ns
Electron pulse
RF Structure:
Jlab electron beam has a 2ns pulse pattern.
After path length correction, we have the structure of HKS target time:
Real Events
Accidental
RF vs HES X
RF vs HKS X
Coincident Time:
The correlation of HKS target time and HES target time, give us the coincident spectrum:
2ns
After Path length correction