# MEMORANDUM

To:		Distribution

From:		F. Dylla/grn

Subject:	FEL Upgrade Project Weekly Brief  -  September 25-29, 2006

Date:		September 29, 2006

Highlights:

We have an exciting milestone to report in this week’s edition: the first lasing on the cryomirror assembly that we installed into the FEL outcoupler assembly two weeks ago. We have lased at 1.6 microns at cw powers at the kilowatt level using this new mirror, and significantly we observe no absorbed power, change in optical figure, nor vacuum activity with this laser power loading. The accelerator match into the wiggler region is far from optimized nor have other parameters been optimized with this new configuration, however we are very pleased with the initial performance. To remind our readers, we have proposed and bench-tested cryo-cooled (to approx. 50k) sapphire mirrors for high power FELs for several years. By cooling sapphire to this temperature the power handling capability is theoretically improved by over two orders of magnitude due to significant (>10x) enhancements in thermal conductivity and significant decrements (>10x) in thermal expansion. However, the real test of this concept is the actual performance of an optical cavity mirror in an FEL. A number of real world environmental factors (coolant induced vibration, laser desorption of cryosorbed gases, color center formation in cooled substrates) could have foiled the test. So far so good.  As noted in the detailed operations report below, we have optimization work to be completed before we incrementally push up the current and test the mirror performance at higher powers.

Other accomplishments this week include:

-	the first direct measurements of the injector emittance with our improved injector diagnostics-which show that we do not have transverse emittance growth from the injector to the wiggler.

-	the completion of construction of our second photogun assembly. This assembly will be moved over to the new FEL Injector Test Stand area next week for vacuum tests. This gun assembly will be used to test photogun and injector hardware and will serve as a needed back-up to the primary photogun in the FEL.

Note:  please hold these dates as the tentative dates for the annual review of the Jefferson Lab FEL program; Jan. 17-19, 2007

Special Note:   We reprint this note from the ONR Website:

On August 24, at its 28th Annual National Training Conference in New York City, Blacks in Government awarded its 2006 Meritorious Service Awards. Among the recipients was ONR’s Quentin Saulter, program manager for directed energy technology (Code 351), for his work with the Navy’s free-electron laser program and other directed energy projects from 2004 to 2006 as well as for his leadership of ONR’s Future Engineering Faculty Fellowship Program and his work with historically black colleges and universities

On behalf of all of Quentin’s friends and colleagues at Jefferson Lab, we congratulate him on this important award and recognition of his accomplishments for ONR.  We also wish Quentin well on his next venture which we all hope involves continued interaction. Quentin left ONR last week to join the Directed Energy program at the Air Force Research Laboratory at Kirtland AFB in Albuquerque.

Management:

We are pleased to announce that the FEL program at Jefferson Lab moves from Department to Division status within Jefferson Lab as we start the new fiscal year on Monday. The FEL program will continue to maintain strong ties to the Accelerator Division as we proceed with the new visibility that this elevated status presents to our stakeholders.

We worked with ONR to schedule a monthly status meeting at ONR (tentatively during the week of Oct. 16th ) and our annual review dates (Jan. 17-19,2007).

We held our monthly coordinating meeting today with our collaborators in the Biomedical Photonics Consortium.  Earlier in the week we received reviews on our

pre-application to the NIH Interdisciplinary Research Center proposal program.  The pre-application garnered excellent reviews on the proposed science but needed examples of consortium results before meeting the threshold for a full application.  The coordinating team has proposed a path forward which will generate near term results prior to the next application deadline in 2007.

Michael Kelley has received a grant from DoE to support a doctoral student at William & Mary and one at Virginia Tech, working on improvements to niobium processing for SRF accelerator technology, the heart of the FEL.

Operations:

By Friday of last week we were finally far enough along in hot checkout to turn on the beam.  All the cables in the injector had been modified so we had to start from scratch to find phases close enough to get beam out of the injector.  This went fairly smoothly and we were able to get beam out of the injector, through the linac, and around the machine to the energy recovery dump.  The energy from the linac was low and the match was not very good but we had something to start with for injector setup. 
   On Monday we started with a careful full injector setup.  This was slowed significantly with a vacuum problem.  We kept getting vacuum trips in the injector.  Checks of the vacuum pumps indicated that the trips were spurious, i.e. there was no real vacuum rise that initiated the trips.  In parallel with the injector setup we tried to debug this problem.

By the end of the day we had run our injector setup script but we were not sure of the results due to spurious trips during the script.  We continued with this on Tuesday and completed the injector setup.  Once it was properly set up we tried out the injector multi-slit with the triggered camera.  We were finally able to measure the vertical emittance and Twiss parameters in the injector.  Interlacing in the camera prevented this in previous attempts.  The emittance measured in both axes was approximately 8 mm-mrad.  This is essentially the same as what we measure in the wiggler region, indicating that the transverse emittance does not grow from the injector to the wiggler.  We then roughly phased the linac and found that we had to find the gradient limits in zone 3 again since we had re-calibrated this zone and the gradients had changed.  While we were doing this we finally found the problem with the vacuum crate and put in a temporary fix.  Once we had recovered the linac gradient we measured the longitudinal properties and found that the bunch length was the same as it has been recently and that the M55 traces looked good.  The match and steering was still pretty bad.  To cap off the day we took data on the 3F and 4F viewer sensitivity and re-tuned the zones to reduce window heating. 
   On Wednesday we explored the steering and dispersion in the system.  We found a large vertical dispersion in the wiggler that was not present in the 3F region.  This implied that the dispersion was coming from the optical chicane magnets.  These magnets should have no vertical dispersion unless the orbit is very bad.  We did find that a large vertical kick at the entrance of the chicane could eliminate the vertical dispersion in the wiggler.  This all implies a bad magnet in the optical chicane.  We decided to try lasing anyway so that we could start on the setup of the beamline after the wiggler.  We obtained lasing at 1.6 microns and tuned the wavelength from 1.56 to 1.64 microns.  The maximum power was at 1.6 microns as expected.  While operating with 6% duty cycle and low power we found no vacuum activity or temperature rise in the cryomirror.  When we changed the wavelength there was a brief rise in temperature that eventually went away.  We do not know what causes this.  The laser efficiency seemed low, though it was hard to tell since the power was so low. 
 On Thursday we worked on improving the match around the machine.  We found a match that increased the Happek signal, despite only shortening the pulse length a little bit.  The energy spread induced by CSR was also less.  We did a BLM walk and found losses low everywhere except for 5F10.  Using the new halo monitor we were able to prove that the loss evident on this viewer came from some other point in the accelerator. Finally we started ramping up the duty cycle while lasing and studied the performance of the cryomirror at moderate power.  We found that the efficiency was indeed low.  It could be improved a bit by reducing the Rayleigh range but was still lower then typical.  We ran the power up to 900 W.  We found that the mode, as indicated by the coherent harmonic light pattern, was not changed when the laser was changed from pulsed lasing to lasing at over 500W.  We did find that the output coupler did steer more than we would like. We are attempting to find the cause of this.  We found that the new match did lase better than the previous one but still seemed lower that we have seen in the past.  We are trying today to improve the match to get the gain and efficiency up.

User News:

Many of us heard user Rox Anderson from Harvards’s Wellman Laboratory of Photomedicine on NPR this week talking about laser removal of tattoos and specifically a new laser degradable ink.  http://www.npr.org/templates/story/story.php?storyId=6126963&sc=emaf 

We also heard from user Mike Smith from NASA-Langley that carbon nanotubes synthesized at the JLab FEL have been selected as one of the materials to be tested on the International Space Station on MISSE-6(Materials on the International Space Station Experiment-Mission 6).  MISSE missions test new materials for space exploration, allowing long duration exposure in earth orbit.   Polymer panels reinforced with CNT's synthesized at JLab are slated to launch to the ISS aboard the space shuttle in December of '07. 

Gwyn Williams visited the THz group of Jim Kolodzey at the University of Delaware this week to give a seminar and to discuss user experiments.

This week Mike Klopf and Gwyn Williams had a meeting with Gunter Luepke's group at William and Mary, see the THz news for more details.

WBS 4 (Injector):

The photocathode gun is operational, it delivered 6 Coulombs during the week for FEL ops. High voltage testing of the field emission suppression coating continued this week. The tests show current below 6 pA at 32 MV/m and 125 kV, much better that any previous tested coatings. Drawings for a new corona shield that will incorporate a series of rods for doing cathode re-cesiations without opening the SF6 gun tank were signed off. 

We achieved an important milestone by completing the gun assembly for the Gun Test Stand this week. As can be seen in the picture below, the gun electrodes are coated with the field emission suppression film.

WBS 8 (Instrumentation):

A full injector setup was done this week.  With the help of S. Benson and C. Hernandez the injector phasing procedure was refined.  The corrections and clarifications are currently being made.  The Injector Phasing Script manual was updated with minor changes and will be posted in the FEL procedures book along with the updated injector setup procedure. 
    Work was done with K. Beard for setting up some data acquisition for the LIPSS experiment.  Testing was done to define the hardware needed to properly run the camera without drop outs as well as the memory storage needed for recorded video.
    Operational software improvements are being worked-out regarding the drive laser pulse controller (DLPC) to accommodate the new use of the DLPC "Pre-Trigger Delay" in the viewer camera timing system. In order to achieve "transparent" performance (i.e. changing appropriately and automatically without the FEL operator's attention) we will be using the video switcher system to provide the system with proper context information to know how it should be configured. This is due to the fact that the sole-motivation for the camera pre-trigger is for the emittance measurement frame-grabber system using monitor #17 from the video system. The operational need for the camera pre-trigger is linked to using the video system with the frame-grabber.
    Having previously improved the epics2devlore data exchange software, we were able to easily begin archiving the FEL User Lab usage and status of many of the key EPICS variables associated with the LPSS. This will allow us to automate the tracking of how the FEL light is delivered to users. 
    We worked on the embedded IOC design for the FPGA memory block. This allows use of the ColdFire bus bridge to access the memory with reading and writing. Integration of the ADC board general purpose board and ColdFire boards continues. The design process of the 3U General Purpose I/O Card has been completed.  The layout of the prototype board has been finished and several prototypes have been ordered for testing and verification.  The parts list for this project has been generated and the parts needed to assemble the prototypes have been ordered.  The front panel design for this card has been completed. This panel along with the front panel for the Beam Viewer Control Cards and rear panel for the crate were all ordered.  The first revision of the Beam Viewer Control Card has arrived and is currently being assembled.  The remaining parts that were ordered for that project have all arrived and placed with the parts kit.  
    Install and wiring of Lab 5 LPSS continued. Support was also given to the Optics group for various efforts. We also assisted with getting the advanced drive laser in User Lab 6 operational and ready for a LPSS certification.  Power was connected and checked out along with installing the LPSS interlocks.

WBS 9 (Beam Transport):

#### IR Machine Operations

•	In work for the New Gun and Injector Test Stand, McAllister Technical Services continues design of our stalk retraction system.  They plan to start asking about clarifications to our specification in about 1 week.  Procurement issued a contract to Riggins Co. to bring the tank for the high Voltage Power Supply back to operable condition culminating in a “hydro” test.  They will call for delivery of the tank to their facility when they are ready.  Cleaning the gun chamber is planned for next week to ready the chamber for the vacuum bake-out. Howmet Company, a local manufacturer is still working on a ball park price for heat treatment in their vacuum furnace.

•	Concerning work on the second wiggler chamber, the shop removed the last two kinks near the ends and completed the welding of the strong-back at the BPM flanges.  We now plan to solder cooling tube to the chamber and finally add the copper flash to the inner bore.

•	With regard to the short-term plan to keep the downstream OCMM from moving due to the heating and expansion of the Wiggler Chamber, we are making a new anchor piece for the downstream chamber.

•	With regard to SF sextupole, the shop is making longer, more easily removed pins to substitute for the pins at the two yoke separation surfaces.  One made, Neil Wilson’s installation crew can perform a disassembly and reassembly in Magnet Test to mimic the vault’s cramped conditions.  Then Magnet Test will be able to do their repeatability test.

•	Facilities Management continues working on raising the capacity of that Drive Laser Room’s cooling unit.

Experimental program

Experiment to see a pseudoscalar particle that couples to photons

•	I am designing the parts to hold the new pole tips in the proper location and restrain the Purcell gap pole sheet in the GW dipoles.

WBS 11 (Optics):

#### FEL mirrors

I attended a kickoff meeting of the ONR-funded Optics Improvement Collaboration in

Ft. Collins, CO.  Also in attendance were Henry Freund (SAIC) and Albert Ogloza (NAWC, China Lake).  I also attended the 38th Annual Symposium on Laser Damage in Boulder, CO.  While there I learned about some exciting developments in high damage threshold coatings and absorption levels at various wavelengths.  Our talk on our cavity optics was very well-received, based on the many favorable comments.  Several manufacturers of commercial optics approached me about using the FEL as a source to evaluate their products.  I also met with current and prospective vendors of our cavity and transport optics and windows.

Other Activities:

This week, I am happy to announce, we have lased on the 1.6um Cryo-cooled mirror. To my knowledge this is the first time a cryo-cold mirror has been used as a cavity mirror. We started the process slowly to condition the optic. We allowed THz radiation from the dipole magnet to fall on the optic. We saw neither a change in the diode temperature nor a change in the vacuum. We started lasing at low duty cycle and ramped up to CW at 1mA getting 1kW of power on the power meter. We saw a slight rise in the mirror temperature of a few degrees when running at higher power. Because the rise can be seen on both the inlet and outlet, we suspect that the rise is due to scattered light. It also appears the OC mirror steers in pitch when ramping up the power but does stabilize after a short period.

We are preparing four OC cavity mirrors for brazing. One is a 1.6um R90% in a cryo-cooled frame. This mirror will be a backup to installed R80% mirror if we need a little more efficiency. The others will be brazed in room temperature mounts for wavelengths of: 1.2um, 1.6um R90% and 1.6um R80%. We are also in the process of designing the much needed cases to store both un-mounted and mounted OC mirrors.

We have moved and certified the Advanced Drive Laser for use in Lab 6. This was done to allow us to turn the laser on regardless of the machine state of the FEL. Characterization of this laser should progress quickly now. The Drive Laser EO cell #2 was replaced this week. This replacement increases the cell throughput by a factor of four. The electronics for a resonator circuit at 37.425MHz is in progress. The circuit will be used on the Drive Laser EO cells to improve its performance. Work also continued on building a photodiode to measure the relative phase shift of the Drive Laser.

Drawings for four additional mirror cassettes and their related equipment were submitted to the machine shop for fabrication. We will add low power lab transport hardware in Labs 3 and 6. Labs 3a and 5 will receive high power equipment. This, when complete, will populate all of the user labs with optical transport hardware.

Terahertz:

On Monday, I presented a seminar for Gunter Luepke’s research group at William & Mary to describe the JLab-FEL THz research program as well as the details of some of my previous research on nonequilibrium phenomena using the pump-probe technique.  Gunter directs a very active and motivated research group that has recently expanded their lab spaces as well as the number of graduate students in the group.  Following my seminar, Gwyn and I were able to discuss our THz research program in more detail with them.  One of our planned experimental setups is to build a THz pump-probe system which is of particular interest to Gunter’s research group.  There are numerous research possibilities for THz probing of nonequilibrium dynamics and we are working to build collaborations with other scientists in this field.

As we returned to beam operations this week, we have recertified the THz lab and are looking to perform some THz transmission measurements if possible by the close of business today.  Also, we received our repaired Pyrocam this week and hope to perform tests with beam today to verify proper operation.