## Slide 1: Moller Event Selection
Bradley Yale
UNH
HPS Collaboration Meeting
10/27/2015

## Slide 2: Why Mollers?
Elastic e- e- scattering has very well-known kinematics with a highly correlated energy and angle between the electrons
MC follows these models extremely well; interdependent kinematics can be exploited for calibrations across fiducial and edge regions if these electron pairs can be identified
Moller energy peaks at half the beam energy, also bridging high-energy FEE and low-energy cosmic calibration regions

## Slide 3: Elastic Scattering Model
Moller electrons should obey this

## Slide 4: Pre-Slic PureMollers MC
…after the 30.5 mrad offset
(what SLIC actually sees):
Idea: ‘Un-rotate’ track momentum and re-calculate theta
=>

## Slide 5: Pre-Slic PureMollers MC
Un-doing the beam offset:
Some MS and other secondary
processes in the target are included,
but 86% of generated e- fall within 5% of elastic model after target

## Slide 6: Moller Kinematics
Energy-Theta:
Energy1-Energy2:
Theta1-Theta2:
Idea:
Select vertexed electrons using inter-electron kinematics

## Slide 7: Pre-SLIC MC Agreement

## Slide 8: Moller Selection Procedure
First, look at PureMoller MC recon to see what resolutions to expect in Moller kinematics
Select primary cuts using both electrons and the elastic model, such that minimal PureMoller MC events are lost
Refine cuts based on individual energy distributions, coincidence, etc.

## Slide 9: Common to Everything:
Pass3 unconstrained MollerCandidates
Each particle has 1 cluster & 1 track
  GBL Tracks (type>32),
HPS-EngRun2015-Nominal-v3-fieldmap detector
Singles1 trigger
Run 5772

## Slide 10: MollerCandidates
MollerCandidates are vertexed particles
  ‘uc_moller_candidates’, ‘bsc_’, ‘tc_’
  tan(lambda1)*tan(lambda2)< 0
  1.6 ns coincidence
  Both tracks found using the same strategy
Work just like other vertexed particles
  Mollers act as ‘daughters’
Easy to identify individual Mollers in pairs
Current Moller filter has plenty of room for refinement…

## Slide 11: PureMoller MC (singles1) GBL Track Energy
This is the
‘best’ agreement
with the model to
expect after recon->

## Slide 12: PureMoller MC (singles1) GBL Track Energy
Cut
Around
These
Expected resolution
wrt the model ->

## Slide 13: Primary Moller Cuts
Based on the model distributions for PureMoller MC:
TrackE1+TrackE2 within 15% of Ebeam
Sin(/2)*Sin(/2) within 40% of
This selects Mollers based primarily on inter-electron dependence, and keeps virtually all PureMoller MC

## Slide 14: PureMoller MC After Primary Cuts
95% of
PureMollers pass ->

## Slide 15: PureMoller MC After Primary Cuts
Now find secondary cuts to leave these distributions unchanged…

## Slide 16: Secondary Moller Cuts
Based on the model distributions for PureMoller MC after primary e-e- cuts:
Individual E between 0.15 and 0.85 GeV
Individual θ between 0.02 and 0.05 rad
Coincidence <= 1ns
This keeps 95% of the cut PureMoller MC
Let’s try it with data and beam-tri MC…

## Slide 17: MollerCandidates from Skim before cuts (ECal Cluster E)
Using cluster E
may not be
optimal ->

## Slide 18: MollerCandidates from Skim before cuts (ECal Cluster E)

## Slide 19: Pass3 “MollerCandidates” before cuts (GBL track E):
<- Lots of FEE…

## Slide 20: Pass3 “MollerCandidates” before cuts (GBL track E):

## Slide 21: Pass3 “MollerCandidates” after cuts:

## Slide 22: Pass3 “MollerCandidates” after cuts:
<- 15% resolution
difference
from pure MC

## Slide 23: Pass3 PureMoller MC vs. Data

## Slide 24: Pass3 Beam-Tri MC vs. Data

## Slide 25: After additional E-Theta cut (E-Model <= 0.2)
MC
Data

## Slide 26: After additional E-Theta cut (E-Model <= 0.2)
Cut Data
Before
E-Theta cut
Cut Data
After
E-Theta cut
Still 27%-35% resolution difference from MC
in energy, theta, and mass
More cuts could be made,
but…

## Slide 27: Moller Yields in MC
From PureMoller MC:
From Pass2 Beam-Tri MC:
From Pass3 Beam-Tri MC:
Files had inconsistent readout;
need to re-check once correct
From cuts
Further cuts might worsen this

## Slide 28: Potential for Ecal Calibration
If Moller pairs can be confidently identified, then their related kinematics can be used as a calibration tool
In particular, if one Moller hits the fiducial region, and the other on the edge, then the correction for the edge crystals can be calculated

## Slide 29: Potential for Ecal Calibration

## Slide 30: Potential for Ecal Calibration
Moller Seed Hits (Pure MC)
20% of cut singles1 recon Mollers can be used this way; more if the cut is loosened

## Slide 31: Summary
Virtually all Mollers can be captured by using elastic cuts and a pure MC ‘stencil’.
Kinematic distributions and rates appear to be in agreement
Data distributions (E, theta, mass) have worse resolution than pure Moller MC, but are similar to beam-tri
These cuts should be incorporated into the Moller filter, if similar yields can be verified when using them in data
Mollers would be ideal for finding energy corrections to the edge crystals, which are currently less reliable than the fiducial region

## Slide 32: Extra Slides

## Slide 33: Moller Yield
Moller Cross Section:
Production Rate:

## Slide 34: PureMoller Singles1 Recon
Idea: ‘Un-rotate’ track momentum
and re-calculate theta
=>
Additional Restriction:
Two e- with the same vertex
On opposite halves of the ECal

## Slide 35: Electrons in data