## Slide 1: Upgraded Injector Test Facility
JLab Annual User’s Group Meeting
Matt Poelker
June 20-22, 2016

## Slide 2
Injector Test Cave at Building 58
First tests of CEBAF injector
thermionic gun,
three-beam rf-chopper ¼ cryomodule

## Slide 3
Upgraded Injector Test Facility….Compact 10 MeV Accelerator
What we started with…
UITF as imagined
old injector test cave

## Slide 4: Upgraded Injector Test Facility
MeV region
Up to 10 MeV, 100 nA
Desire 100 uA at 42” beam height
keV region
450 kV, 3mA
225 kV, 32 mA

## Slide 5
UITF: what will it do? who will use it?
  Commission HDIce with electron beam
    Tests with MeV beam more challenging than tests with GeV beam
  Commission key components of Injector Upgrade: new ¼ CM, 200kV gun, 200kV Wien
  High current polarized gun tests at keV energy
  Commission new hardware for CEBAF: nA stripline BPMs, low noise BCM for parity violation experiment, magnetron vs klystron, etc.,
  Polarized positron source, fast kicker for EIC, Bubble Chamber experiments, MeV parity violation experiments, Thin-film SRF cavity R&D, etc.,

## Slide 6: CEBAF Injector Upgrade

## Slide 7
New inverted-insulator polarized photogun
Wien filter
chopper
New ¼ cryomodule
buncher
Connection to LHe supply

## Slide 8
BLM locations
Insertable Faraday Cup
PSS BCM
want to deliver 100uA to cup or dump
Fixed Dump

## Slide 9: UITF Status Today

## Slide 10
No exposed high voltage
Inverted Insulator Photogun

## Slide 11
Gun and Beamline at LERF GTS
Now making beam at 275kV

## Slide 12: Conclusion
Hope to be making MeV polarized beam at UITF during Fall of 2016
HDIce beam tests early 2017
After that? Your ideas are welcome, we want to help you conduct your research and enhance the scientific output of JLab

## Slide 13
Status Reviews
UITF Accelerator Review: beamline design reviewed by Ops/CASA/SRF, March 18, 2016, “Will it work?” review
  Geoff Krafft, Mike Spata, Reza Kazimi, Arne Freyberger, Todd Satogata, Fay Hannon
  Yes, it will work
Internal Safety Review, May 10, 2016
  Personnel safety, including radiation protection. Assessment will be sent to the Safety Configuration Management Board (SCMB)
Conduct of Operations Review, July 2016
  Commissioning and Operations plans
Accelerator Readiness Review, August 2016
  Documentation in place, systems ready and checked out, staff trained
Experimental Readiness Review, Nov/Dec 2016