## Sheet1
Category | # | HMI Screen Name | Date Completed | PLC tags | Proposed EPICS PV | CS-Studio Screen Name | Date completed | Drawings Referred
Cryogenics | 6 | Solenoid Cryo Control Reservoir | 2020-05-28 | JTV1_LVDT_true | ha_sol:JTV1_LVDT_true | Solenoid Cryo Control Reservoir |  | A00000-16-02-01
|  |  |  | v1_error | ha_sol:v1_error
|  |  |  | JTV2_LVDT_true | ha_sol:JTV2_LVDT_true
|  |  |  | v2_error | ha_sol:v2_error
|  |  |  | JTV3_LVDT_true | ha_sol:JTV3_LVDT_true
|  |  |  | v3_error | ha_sol:v3_error
|  |  |  | JTV4_LVDT_true | ha_sol:JTV4_LVDT_true
|  |  |  | v4_error | ha_sol:v4_error
|  |  |  | JTV5_LVDT_true | ha_sol:JTV5_LVDT_true
|  |  |  | v5_error | ha_sol:v5_error
|  |  |  | JTV6_LVDT_true | ha_sol:JTV6_LVDT_true
|  |  |  | v6_error | ha_sol:v6_error
|  |  |  | JTV7_LVDT_true | ha_sol:JTV7_LVDT_true
|  |  |  | v7_error | ha_sol:v7_error
|  |  |  | vWR_LVDT_true | ha_sol:vWR_LVDT_true
|  |  |  | vWR_error | ha_sol:vWR_error
|  |  |  | P_N2 | ha_sol:P_N2
|  |  |  | P_N2_error | ha_sol:P_N2_error
|  |  |  | LL_N2 | ha_sol:LL_N2
|  |  |  | LL_N2_fault | ha_sol:LL_N2_fault
|  |  |  | P_He | ha_sol:P_He
|  |  |  | P_He_error | ha_sol:P_He_error
|  |  |  | LL_He | ha_sol:LL_He
|  |  |  | LL_He_fault | ha_sol:LL_He_fault
|  |  |  | PT_LN2_Supply | ha_sol:PT_LN2_Supply
|  |  |  | PT_LN2_Return | ha_sol:PT_LN2_Return
|  |  |  | PT_LN2_Supply_error | ha_sol:PT_LN2_Supply_error
|  |  |  | PT_LN2_Return_error | ha_sol:PT_LN2_Return_error
|  |  |  | TD_He_Cold_Sup | ha_sol:TD_He_Cold_Sup
|  |  |  | TD_He_Cold_Sup_error | ha_sol:TD_He_Cold_Sup_error
|  |  |  | TD_He_Reservoir | ha_sol:TD_He_Reservoir
|  |  |  | TD_He_Reservoir_error | ha_sol:TD_He_Reservoir_error
|  |  |  | TD_He_Warm_Ret | ha_sol:TD_He_Warm_Ret
|  |  |  | TD_He_Warm_Ret_error | ha_sol:TD_He_Warm_Ret_error
|  |  |  | TD_He_Cold_Ret | ha_sol:TD_He_Cold_Ret
|  |  |  | TD_He_Cold_Ret_error | ha_sol:TD_He_Cold_Ret_error
|  |  |  | TD_Magnet_He_Sup_error | ha_sol:TD_Magnet_He_Sup_error
|  |  |  | TD_Magnet_He_Sup | ha_sol:TD_Magnet_He_Sup
|  |  |  | TD_He_CL_Pot_Supply | ha_sol:TD_He_CL_Pot_Supply
|  |  |  | TD_He_CL_Pot_Supply_error | ha_sol:TD_He_CL_Pot_Supply_error
|  |  |  | Vacuum | ha_sol:Vacuum
|  |  |  | Vacuum_error | ha_sol:Vacuum_error
|  |  |  | He_Gas_Flow_Sup | ha_sol:He_Gas_Flow_Sup
|  |  |  | He_Gas_Press_Sup | ha_sol:He_Gas_Press_Sup
|  |  |  | He_Warm_Flow_Re | ha_sol:He_Warm_Flow_Re
|  |  |  | He_Warm_Press_Ret | ha_sol:He_Warm_Press_Ret
|  |  |  | LHe_Cold_Flow_Sup | ha_sol:LHe_Cold_Flow_Sup
|  |  |  | LHe_Cold_Press_Sup | ha_sol:LHe_Cold_Press_Sup
|  |  |  | T_LN2_Ave | ha_sol:T_LN2_Ave
|  |  |  | LN2_Temp_sensor_error | ha_sol:LN2_Temp_sensor_error
|  |  |  | T_He_ave | ha_sol:T_He_ave
|  |  |  | He_Temp_sensor_error | ha_sol:He_Temp_sensor_error
|  |  |  | I_coarse | ha_sol:I_coarse
|  |  |  | MPS_Current_Signal_fault | ha_sol:MPS_Current_Signal_fault
| 5 | Solenoid Coil and Radiation Shield Temperatures | 2020-01-15 | TS_1_He | ha_sol:TS_1_He | Solenoid Coil and Radiation Shield Temperatures
|  |  |  | TS_2_He | ha_sol:TS_2_He
|  |  |  | TS_3_He | ha_sol:TS_3_He
|  |  |  | TS_4_He | ha_sol:TS_4_He
|  |  |  | TS_5_He | ha_sol:TS_5_He
|  |  |  | TS_6_He | ha_sol:TS_6_He
|  |  |  | TS_21_He | ha_sol:TS_21_He
|  |  |  | TS_22_He | ha_sol:TS_22_He
|  |  |  | TS_23_He | ha_sol:TS_23_He
|  |  |  | TS_24_He | ha_sol:TS_24_He
|  |  |  | TS_25_He | ha_sol:TS_25_He
|  |  |  | TS_26_He | ha_sol:TS_26_He
|  |  |  | TS_33_He | ha_sol:TS_33_He
|  |  |  | TS_34_He | ha_sol:TS_34_He
|  |  |  | TS_11_LN2 | ha_sol:TS_11_LN2
|  |  |  | TS_29_LN2 | ha_sol:TS_29_LN2
|  |  |  | TS_30_LN2 | ha_sol:TS_30_LN2
|  |  |  | TS_31_LN2 | ha_sol:TS_31_LN2
|  |  |  | TS_32_LN2 | ha_sol:TS_32_LN2
|  |  |  | TS_12_LN2 | ha_sol:TS_12_LN2
|  |  |  | TS_13_LN2 | ha_sol:TS_13_LN2
|  |  |  | T_He_ave | ha_sol:T_He_ave
|  |  |  | T_He_max | ha_sol:T_He_max
|  |  |  | T_He_min | ha_sol:T_He_min
|  |  |  | T_LN2_ave | ha_sol:T_LN2_ave
|  |  |  | T_LN2_max | ha_sol:T_LN2_max
|  |  |  | T_LN2_min | ha_sol:T_LN2_min
|  |  |  | TS_1_error | ha_sol:TS_1_error
|  |  |  | TS_2_error | ha_sol:TS_2_error
|  |  |  | TS_3_error | ha_sol:TS_3_error
|  |  |  | TS_4_error | ha_sol:TS_4_error
|  |  |  | TS_5_error | ha_sol:TS_5_error
|  |  |  | TS_6_error | ha_sol:TS_6_error
|  |  |  | TS_21_error | ha_sol:TS_21_error
|  |  |  | TS_22_error | ha_sol:TS_22_error
|  |  |  | TS_23_error | ha_sol:TS_23_error
|  |  |  | TS_24_error | ha_sol:TS_24_error
|  |  |  | TS_25_error | ha_sol:TS_25_error
|  |  |  | TS_26_error | ha_sol:TS_26_error
|  |  |  | TS_33_error | ha_sol:TS_33_error
|  |  |  | TS_34_error | ha_sol:TS_34_error
|  |  |  | TS_11_error | ha_sol:TS_11_error
|  |  |  | TS_29_error | ha_sol:TS_29_error
|  |  |  | TS_30_error | ha_sol:TS_30_error
|  |  |  | TS_31_error | ha_sol:TS_31_error
|  |  |  | TS_32_error | ha_sol:TS_32_error
|  |  |  | TS_12_error | ha_sol:TS_12_error
|  |  |  | TS_13_error | ha_sol:TS_13_error
|  |  |  | He_Temp_sensor_error | ha_sol:He_Temp_sensor_error
|  |  |  | LN2_Temp_sensor_error | ha_sol:LN2_Temp_sensor_error
| 4 | Solenoid Neck Temperatures | 2020-02-12 | TS_7_He | ha_sol:TS_7_He
|  |  |  | TS_8_He | ha_sol:TS_8_He
|  |  |  | TS_27_He | ha_sol:TS_27_He
|  |  |  | TS_28_He | ha_sol:TS_28_He
|  |  |  | TS_CU1_He | ha_sol:TS_CU1_He
|  |  |  | TS_CU2_He | ha_sol:TS_CU2_He
|  |  |  | TS_AST4_He | ha_sol:TS_AST4_He
|  |  |  | TS_9_LN2 | ha_sol:TS_9_LN2
|  |  |  | TS_10_LN2 | ha_sol:TS_10_LN2
|  |  |  | TS_AST1a_LN2 | ha_sol:TS_AST1a_LN2
|  |  |  | TS_AST2_LN2 | ha_sol:TS_AST2_LN2
|  |  |  | TS_7_error | ha_sol:TS_7_error
|  |  |  | TS_8_error | ha_sol:TS_8_error
|  |  |  | TS_27_error | ha_sol:TS_27_error
|  |  |  | TS_28_error | ha_sol:TS_28_error
|  |  |  | TS_CU1_error | ha_sol:TS_CU1_error
|  |  |  | TS_CU2_error | ha_sol:TS_CU2_error
|  |  |  | TS_AST4_error | ha_sol:TS_AST4_error
|  |  |  | TS_9_error | ha_sol:TS_9_error
|  |  |  | TS_10_error | ha_sol:TS_10_error
|  |  |  | TS_AST1a_error | ha_sol:TS_AST1a_error
|  |  |  | TS_AST2_error | ha_sol:TS_AST2_error
Magnet Stresses | 3 | Solenoid Radial Supports | 2020-02-20 | SG_Radial_J | ha_sol:SG_Radial_J | Solenoid Radial Supports
|  |  |  | SG_Radial_K | ha_sol:SG_Radial_K
|  |  |  | SG_Radial_L | ha_sol:SG_Radial_L
|  |  |  | SG_Radial_M | ha_sol:SG_Radial_M
|  |  |  | SG_Radial_N | ha_sol:SG_Radial_N
|  |  |  | SG_Radial_P | ha_sol:SG_Radial_P
|  |  |  | SG_Radial_R | ha_sol:SG_Radial_R
|  |  |  | SG_Radial_S | ha_sol:SG_Radial_S
|  |  |  | SG_Radial_J_fault | ha_sol:SG_Radial_J_fault
|  |  |  | SG_Radial_K_fault | ha_sol:SG_Radial_K_fault
|  |  |  | SG_Radial_L_fault | ha_sol:SG_Radial_L_fault
|  |  |  | SG_Radial_M_fault | ha_sol:SG_Radial_M_fault
|  |  |  | SG_Radial_N_fault | ha_sol:SG_Radial_N_fault
|  |  |  | SG_Radial_P_fault | ha_sol:SG_Radial_P_fault
|  |  |  | SG_Radial_R_fault | ha_sol:SG_Radial_R_fault
|  |  |  | SG_Radial_S_fault | ha_sol:SG_Radial_S_fault
|  |  |  | SG_Radial_error | ha_sol:SG_Radial_error
|  |  |  | SG_Radial_ave | ha_sol:SG_Radial_ave
|  |  |  | SG_Radial_max | ha_sol:SG_Radial_max
|  |  |  | SG_Radial_min | ha_sol:SG_Radial_min
| 2 | Solenoid Axial & Radial Supports | 2020-02-18 | LC_Axial_T | ha_sol:LC_Axial_T | Solenoid Axial Supports
|  |  |  | LC_Axial_V | ha_sol:LC_Axial_V
|  |  |  | LC_Axial_W | ha_sol:LC_Axial_W
|  |  |  | LC_Axial_X | ha_sol:LC_Axial_X
|  |  |  | LC_Axial_T_fault | ha_sol:LC_Axial_T_fault
|  |  |  | LC_Axial_V_fault | ha_sol:LC_Axial_V_fault
|  |  |  | LC_Axial_W_fault | ha_sol:LC_Axial_W_fault
|  |  |  | LC_Axial_X_fault | ha_sol:LC_Axial_X_fault
|  |  |  | LC_Axial_error | ha_sol:LC_Axial_error
|  |  |  | LC_Axial_ave | ha_sol:LC_Axial_ave
|  |  |  | LC_Axial_max | ha_sol:LC_Axial_max
|  |  |  | LC_Axial_min | ha_sol:LC_Axial_min
|  |  |  | SG_Radial_A | ha_sol:SG_Radial_A
|  |  |  | SG_Radial_B | ha_sol:SG_Radial_B
|  |  |  | SG_Radial_C | ha_sol:SG_Radial_C
|  |  |  | SG_Radial_D | ha_sol:SG_Radial_D
|  |  |  | SG_Radial_E | ha_sol:SG_Radial_E
|  |  |  | SG_Radial_F | ha_sol:SG_Radial_F
|  |  |  | SG_Radial_G | ha_sol:SG_Radial_G
|  |  |  | SG_Radial_H | ha_sol:SG_Radial_H
|  |  |  | SG_Radial_A_fault | ha_sol:SG_Radial_A_fault
|  |  |  | SG_Radial_B_fault | ha_sol:SG_Radial_B_fault
|  |  |  | SG_Radial_C_fault | ha_sol:SG_Radial_C_fault
|  |  |  | SG_Radial_D_fault | ha_sol:SG_Radial_D_fault
|  |  |  | SG_Radial_E_fault | ha_sol:SG_Radial_E_fault
|  |  |  | SG_Radial_F_fault | ha_sol:SG_Radial_F_fault
|  |  |  | SG_Radial_G_fault | ha_sol:SG_Radial_G_fault
|  |  |  | SG_Radial_H_fault | ha_sol:SG_Radial_H_fault
|  |  |  | SG_Radial_error | ha_sol:SG_Radial_error
|  |  |  | SG_Radial_ave | ha_sol:SG_Radial_ave
|  |  |  | SG_Radial_max | ha_sol:SG_Radial_max
|  |  |  | SG_Radial_min | ha_sol:SG_Radial_min
| 1 | Solenoid Radial & Axial Supports Expert | 2020-03-10 | SG_Radial_A | ha_sol:SG_Radial_A | Solenoid Radial & Axial Supports Expert
|  |  |  | SG_Radial_B | ha_sol:SG_Radial_B
|  |  |  | SG_Radial_C | ha_sol:SG_Radial_C
|  |  |  | SG_Radial_D | ha_sol:SG_Radial_D
|  |  |  | SG_Radial_E | ha_sol:SG_Radial_E
|  |  |  | SG_Radial_F | ha_sol:SG_Radial_F
|  |  |  | SG_Radial_G | ha_sol:SG_Radial_G
|  |  |  | SG_Radial_H | ha_sol:SG_Radial_H
|  |  |  | SG_Radial_J | ha_sol:SG_Radial_J
|  |  |  | SG_Radial_K | ha_sol:SG_Radial_K
|  |  |  | SG_Radial_L | ha_sol:SG_Radial_L
|  |  |  | SG_Radial_M | ha_sol:SG_Radial_M
|  |  |  | SG_Radial_N | ha_sol:SG_Radial_N
|  |  |  | SG_Radial_P | ha_sol:SG_Radial_P
|  |  |  | SG_Radial_R | ha_sol:SG_Radial_R
|  |  |  | SG_Radial_S | ha_sol:SG_Radial_S
|  |  |  | SG_Radial_A_fault | ha_sol:SG_Radial_A_fault
|  |  |  | SG_Radial_B_fault | ha_sol:SG_Radial_B_fault
|  |  |  | SG_Radial_C_fault | ha_sol:SG_Radial_C_fault
|  |  |  | SG_Radial_D_fault | ha_sol:SG_Radial_D_fault
|  |  |  | SG_Radial_E_fault | ha_sol:SG_Radial_E_fault
|  |  |  | SG_Radial_F_fault | ha_sol:SG_Radial_F_fault
|  |  |  | SG_Radial_G_fault | ha_sol:SG_Radial_G_fault
|  |  |  | SG_Radial_H_fault | ha_sol:SG_Radial_H_fault
|  |  |  | SG_Radial_J_fault | ha_sol:SG_Radial_J_fault
|  |  |  | SG_Radial_K_fault | ha_sol:SG_Radial_K_fault
|  |  |  | SG_Radial_L_fault | ha_sol:SG_Radial_L_fault
|  |  |  | SG_Radial_M_fault | ha_sol:SG_Radial_M_fault
|  |  |  | SG_Radial_N_fault | ha_sol:SG_Radial_N_fault
|  |  |  | SG_Radial_P_fault | ha_sol:SG_Radial_P_fault
|  |  |  | SG_Radial_R_fault | ha_sol:SG_Radial_R_fault
|  |  |  | SG_Radial_S_fault | ha_sol:SG_Radial_S_fault
|  |  |  | SG_Radial_A_1st_Threshold | ha_sol:SG_Radial_A_1st_Threshold
|  |  |  | SG_Radial_A_2nd_Threshold | ha_sol:SG_Radial_A_2nd_Threshold
|  |  |  | SG_Radial_B_1st_Threshold | ha_sol:SG_Radial_B_1st_Threshold
|  |  |  | SG_Radial_B_2nd_Threshold | ha_sol:SG_Radial_B_2nd_Threshold
|  |  |  | SG_Radial_C_1st_Threshold | ha_sol:SG_Radial_C_1st_Threshold
|  |  |  | SG_Radial_C_2nd_Threshold | ha_sol:SG_Radial_C_2nd_Threshold
|  |  |  | SG_Radial_D_1st_Threshold | ha_sol:SG_Radial_D_1st_Threshold
|  |  |  | SG_Radial_D_2nd_Threshold | ha_sol:SG_Radial_D_2nd_Threshold
|  |  |  | SG_Radial_E_1st_Threshold | ha_sol:SG_Radial_E_1st_Threshold
|  |  |  | SG_Radial_E_2nd_Threshold | ha_sol:SG_Radial_E_2nd_Threshold
|  |  |  | SG_Radial_F_1st_Threshold | ha_sol:SG_Radial_F_1st_Threshold
|  |  |  | SG_Radial_F_2nd_Threshold | ha_sol:SG_Radial_F_2nd_Threshold
|  |  |  | SG_Radial_G_1st_Threshold | ha_sol:SG_Radial_G_1st_Threshold
|  |  |  | SG_Radial_G_2nd_Threshold | ha_sol:SG_Radial_G_2nd_Threshold
|  |  |  | SG_Radial_H_1st_Threshold | ha_sol:SG_Radial_H_1st_Threshold
|  |  |  | SG_Radial_H_2nd_Threshold | ha_sol:SG_Radial_H_2nd_Threshold
|  |  |  | SG_Radial_J_1st_Threshold | ha_sol:SG_Radial_J_1st_Threshold
|  |  |  | SG_Radial_J_2nd_Threshold | ha_sol:SG_Radial_J_2nd_Threshold
|  |  |  | SG_Radial_K_1st_Threshold | ha_sol:SG_Radial_K_1st_Threshold
|  |  |  | SG_Radial_K_2nd_Threshold | ha_sol:SG_Radial_K_2nd_Threshold
|  |  |  | SG_Radial_L_1st_Threshold | ha_sol:SG_Radial_L_1st_Threshold
|  |  |  | SG_Radial_L_2nd_Threshold | ha_sol:SG_Radial_L_2nd_Threshold
|  |  |  | SG_Radial_M_1st_Threshold | ha_sol:SG_Radial_M_1st_Threshold
|  |  |  | SG_Radial_M_2nd_Threshold | ha_sol:SG_Radial_M_2nd_Threshold
|  |  |  | SG_Radial_N_1st_Threshold | ha_sol:SG_Radial_N_1st_Threshold
|  |  |  | SG_Radial_N_2nd_Threshold | ha_sol:SG_Radial_N_2nd_Threshold
|  |  |  | SG_Radial_P_1st_Threshold | ha_sol:SG_Radial_P_1st_Threshold
|  |  |  | SG_Radial_P_2nd_Threshold | ha_sol:SG_Radial_P_2nd_Threshold
|  |  |  | SG_Radial_R_1st_Threshold | ha_sol:SG_Radial_R_1st_Threshold
|  |  |  | SG_Radial_R_2nd_Threshold | ha_sol:SG_Radial_R_2nd_Threshold
|  |  |  | SG_Radial_S_1st_Threshold | ha_sol:SG_Radial_S_1st_Threshold
|  |  |  | SG_Radial_S_2nd_Threshold | ha_sol:SG_Radial_S_2nd_Threshold
|  |  |  | SG_Radial_Intlck_Enable[0] | ha_sol:SG_Radial_Intlck_Enable[0]
|  |  |  | SG_Radial_Intlck_Enable[1] | ha_sol:SG_Radial_Intlck_Enable[1]
|  |  |  | SG_Radial_Intlck_Enable[2] | ha_sol:SG_Radial_Intlck_Enable[2]
|  |  |  | SG_Radial_Intlck_Enable[3] | ha_sol:SG_Radial_Intlck_Enable[3]
|  |  |  | SG_Radial_Intlck_Enable[4] | ha_sol:SG_Radial_Intlck_Enable[4]
|  |  |  | SG_Radial_Intlck_Enable[5] | ha_sol:SG_Radial_Intlck_Enable[5]
|  |  |  | SG_Radial_Intlck_Enable[6] | ha_sol:SG_Radial_Intlck_Enable[6]
|  |  |  | SG_Radial_Intlck_Enable[7] | ha_sol:SG_Radial_Intlck_Enable[7]
|  |  |  | SG_Radial_Intlck_Enable[8] | ha_sol:SG_Radial_Intlck_Enable[8]
|  |  |  | SG_Radial_Intlck_Enable[9] | ha_sol:SG_Radial_Intlck_Enable[9]
|  |  |  | SG_Radial_Intlck_Enable[10] | ha_sol:SG_Radial_Intlck_Enable[10]
|  |  |  | SG_Radial_Intlck_Enable[11] | ha_sol:SG_Radial_Intlck_Enable[11]
|  |  |  | SG_Radial_Intlck_Enable[12] | ha_sol:SG_Radial_Intlck_Enable[12]
|  |  |  | SG_Radial_Intlck_Enable[13] | ha_sol:SG_Radial_Intlck_Enable[13]
|  |  |  | SG_Radial_Intlck_Enable[14] | ha_sol:SG_Radial_Intlck_Enable[14]
|  |  |  | SG_Radial_Intlck_Enable[15] | ha_sol:SG_Radial_Intlck_Enable[15]
|  |  |  | SG_Radial_Intlck_Status[0] | ha_sol:SG_Radial_Intlck_Status[0]
|  |  |  | SG_Radial_Intlck_Status[1] | ha_sol:SG_Radial_Intlck_Status[1]
|  |  |  | SG_Radial_Intlck_Status[2] | ha_sol:SG_Radial_Intlck_Status[2]
|  |  |  | SG_Radial_Intlck_Status[3] | ha_sol:SG_Radial_Intlck_Status[3]
|  |  |  | SG_Radial_Intlck_Status[4] | ha_sol:SG_Radial_Intlck_Status[4]
|  |  |  | SG_Radial_Intlck_Status[5] | ha_sol:SG_Radial_Intlck_Status[5]
|  |  |  | SG_Radial_Intlck_Status[6] | ha_sol:SG_Radial_Intlck_Status[6]
|  |  |  | SG_Radial_Intlck_Status[7] | ha_sol:SG_Radial_Intlck_Status[7]
|  |  |  | SG_Radial_Intlck_Status[8] | ha_sol:SG_Radial_Intlck_Status[8]
|  |  |  | SG_Radial_Intlck_Status[9] | ha_sol:SG_Radial_Intlck_Status[9]
|  |  |  | SG_Radial_Intlck_Status[10] | ha_sol:SG_Radial_Intlck_Status[10]
|  |  |  | SG_Radial_Intlck_Status[11] | ha_sol:SG_Radial_Intlck_Status[11]
|  |  |  | SG_Radial_Intlck_Status[12] | ha_sol:SG_Radial_Intlck_Status[12]
|  |  |  | SG_Radial_Intlck_Status[13] | ha_sol:SG_Radial_Intlck_Status[13]
|  |  |  | SG_Radial_Intlck_Status[14] | ha_sol:SG_Radial_Intlck_Status[14]
|  |  |  | SG_Radial_Intlck_Status[15] | ha_sol:SG_Radial_Intlck_Status[15]
|  |  |  | LC_Axial_T | ha_sol:LC_Axial_T
|  |  |  | LC_Axial_V | ha_sol:LC_Axial_V
|  |  |  | LC_Axial_W | ha_sol:LC_Axial_W
|  |  |  | LC_Axial_X | ha_sol:LC_Axial_X
|  |  |  | LC_Axial_T_fault | ha_sol:LC_Axial_T_fault
|  |  |  | LC_Axial_V_fault | ha_sol:LC_Axial_V_fault
|  |  |  | LC_Axial_W_fault | ha_sol:LC_Axial_W_fault
|  |  |  | LC_Axial_X_fault | ha_sol:LC_Axial_X_fault
|  |  |  | LC_Axial_T_1st_Threshold | ha_sol:LC_Axial_T_1st_Threshold
|  |  |  | LC_Axial_T_2nd_Threshold | ha_sol:LC_Axial_T_2nd_Threshold
|  |  |  | LC_Axial_V_1st_Threshold | ha_sol:LC_Axial_V_1st_Threshold
|  |  |  | LC_Axial_V_2nd_Threshold | ha_sol:LC_Axial_V_2nd_Threshold
|  |  |  | LC_Axial_W_1st_Threshold | ha_sol:LC_Axial_W_1st_Threshold
|  |  |  | LC_Axial_W_2nd_Threshold | ha_sol:LC_Axial_W_2nd_Threshold
|  |  |  | LC_Axial_X_1st_Threshold | ha_sol:LC_Axial_X_1st_Threshold
|  |  |  | LC_Axial_X_2nd_Threshold | ha_sol:LC_Axial_X_2nd_Threshold
|  |  |  | LC_Axial_Intlck_Enable[0] | ha_sol:LC_Axial_Intlck_Enable[0]
|  |  |  | LC_Axial_Intlck_Enable[1] | ha_sol:LC_Axial_Intlck_Enable[1]
|  |  |  | LC_Axial_Intlck_Enable[2] | ha_sol:LC_Axial_Intlck_Enable[2]
|  |  |  | LC_Axial_Intlck_Enable[3] | ha_sol:LC_Axial_Intlck_Enable[3]
|  |  |  | LC_Axial_Intlck_Status[0] | ha_sol:LC_Axial_Intlck_Status[0]
|  |  |  | LC_Axial_Intlck_Status[1] | ha_sol:LC_Axial_Intlck_Status[1]
|  |  |  | LC_Axial_Intlck_Status[2] | ha_sol:LC_Axial_Intlck_Status[2]
|  |  |  | LC_Axial_Intlck_Status[3] | ha_sol:LC_Axial_Intlck_Status[3]
|  |  |  | Reset_Interlock | ha_sol:Reset_Interlock

## for-pv-check-program
ha_sol:JTV1_LVDT_true
ha_sol:v1_error
ha_sol:JTV6_LVDT_true
ha_sol:v6_error
ha_sol:JTV7_LVDT_true
ha_sol:v7_error
ha_sol:vWR_LVDT_true
ha_sol:vWR_error
ha_sol:He_Warm_Flow_Re
#REF!
ha_sol:TS_1_He
ha_sol:TS_2_He
ha_sol:TS_3_He
ha_sol:TS_4_He
ha_sol:TS_5_He
ha_sol:TS_6_He
ha_sol:TS_21_He
ha_sol:TS_22_He
ha_sol:TS_23_He
ha_sol:TS_24_He
ha_sol:TS_25_He
ha_sol:TS_26_He
ha_sol:TS_33_He
ha_sol:TS_34_He
ha_sol:TS_11_LN2
ha_sol:TS_29_LN2
ha_sol:TS_30_LN2
ha_sol:TS_31_LN2
ha_sol:TS_32_LN2
ha_sol:TS_12_LN2
ha_sol:TS_13_LN2
ha_sol:T_He_ave
ha_sol:T_He_max
ha_sol:T_He_min
ha_sol:T_LN2_ave
ha_sol:T_LN2_max
ha_sol:T_LN2_min
ha_sol:TS_1_error
ha_sol:TS_2_error
ha_sol:TS_3_error
ha_sol:TS_4_error
ha_sol:TS_5_error
ha_sol:TS_6_error
ha_sol:TS_21_error
ha_sol:TS_22_error
ha_sol:TS_23_error
ha_sol:TS_24_error
ha_sol:TS_25_error
ha_sol:TS_26_error
ha_sol:TS_33_error
ha_sol:TS_34_error
ha_sol:TS_11_error
ha_sol:TS_29_error
ha_sol:TS_30_error
ha_sol:TS_31_error
ha_sol:TS_32_error
ha_sol:TS_12_error
ha_sol:TS_13_error
ha_sol:He_Temp_sensor_error
ha_sol:LN2_Temp_sensor_error
ha_sol:TS_7_He
ha_sol:TS_8_He
ha_sol:TS_27_He
ha_sol:TS_28_He
ha_sol:TS_CU1_He
ha_sol:TS_CU2_He
ha_sol:TS_AST4_He
ha_sol:TS_9_LN2
ha_sol:TS_10_LN2
ha_sol:TS_AST1a_LN2
ha_sol:TS_AST2_LN2
ha_sol:TS_7_error
ha_sol:TS_8_error
ha_sol:TS_27_error
ha_sol:TS_28_error
ha_sol:TS_CU1_error
ha_sol:TS_CU2_error
ha_sol:TS_AST4_error
ha_sol:TS_9_error
ha_sol:TS_10_error
ha_sol:TS_AST1a_error
ha_sol:TS_AST2_error
ha_sol:SG_Radial_J
ha_sol:SG_Radial_K
ha_sol:SG_Radial_L
ha_sol:SG_Radial_M
ha_sol:SG_Radial_N
ha_sol:SG_Radial_P
ha_sol:SG_Radial_R
ha_sol:SG_Radial_S
ha_sol:SG_Radial_J_fault
ha_sol:SG_Radial_K_fault
ha_sol:SG_Radial_L_fault
ha_sol:SG_Radial_M_fault
ha_sol:SG_Radial_N_fault
ha_sol:SG_Radial_P_fault
ha_sol:SG_Radial_R_fault
ha_sol:SG_Radial_S_fault
ha_sol:SG_Radial_error
ha_sol:SG_Radial_ave
ha_sol:SG_Radial_max
ha_sol:SG_Radial_min
#REF!
ha_sol:SG_Radial_A
ha_sol:SG_Radial_B
ha_sol:SG_Radial_C
ha_sol:SG_Radial_D
ha_sol:SG_Radial_E
ha_sol:SG_Radial_F
ha_sol:SG_Radial_G
ha_sol:SG_Radial_H
ha_sol:SG_Radial_J
ha_sol:SG_Radial_K
ha_sol:SG_Radial_L
ha_sol:SG_Radial_M
ha_sol:SG_Radial_N
ha_sol:SG_Radial_P
ha_sol:SG_Radial_R
ha_sol:SG_Radial_S
ha_sol:SG_Radial_A_fault
ha_sol:SG_Radial_B_fault
ha_sol:SG_Radial_C_fault
ha_sol:SG_Radial_D_fault
ha_sol:SG_Radial_E_fault
ha_sol:SG_Radial_F_fault
ha_sol:SG_Radial_G_fault
ha_sol:SG_Radial_H_fault
ha_sol:SG_Radial_J_fault
ha_sol:SG_Radial_K_fault
ha_sol:SG_Radial_L_fault
ha_sol:SG_Radial_M_fault
ha_sol:SG_Radial_N_fault
ha_sol:SG_Radial_P_fault
ha_sol:SG_Radial_R_fault
ha_sol:SG_Radial_S_fault
ha_sol:LC_Axial_T
ha_sol:LC_Axial_V
ha_sol:LC_Axial_W
ha_sol:LC_Axial_X
ha_sol:LC_Axial_T_fault
ha_sol:LC_Axial_V_fault
ha_sol:LC_Axial_W_fault
ha_sol:LC_Axial_X_fault
ha_sol:SG_Radial_E_1st_Threshold
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
ha_sol:SG_Radial_J_2nd_Threshold
ha_sol:SG_Radial_K_1st_Threshold
ha_sol:SG_Radial_K_2nd_Threshold
ha_sol:SG_Radial_L_1st_Threshold
ha_sol:SG_Radial_L_2nd_Threshold
ha_sol:SG_Radial_M_1st_Threshold
ha_sol:SG_Radial_M_2nd_Threshold
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
ha_sol:SG_Radial_Intlck_Enable[0]
ha_sol:SG_Radial_Intlck_Enable[1]
ha_sol:SG_Radial_Intlck_Enable[2]
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
ha_sol:SG_Radial_Intlck_Enable[11]
ha_sol:SG_Radial_Intlck_Enable[12]
ha_sol:SG_Radial_Intlck_Enable[13]
ha_sol:SG_Radial_Intlck_Enable[14]
ha_sol:SG_Radial_Intlck_Enable[15]
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
ha_sol:SG_Radial_Intlck_Status[11]
ha_sol:SG_Radial_Intlck_Status[12]
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
ha_sol:LC_Axial_T_1st_Threshold
ha_sol:LC_Axial_T_2nd_Threshold
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
ha_sol:LC_Axial_Intlck_Enable[2]
ha_sol:LC_Axial_Intlck_Enable[3]
ha_sol:LC_Axial_Intlck_Status[0]
ha_sol:LC_Axial_Intlck_Status[1]
ha_sol:LC_Axial_Intlck_Status[2]
ha_sol:LC_Axial_Intlck_Status[3]
ha_sol:Reset_Interlock
#REF!