|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| PRESSURE EQUIPMENT IN-SERVICE INSPECTION DATA SHEET | | | | FORM PS-10 | | |
| Pressure System Number: | Date: | | | | | |
| Pressure System Name: | | | | | | |
| Building Number: | | | | | | |
| Specific Location: | Code: | | | | | |
| System Fluid: | Code Year: | | | | | |
| Fluid State: | Fluid Category: | | | | | |
| PRESSURE EQUIPMENT INSPECTION DATA | | | | | | |
| Condition of exterior is free of corrosion, cracks, dents, gouges, bulges. If insulation is present, condition of insulation is intact: | | \_\_\_\_ YES | | | \_\_\_\_ NO | |
| No evidence of leakage: | | \_\_\_\_ YES | | | \_\_\_\_ NO | |
| Structural attachments and supports are free of cracks and distortions: | | \_\_\_\_ YES | | | \_\_\_\_ NO | |
| Connections (nozzles, bolts, nuts., accessible flange faces) are free from corrosion, cracks, distortion or defects: | | \_\_\_\_ YES | | | \_\_\_\_ NO | |
| Weld joints and adjacent heat affected zones are free from cracks or other defects: | | \_\_\_\_ YES | | | \_\_\_\_ NO | |
| Operation of control devices (temperature sensors, pressure gages, etc.) is demonstrated through proper operation of system, comparison to others on system or through calibration: | | \_\_\_\_ YES | | | \_\_\_\_ NO | |
| COMMENTS: | | | | | | |
| Findings and general condition: | | | | | | |
| APPROVAL (name and signature) | | | | | | |
| Pressure Equipment Acceptable for continued use: | | | \_\_\_YES | | | \_\_\_NO |
| Inspector: | | | Date: | | | |
| System Owner: | | | Date: | | | |