## Slide 1: PVES
Experimental Considerations

## Slide 2: Outline
  Beam
    Polarization
    Beam quality
    Raster sync
  Target
    Density stability
    Finite length effects
  Backgrounds (rates and asymmetries)
  Apparatus symmetry
  Detector linearity
  Spectrometer
    resolution
    Collimator precision
    Magnet stability

## Slide 3: PVES Experiment Summary
size of the asymmetry
size of the uncertainty
relative uncertainty
(log scale)

## Slide 4: Elastic Scattering
Q2 is related to the wavelength of the virtual photon probe -
from 208Pb or 48Ca
or
from p or d or He
or
from e
e + N  e + N
N
N
N
N
Notes: All of the measurements in this talk use elastic (or quasi-elastic) electron proton scattering. An electron is incident on a proton in the target and scatters with some reduced energy. The interaction is mediated by an exchange particle, for example, a photon, which carries the energy and momentum to the proton.
The Lorentz invariant four momentum transfer, Q2 is in general a function of the scattered electron energy and angle, but in elastic scattering can be expressed as a function of the scattering angle only. Q2 is related to the wavelength of the virtual photon probe; the higher the Q2 the smaller the structure that can be “seen”.

## Slide 5: Parity
parity conserving
parity violating
Quantum mechanical operator that
reverses the spatial sign ( P: x -> -x )
Notes: Parity is a quantum mechanical operator which reverses the spatial coordinates (all of them, at once). Because spin is the product of two spatial operators, it doesn’t reverse sign under parity. What we actually do in the lab is change the polarization of the beam, that is, reverse the relative direction of the electron spin to the momentum vector. The EM interaction conserves parity. The weak interaction does NOT! Now we have a difference between the two interactions that we can exploit to measure the weak form factor.

## Slide 6: Cartoon Experiment
Polarimetry
Polarimetry
detectors
detectors
spectrometer
beam
target
spectrometer
Collimators
Magnets
main detector
electronics
accelerator
Position monitors
tracking detectors
luminosity monitors
Raster
Photo-cathode
continuous
invasive
Pockells cell
At injector
Wien filters
Energy measurements
background determination
target
beam
polarized beam
polarized beam
Charge monitors
Halo monitors
cooling
position

## Slide 7
Quantity of interest
Typical Corrections:
Helicity Correlated Corrections
Background Asymmetry
Beam Polarization
EM Radiative corrections
Raw Asymmetries
Ameas
Analysis Overview
Blinding
Factors
Other Measurements
Physics Asymmetries
Aphys
Unblind
Q2

## Slide 8
unpolarized target
high current
highly polarized beam
polarimetry
elastic electrons from target
(resolution of the spectrometers)
beam property monitoring
active feedback to minimize helicity correlations
rapid helicity reversal
slow helicity reversal as a cross check
Measuring APV with ES
Notes: The general requirements for any parity violating experiment are a high power unpolarized target and a large solid angle acceptance in order to minimize the statistical error. In addition you need a highly polarized beam in order to measure the asymmetry, and you need to measure the polarization. Since we are interested in elastic scattering from the proton, we need not only kinematic separation of the elastics from the inelastics, but also particle identification and background measurements. We also need to have stable beam, and to understand the effects of beam properties on the measured yields. Ideally we would minimize the helicity correlated effects. We have rapid helicity reversal, with a slow helicity reversal as a way to change the polarization without changing the electronics.
In order to go from the measured asymmetry to the physics asymmetry, we need to correct for false asymmetries due to beam properties, background asymmetries and the polarization of the beam. There is also a radiative correction that needs to be performed.

## Slide 9: Statistical Uncertainty on APV
The statistical uncertainty in a counting experiment is given by
The expected width, is calculated from

## Slide 10: Statistical Uncertainty
Gaussian
The expected width, is:

## Slide 11: Design and simulation
What are we trying to do?
Minimize systematics
Optimize the acceptance/focus
Minimize backgrounds
  Elastic ep vs. moller
  Inelastic asymmetry
  Target structure/beamline scattering
  Neutrons
Make corrections
What can we design with the simulations?
Target cell
All apertures
  Beamline
  Collimator
  Spectrometer
  Detectors
Detector responses

## Slide 12: Monte Carlo Technique
L
L
Ntotal=20

## Slide 13: Monte Carlo Technique
L
L
Ntotal=20

## Slide 14: (re-)Design of Qweak collimators
move acceptance defining collimator further from the target
make the acceptance as large as possible (through fixed elements)
check that the profile will fit on a reasonably sized detector
find a shape that will be reasonable to machine

## Slide 15: Choosing collimator shape
Originally quoted:
Rate/octant = 763 MHz
<θ> = 9º
<Q2> = .030 (GeV/c)2
Error on Qweak= 4%
After redesign:
Rate/octant = 875 MHz
<θ> = 8º
<Q2> = .026 (GeV/c)2
Error on Qweak= 4.18%