## Slide 1: HTCC
CLAS12 software workshop
N. Markov, W. Phelps, A. Pucket, Y. Sharabian
2/21/16

## Slide 2: Outline
Simulation status
Reconstruction status
Calibration development
Monitoring software
Trigger studies
Future plans

## Slide 3: Simulation
Detector:
Angular coverage:
θ=5o −35o,
φ=0o −360o
gemc:
Realistic Mirror and Winston cone reflectance
Realistic Quantum Efficiency of the PMT with Quartz Entry Window
Realistic C02 gas transparency
Realistic C02 gas refraction index
Mirror
PMTs
Beam

## Slide 4: Simulation
12 halfsectors over φ (15o each)
4 rings over θ (7.5o each),
Total of 48 mirror segments monitored by 48 PMTs
Ring 1
Ring 2
Ring 3
Ring 4
Halfsector
Halfsector
S
e
c
t
o
r

## Slide 5: Simulation
11 GeV electrons uniformly distributed over θand φ
Number of photoelectrons increases with theta since the path of the electron in the C02 increases and so does intensity of the Cerenkov radiation
Lower number of photoelectrons at the theta of 5, 12.5, 20, 27.5 and 35 is due to the fact that Cerenkov radiation cone splits between two mirrors of different rings or goes out of the mirrors at all (θ~5, θ~35)
Lower number of photoelectrons between the sectors at φ ~ -150, -120, -90 etc. is due to the fact that Cerenkov radiation cone splits between two mirrors of different half sectors
NPE
NPE
R1
R2
R3
R4

## Slide 6: Reconstruction: clusters
Chart: 
| 1 Hit | 2 Hits | 3 Hits | 4 Hits
Series 1 | 60 | 35 | 3 | 2
Cerenkov radiation from single electron splits between two mirrors and is collected by different PMTs
θ
θ
θ
θ
φ
φ
φ
φ
~ 1.5 Mirrors in event
To PMT 2
To PMT 1
1 Hit
2 Hits
3 Hits
4 Hits

## Slide 7
5. Hit in 4 different mirrors
θ1
φ1
φ2
θ2
Cluster is reconstructed between four mirrors.
θ gen
θ cluster
θ cluster
φ cluster
θ generated
Reconstruction: clusters

## Slide 8: Reconstruction: clusters, timing
L1, T1
T 2
T 1
T, ns
T, ns
θ
φ
target
target
PMT
PMT
T 3
T 4
T 2
T 1
T 3
T 4
Time is fixed within a given ring
Every Ti corresponds to mirror number i
L1, T1
Ring 1
Ring 2
L2, T2
L2, T2

## Slide 9: Time of the cluster
Tc, ns
Ti measured time of the hit i in the cluster
Tgi is calculated from detector geometry
Cluster time

## Slide 10: Calibration
Establish Calibration Curve: Gain (HV) for every channel
Choose certain gain for all channels
Using Calibration Curve set the HV for each channel
Check individual gains
Adjust HV if needed
HTCC is part of the trigger – gain equalization is extremely important

## Slide 11
Updated EVIO reader and fitting in Java:
  Multithreaded
  Optimized code
  ~ 2 minutes per fit on a single core
Calibration software
Fit stability
Calibration curve
Fit to PMT response to find a position of
single photoelectron peak: signal + noise
SPE Peak

## Slide 12: Monitoring
Signal shape in time
ADC spectrum, signal
ADC spectrum, pedestal
Npe within a given ring
LMS control
Detector schematics
Select channel
Active channel
Based on common tools
Integration with ccdb
Implemented translational table

## Slide 13: Trigger studies
HTCC ring
EC Strip
U plane
V plane
W plane
Correlation between HTCC and EC
EC strip
EC Strip
Clear geometrical matching between HTCC and EC
No need to sum over full sector
Possibility to decrease noise

## Slide 14: Future plans
Implement a measured mirror and WC reflectance (under way)
Implement signal digitization in gemc (under way)
Introduce reconstruction with a quasi-real signal
Finish development of calibration suite and obtain calibration curves for all 48 PMTs
Finish development of monitoring software
Continue trigger development