## Slide 1: Hall-B Slow Controls
N. Baltzell
2nd 1st CLAS12 Experiment Workshop
February 23, 2016

## Slide 2: Overview
Hall-B Team:
  Glasgow & JLab: N. Baltzell, K. Livingston, B. McKinnon, W. Moore
  Biweekly meetings: 8:30 on Fridays in L210A
  Wiki: https://clasweb.jlab.org/wiki/index.php/CLAS12_Slow_Controls
    With meeting agendas and minutes, Gantt chart, subsystem specs, improving documentation
  First goal: KPP, full baseline support by summer’s end
  Essential Groups Involved:
    Detector Support Group (Torus/Solenoid/Cryo/Gas)
    S. Boyarinov (DAQ)
Framework:
  UI: java-based CS-Studio
  OS: RHEL7
  EPICS: R3.14.12.5
  Lots of sharing with Hall-D
  BEAST alarm handler inside CS-Studio
  JLab Mya EPICS archiver
  Porting & improving/replacing CLAS6 software
  Upgrading hardware where necessary/possible

## Slide 3: Overview
Detector specific GUIs developed and in use
Hierarchical system with navigable tree view
Alarm system tested and to be deployed spring 2016
Gas/Torus/Solenoid/Cryo EPICS interface in progress
DAQ-Integration developed with HPS
Moller counters refurbished
Hardware Purchases Ongoing
FTC controls

## Slide 4: Detector HV
Geographic screens for HV
  shows status via color
    trip/on/off/ramping/comms

## Slide 5: Detector HV
Geographic screens for HV
  shows status via color
    trip/on/off/ramping/comms
Provides acces to
  global/group/individual controls

## Slide 6: Detector HV
Geographic screens for HV
  shows status via color
    trip/on/off/ramping/comms
Provides acces to
  global/group/individual controls

## Slide 7: Detector HV
Geographic screens for HV
  shows status via color
    trip/on/off/ramping/comms
Provides acces to
  global/group/individual controls
  save/restore

## Slide 8: Detector HV
Geographic screens for HV
  shows status via color
    trip/on/off/ramping/comms
Provides acces to
  global/group/individual controls
  save/restore
ECAL,PCAL,FTOF,CTOF,HTCC
  Coming soon: DC, LTCC

## Slide 9
Alarm Handler

## Slide 10: Hierarchical Tree View
Navigate through entire system
  by detector/sector
  *with wildcard search*
Graphs can be included in any screen
  e.g. HV Current/Voltage
Hierarchy to be used for alarm system
  including daq info, scalers, etc

## Slide 11: Detector Overview Screens
By request of detector groups
Example shown for FTC
  Includes HV, LV, Gas, Temps, Chiller
  Links to controls for each subsystem
  Involvement from detector group
Similar overview for HTCC exists

## Slide 12: Detector Overview Screens
By request of detector groups
Example shown for FTC
  Includes HV, LV, Gas, Temps, Chiller
  Links to controls for each subsystem
  Involvement from detector group
Similar overview for HTCC exists

## Slide 13: Detector Overview Screens
By request of detector groups
Example shown for FTC
  Includes HV, LV, Gas, Temps, Chiller
  Links to controls for each subsystem
  Involvement from detector group
Similar overview for HTCC exists
Flasher controls screen

## Slide 14
Gas System
CompactRIO (DSG)
EPICS integration for user monitoring & alarms in counting house in progress

## Slide 15: Torus, Solenoid
3 Allen-Bradley PLCs (DSG): Power Supplies, Vacuum, Cryo
EPICS integration for user monitoring & alarms in counting house in progress

## Slide 16: Summary / Outlook
En Route to KPP by end of summer 2016
Some of the bigger unfinished pieces:
  Refurbish Moller Polarimeter system
  FADC/DSC2 scalers to EPICS
  Saclay Target integration into EPICS
Progress Status
HV System [95%]
Alarms [50%]
Beamline Motors/Scalers [80%]
Moller Polarimeter [10%]
EPICS ⟺ DAQ [90%]
EPICS ⟹ rundb [95%]
MYA Archiver [50%]
Select FADC/DISC Scalers [0%]
Gas System [75%]
Torus, Solenoid, Cryo [75%]
Saclay Target [EPICS=0%]
Hall Weather [50%]
Wiener Crates [80%]
IOC Admin [90%]
Detector Specific Screens [50%]
SVT (by OPS) [95%]
BTA [0%]
Wish List
Web browser access (WebOPI/VDI)
All FADC/DISC Scalers in EPICS
Full DAQ controls in CS-Studio
Full SVT integration in CS-Studio
More …

## Slide 17: Upgrade Purchases
Server for Mya EPICS archiver (all systems)
MOXA serial comms (various EPICS)
  chillers, thermocouples, gaussmeters …
GPIB-ETH converters (DC LV  EPICS)
Weather system (FC, SF, CH) *
  Temperature+Humidity
CAEN mainframe CPU+MPS (HV)
Cameras (general) *
Additional server for remote users *
* not finalized