## Slide 1: DC monitoring - calibration - simulation - corrections
Monitoring (Olga Cortes, Michael Kunkel, Latiful Kabir)
  Standard plots, exploratory package (ntuple)
Calibration (Krishna Adhikari, MK, LK)
  Fit time as function of (doca, beta, B, local angle)
    Write calibration constants to CCDB
    Same function used for reconstruction and simulation
Simulation
  Distance to time (KA, Daniel Lersch)
    non-linear function, time walk correction, random walk smearing
  Efficiency (DL, Michael Kunkel)
    intrinsic inefficiency, background inefficiency, malfunction-related inefficiency
Corrections (No one yet! )
  Time-of-flight, signal propagation, alignment, wire sag, endplate bowing
Torus Mapping (Joseph Newton)
  Compare sector to sector, measurement to model
  Fit to individual misplacement, distortion

## Slide 2
DC monitoring: ‘standard plots’ done
Occupancy
: dead areas
DOCA vs. time
Time Differences
- spike at zero
 coherent noise

## Slide 3
Distance (cm)
Time (ns)
Region 1
Region 3
Region 2
B=2T
B=1T
B=0T
Distance (cm)
Time (ns)
local angle = 00
local angle = 300
inflection point
Distance  Time
-local-angle and B-field dependence
DC distance  time calibration
Distance  time
  non-linear fit of time as function of doca, local angle, B-field
  numerically inverted to obtain time  distance tables for 2 angular bins; 5 bins of B-field strength
Distance (cm)
Reconstruct
write out track banks
cut on beta, angle, B-field
fit time, DOCA histogram
write constants to CCDB
Iterate
“Factory setting”

## Slide 4
DC distance  time calibration
  First find “t0”
  Find t0 for each of 1512 signal cables (252 from sector 2)

## Slide 5
DC distance  time calibration
Calibration GUI in operation
  select events
  select local angle
  select range of fit
  fix or free paramers
  script to write to CCDB
Tune parameters
  Different DT functions
  polynomial ? exponential?
  Which parameters to fix?
  Iteration not improving resolution

## Slide 6
DC distance  time calibration
  Fits work pretty well

## Slide 7: DC Calibration - Residuals Comparison
Before Calibration
After Calibration
Superlayer = 1
σ = 0.055 cm
cm
Superlayer = 5
σ = 0.044 cm
Superlayer = 5
σ = 0.037 cm
Superlayer = 1
σ = 0.036 cm

## Slide 8
DC simulation: distance  time; time smearing; efficiency
Simulate distance  time (including smearing)
  non-linear distance to time function (SAME as for calibration)
  time-walk (beta-dependent) time smearing
  random walk smearing
Simulate wire-hit efficiency
  intrinsic efficiency (distance dependent)
  malfunction related (run dependent)
    malfunction table in MySQL (date, wire-list, statchange)
    translation table (equipment  wire)
     run-dependent wire status table in CCDB
  background related
    on-track (handled by GEMC)
    out of time (need to merge events)

## Slide 9
DC simulation: efficiency
Simulate malfunction-related inefficiencies

## Slide 10
DC Corrections
Time corrections
  time of flight (with and without particle id.)
  signal propagation time along wire
Alignment
  ‘straight-track’ runs
Distortions
  endplate bowing
  wire sagging
Parameterizations known
 implementation & testing

## Slide 11
Torus Field Mapping
Chart: By - midplane outer - all sectors
By-sec5 | 572.05 | 943.51 | 1529.34 | 2398.21 | 3585.35 | 5061.93 | 6730.25 | 8460.24 | 10126.27 | 11621.11 | 12869.54 | 13846.16 | 14555.01 | 15036.42 | 15347.89 | 15538.59 | 15654.06 | 15720.6 | 15759.95 | 15780.56 | 15794.7 | 15804.21 | 15808.5 | 15808.29 | 15806.77 | 15802.31 | 15793.76 | 15774.56 | 15738.49 | 15671.96 | 15553.96 | 15351.54 | 15024.67 | 14518.04 | 13778.69 | 12774.36 | 11503.94 | 10007.59 | 8364.26 | 6681.71
By-sec4 | 570.91 | 943.09 | 1531.4 | 2405.77 | 3595.5 | 5078.36 | 6750 | 8479 | 10139.93 | 11627.31 | 12869.33 | 13839.89 | 14547.55 | 15031.41 | 15345.79 | 15539.48 | 15657.2 | 15724.54 | 15764.85 | 15785.79 | 15799.54 | 15808.32 | 15815.2 | 15815.33 | 15814.7 | 15811.4 | 15804.06 | 15786.76 | 15752.48 | 15686.18 | 15567.59 | 15363.79 | 15033.15 | 14523.29 | 13780.97 | 12773.81 | 11502.31 | 10005.73 | 8365.22 | 6686.73
By-sec3 | 557.48 | 921.13 | 1497.28 | 2355.41 | 3536.81 | 5013.53 | 6692.3 | 8434.38 | 10115.06 | 11619.69 | 12881 | 13863.21 | 14580.08 | 15069.87 | 15386.46 | 15581.38 | 15699.5 | 15762.69 | 15800.26 | 15821.23 | 15833.28 | 15839.95 | 15842.05 | 15841.72 | 15841.46 | 15836.5 | 15826.79 | 15809.07 | 15773.42 | 15704.83 | 15582.97 | 15377.11 | 15043.62 | 14531.79 | 13785.49 | 12773.55 | 11493.89 | 9988.83 | 8339.87 | 6654.92
By-sec2 | 552.27 | 909.14 | 1474.51 | 2318.07 | 3485.19 | 4949.85 | 6623.87 | 8373.89 | 10062.54 | 11583.46 | 12859.18 | 13854.7 | 14580.37 | 15076.29 | 15397.35 | 15596.67 | 15717.42 | 15787.57 | 15824.4 | 15845.29 | 15857.77 | 15864.19 | 15866.84 | 15866.05 | 15865.52 | 15861.15 | 15852.07 | 15830.73 | 15792.19 | 15722.11 | 15598.74 | 15392.19 | 15059.01 | 14547.76 | 13802.16 | 12788.52 | 11505.36 | 9994.73 | 8338.43 | 6647.51
By-sec6 | 575.51 | 944.22 | 1526.82 | 2390.04 | 3570.01 | 5039.74 | 6702.03 | 8430.62 | 10097.43 | 11596.05 | 12850.85 | 13828.73 | 14538.75 | 15021.59 | 15332.58 | 15523.94 | 15641.15 | 15709.58 | 15750.74 | 15773.99 | 15788.89 | 15797.71 | 15802.34 | 15801.69 | 15800.17 | 15795.15 | 15785.85 | 15764.63 | 15726.38 | 15657.51 | 15538.24 | 15335.58 | 15009.46 | 14505.73 | 13770.39 | 12769.35 | 11503.81 | 10008.32 | 8366.85 | 6687.36
By-sec1 | 566.39 | 931.31 | 1507.32 | 2361.21 | 3535.69 | 5002.98 | 6667.09 | 8405.79 | 10081.2 | 11586.42 | 12848.69 | 13831.35 | 14547.76 | 15035.63 | 15350.79 | 15546.79 | 15666.26 | 15735.81 | 15773.6 | 15796.4 | 15810.12 | 15817.77 | 15821.53 | 15821.24 | 15819.63 | 15814.16 | 15803.88 | 15782.14 | 15742.41 | 15672.67 | 15550.38 | 15347.14 | 15018.08 | 14512.55 | 13774.77 | 12771.03 | 11499.07 | 10000.48 | 8355.53 | 6672.03
Chart: By - midplane outer - all sectors
By-sec5 | 572.05 | 943.51 | 1529.34 | 2398.21 | 3585.35 | 5061.93 | 6730.25 | 8460.24 | 10126.27 | 11621.11 | 12869.54 | 13846.16 | 14555.01 | 15036.42 | 15347.89 | 15538.59 | 15654.06 | 15720.6 | 15759.95 | 15780.56 | 15794.7 | 15804.21 | 15808.5 | 15808.29 | 15806.77 | 15802.31 | 15793.76 | 15774.56 | 15738.49 | 15671.96 | 15553.96 | 15351.54 | 15024.67 | 14518.04 | 13778.69 | 12774.36 | 11503.94 | 10007.59 | 8364.26 | 6681.71
By-sec4 | 570.91 | 943.09 | 1531.4 | 2405.77 | 3595.5 | 5078.36 | 6750 | 8479 | 10139.93 | 11627.31 | 12869.33 | 13839.89 | 14547.55 | 15031.41 | 15345.79 | 15539.48 | 15657.2 | 15724.54 | 15764.85 | 15785.79 | 15799.54 | 15808.32 | 15815.2 | 15815.33 | 15814.7 | 15811.4 | 15804.06 | 15786.76 | 15752.48 | 15686.18 | 15567.59 | 15363.79 | 15033.15 | 14523.29 | 13780.97 | 12773.81 | 11502.31 | 10005.73 | 8365.22 | 6686.73
By-sec3 | 557.48 | 921.13 | 1497.28 | 2355.41 | 3536.81 | 5013.53 | 6692.3 | 8434.38 | 10115.06 | 11619.69 | 12881 | 13863.21 | 14580.08 | 15069.87 | 15386.46 | 15581.38 | 15699.5 | 15762.69 | 15800.26 | 15821.23 | 15833.28 | 15839.95 | 15842.05 | 15841.72 | 15841.46 | 15836.5 | 15826.79 | 15809.07 | 15773.42 | 15704.83 | 15582.97 | 15377.11 | 15043.62 | 14531.79 | 13785.49 | 12773.55 | 11493.89 | 9988.83 | 8339.87 | 6654.92
By-sec2 | 552.27 | 909.14 | 1474.51 | 2318.07 | 3485.19 | 4949.85 | 6623.87 | 8373.89 | 10062.54 | 11583.46 | 12859.18 | 13854.7 | 14580.37 | 15076.29 | 15397.35 | 15596.67 | 15717.42 | 15787.57 | 15824.4 | 15845.29 | 15857.77 | 15864.19 | 15866.84 | 15866.05 | 15865.52 | 15861.15 | 15852.07 | 15830.73 | 15792.19 | 15722.11 | 15598.74 | 15392.19 | 15059.01 | 14547.76 | 13802.16 | 12788.52 | 11505.36 | 9994.73 | 8338.43 | 6647.51
By-sec6 | 575.51 | 944.22 | 1526.82 | 2390.04 | 3570.01 | 5039.74 | 6702.03 | 8430.62 | 10097.43 | 11596.05 | 12850.85 | 13828.73 | 14538.75 | 15021.59 | 15332.58 | 15523.94 | 15641.15 | 15709.58 | 15750.74 | 15773.99 | 15788.89 | 15797.71 | 15802.34 | 15801.69 | 15800.17 | 15795.15 | 15785.85 | 15764.63 | 15726.38 | 15657.51 | 15538.24 | 15335.58 | 15009.46 | 14505.73 | 13770.39 | 12769.35 | 11503.81 | 10008.32 | 8366.85 | 6687.36
By-sec1 | 566.39 | 931.31 | 1507.32 | 2361.21 | 3535.69 | 5002.98 | 6667.09 | 8405.79 | 10081.2 | 11586.42 | 12848.69 | 13831.35 | 14547.76 | 15035.63 | 15350.79 | 15546.79 | 15666.26 | 15735.81 | 15773.6 | 15796.4 | 15810.12 | 15817.77 | 15821.53 | 15821.24 | 15819.63 | 15814.16 | 15803.88 | 15782.14 | 15742.41 | 15672.67 | 15550.38 | 15347.14 | 15018.08 | 14512.55 | 13774.77 | 12771.03 | 11499.07 | 10000.48 | 8355.53 | 6672.03
Chart: By midpane inner (all sectors)
By-sec5 | 141.89 | 255.85 | 465.26 | 842.61 | 1492.76 | 2530.55 | 4001.55 | 5812.41 | 7768.92 | 9642.61 | 11279.07 | 12575.94 | 13522.22 | 14159.61 | 14553.83 | 14773.72 | 14886.63 | 14937.78 | 14954.54 | 14958.21 | 14959.8 | 14961.08 | 14962.85 | 14963.26 | 14963.67 | 14962.27 | 14959.82 | 14948.71 | 14925.83 | 14863.42 | 14727.43 | 14462.82 | 14005.57 | 13280.72 | 12226.27 | 10814.12 | 9088.63 | 7160.04 | 5220.88 | 3502.86
By-sec4 | 135.27 | 247.76 | 455.79 | 831.6 | 1481.71 | 2518.44 | 3983.58 | 5784.96 | 7715.69 | 9564.33 | 11180.04 | 12469.34 | 13420.89 | 14074.01 | 14480.33 | 14708.6 | 14824.17 | 14875.42 | 14889.82 | 14892.57 | 14892.4 | 14894.23 | 14895.62 | 14897.14 | 14898.71 | 14902 | 14903.79 | 14898.22 | 14879.99 | 14821.95 | 14684.5 | 14414.64 | 13944.92 | 13201.36 | 12119.71 | 10694.12 | 8984.77 | 7065.1 | 5144.11 | 3451.93
By-sec3 | 132.28 | 240.01 | 437.05 | 794.29 | 1414.79 | 2415.43 | 3852.57 | 5640.35 | 7575.85 | 9446.62 | 11089.77 | 12407.78 | 13379.74 | 14045.25 | 14467.64 | 14712.62 | 14837.9 | 14892.88 | 14910.6 | 14911.22 | 14907.98 | 14903.45 | 14898.67 | 14902.3 | 14905.76 | 14909.98 | 14912.98 | 14908.99 | 14878.9 | 14805.92 | 14650.71 | 14358.79 | 13872.32 | 13118.96 | 12037.79 | 10613.94 | 8881.52 | 6959.72 | 5048.77 | 3371.07
By-sec2 | 138.94 | 245.71 | 440.57 | 790.73 | 1398.65 | 2381.18 | 3800.4 | 5582.24 | 7522.74 | 9410.69 | 11064.7 | 12388.74 | 13363.21 | 14029.49 | 14453.47 | 14703.77 | 14836.71 | 14897.95 | 14918.22 | 14918.74 | 14915.16 | 14909.92 | 14907.02 | 14908.07 | 14911.19 | 14916.87 | 14917.94 | 14910.81 | 14875.16 | 14795.14 | 14630.59 | 14334.8 | 13847.68 | 13097.7 | 12023.52 | 10599.71 | 8865.73 | 6941.96 | 5027.01 | 3352.08
By-sec6 | 145.03 | 258.34 | 465.49 | 837.75 | 1484.14 | 2512.72 | 3980.72 | 5799.05 | 7764.16 | 9651.77 | 11296.96 | 12595.8 | 13540.57 | 14166.75 | 14554.45 | 14773.84 | 14888.71 | 14942.4 | 14967.39 | 14974.27 | 14974.14 | 14974.5 | 14974.95 | 14974.05 | 14972.96 | 14972.58 | 14971.22 | 14959.36 | 14928.57 | 14858.46 | 14714.08 | 14445.8 | 13992.49 | 13278.25 | 12237.44 | 10842.69 | 9130.59 | 7209.48 | 5268.23 | 3541.97
By-sec1 | 141.95 | 253.24 | 457.55 | 824.16 | 1459.12 | 2477.34 | 3934.52 | 5741.02 | 7694.04 | 9577.63 | 11221.3 | 12527.1 | 13476.47 | 14117.28 | 14518.1 | 14751.68 | 14877.21 | 14933.5 | 14956.26 | 14963.02 | 14963.51 | 14960.51 | 14958.93 | 14959.57 | 14958.26 | 14957.67 | 14954.86 | 14944.59 | 14910.03 | 14832.4 | 14676.26 | 14393.06 | 13922.47 | 13188.58 | 12122.56 | 10711.68 | 9003.59 | 7087.19 | 5163.83 | 3458.6
Chart: By midplane inner (all sectors)
By-sec5 | 141.89 | 255.85 | 465.26 | 842.61 | 1492.76 | 2530.55 | 4001.55 | 5812.41 | 7768.92 | 9642.61 | 11279.07 | 12575.94 | 13522.22 | 14159.61 | 14553.83 | 14773.72 | 14886.63 | 14937.78 | 14954.54 | 14958.21 | 14959.8 | 14961.08 | 14962.85 | 14963.26 | 14963.67 | 14962.27 | 14959.82 | 14948.71 | 14925.83 | 14863.42 | 14727.43 | 14462.82 | 14005.57 | 13280.72 | 12226.27 | 10814.12 | 9088.63 | 7160.04 | 5220.88 | 3502.86
By-sec4 | 135.27 | 247.76 | 455.79 | 831.6 | 1481.71 | 2518.44 | 3983.58 | 5784.96 | 7715.69 | 9564.33 | 11180.04 | 12469.34 | 13420.89 | 14074.01 | 14480.33 | 14708.6 | 14824.17 | 14875.42 | 14889.82 | 14892.57 | 14892.4 | 14894.23 | 14895.62 | 14897.14 | 14898.71 | 14902 | 14903.79 | 14898.22 | 14879.99 | 14821.95 | 14684.5 | 14414.64 | 13944.92 | 13201.36 | 12119.71 | 10694.12 | 8984.77 | 7065.1 | 5144.11 | 3451.93
By-sec3 | 132.28 | 240.01 | 437.05 | 794.29 | 1414.79 | 2415.43 | 3852.57 | 5640.35 | 7575.85 | 9446.62 | 11089.77 | 12407.78 | 13379.74 | 14045.25 | 14467.64 | 14712.62 | 14837.9 | 14892.88 | 14910.6 | 14911.22 | 14907.98 | 14903.45 | 14898.67 | 14902.3 | 14905.76 | 14909.98 | 14912.98 | 14908.99 | 14878.9 | 14805.92 | 14650.71 | 14358.79 | 13872.32 | 13118.96 | 12037.79 | 10613.94 | 8881.52 | 6959.72 | 5048.77 | 3371.07
By-sec2 | 138.94 | 245.71 | 440.57 | 790.73 | 1398.65 | 2381.18 | 3800.4 | 5582.24 | 7522.74 | 9410.69 | 11064.7 | 12388.74 | 13363.21 | 14029.49 | 14453.47 | 14703.77 | 14836.71 | 14897.95 | 14918.22 | 14918.74 | 14915.16 | 14909.92 | 14907.02 | 14908.07 | 14911.19 | 14916.87 | 14917.94 | 14910.81 | 14875.16 | 14795.14 | 14630.59 | 14334.8 | 13847.68 | 13097.7 | 12023.52 | 10599.71 | 8865.73 | 6941.96 | 5027.01 | 3352.08
By-sec6 | 145.03 | 258.34 | 465.49 | 837.75 | 1484.14 | 2512.72 | 3980.72 | 5799.05 | 7764.16 | 9651.77 | 11296.96 | 12595.8 | 13540.57 | 14166.75 | 14554.45 | 14773.84 | 14888.71 | 14942.4 | 14967.39 | 14974.27 | 14974.14 | 14974.5 | 14974.95 | 14974.05 | 14972.96 | 14972.58 | 14971.22 | 14959.36 | 14928.57 | 14858.46 | 14714.08 | 14445.8 | 13992.49 | 13278.25 | 12237.44 | 10842.69 | 9130.59 | 7209.48 | 5268.23 | 3541.97
By-sec1 | 141.95 | 253.24 | 457.55 | 824.16 | 1459.12 | 2477.34 | 3934.52 | 5741.02 | 7694.04 | 9577.63 | 11221.3 | 12527.1 | 13476.47 | 14117.28 | 14518.1 | 14751.68 | 14877.21 | 14933.5 | 14956.26 | 14963.02 | 14963.51 | 14960.51 | 14958.93 | 14959.57 | 14958.26 | 14957.67 | 14954.86 | 14944.59 | 14910.03 | 14832.4 | 14676.26 | 14393.06 | 13922.47 | 13188.58 | 12122.56 | 10711.68 | 9003.59 | 7087.19 | 5163.83 | 3458.6
 Midplane B-fields Vary by ~ 1/2% Sector to Sector

## Slide 12
Torus Field Mapping
Torus field mapping
  measure field at selected points
  compare to calculation
  calculation 2% low at 46.5 cm
  calculation 5% low at 30 cm
Chart: By - Nom. & Meas. - Sec. 1, hole 3
 | 566.39 | 931.329 | 1507.36 | 2361.24 | 3535.69 | 5003.08 | 6667.38 | 8406.22 | 10082.4 | 11587.7 | 12850 | 13832 | 14548.2 | 15035.7 | 15350.8 | 15547 | 15666.8 | 15736.3 | 15774 | 15797.4 | 15811 | 15818.3 | 15821.6 | 15821.2 | 15819.9 | 15814.6 | 15804.6 | 15782.9 | 15743.8 | 15674.3 | 15552 | 15348.7 | 15019 | 14513.2 | 13774.9 | 12771 | 11499.2 | 10000.7 | 8355.71 | 6672.15 | 0 | 0
 | 450.821 | 746.627 | 1221.64 | 1946.63 | 2974.02 | 4303.3 | 5866.57 | 7550.08 | 9228.44 | 10788.5 | 12141.4 | 13231.7 | 14043.9 | 14601.7 | 14957.1 | 15170.3 | 15294.1 | 15365.5 | 15407.1 | 15432 | 15447.2 | 15456.7 | 15462.5 | 15465.6 | 15466.5 | 15464.9 | 15459.8 | 15449.3 | 15429 | 15391.1 | 15320.9 | 15192.3 | 14964.4 | 14581.6 | 13984.6 | 13127.9 | 11997.4 | 10618.3 | 9052.68 | 7392.78 | 5752.23 | 4252.2
Chart: Nom vs. Meas. By - sec. 1 - hole 1
 | 141.95 | 253.091 | 457.212 | 823.668 | 1458.52 | 2476.61 | 3933.86 | 5740.71 | 7694.64 | 9579.36 | 11224.1 | 12530.7 | 13481.2 | 14121.8 | 14522 | 14754.8 | 14880.2 | 14936.1 | 14958.8 | 14965.1 | 14964.7 | 14960.5 | 14959.2 | 14959.5 | 14958.8 | 14958 | 14955.3 | 14946 | 14911.3 | 14833.3 | 14676.7 | 14393.3 | 13922.9 | 13188.7 | 12122.4 | 10711 | 9002.72 | 7086.3 | 5162.92 | 3457.55 | 0 | 0
 | 106.755 | 192.038 | 348.788 | 634.538 | 1140.8 | 1984.63 | 3256.2 | 4931.43 | 6844.7 | 8768.22 | 10503.6 | 11916.4 | 12940.4 | 13583 | 13926.5 | 14087.7 | 14159.1 | 14190.9 | 14205.6 | 14212.8 | 14216.5 | 14218.5 | 14219.5 | 14220 | 14220 | 14219.3 | 14217.7 | 14214.1 | 14206.3 | 14189.1 | 14150.2 | 14060.2 | 13856.9 | 13435.7 | 12683.9 | 11540.4 | 10021.6 | 8215.11 | 6275.66 | 4416.77 | 2857.93 | 1724.53
2%
5%
 Coil radius off by 1cm in calculation ??

## Slide 13: DC monitoring - calibration - simulation - corrections
Monitoring
  standard plots done, developing ntuple, summary strip charts
Calibration
  code written, fine-tuning procedures
Simulation
  t  d: code written, adjusting parameters to match data
  malfunctions: GUI written, working on procedures
Corrections
  time, geometry corrections to be done in summer
Torus Mapping
  sector to sector variation ~ 0.5%; ready to fit
Credit to Idaho St., Mississippi St., Juelich Inst., ODU
Follow us at dc_team on Slack