## Slide 1
CLAS12 Combined Vertex Tracker
Online Monitoring
Yuri Gotra
Maxime Defurne
Guillaume Christiaens

## Slide 2
Tracker Design
PARAMETER | DESIGN VALUE
Angular coverage θ | 35°–125°
Angular coverage Φ | ~2π
Momentum resolution | ~6%
θ resolution | 1.5 mrad
φ resolution | ~5 mrad
Tracking efficiency | > 90%
  Combined technology (solid state + gaseous)
  3 Double silicon layers
  6 micromegas layers
  6 micromegas disks

## Slide 3
“C” Barrel
“Z” Barrel
1152 “C” strips
221mm radius (C6)
Variable pitch from 330 to 670 µm
PCB thickness 100 µm
Drift thickness 250 µm
0.31% x/X0
Drift Field 2.4 kV on 3 mm gap
Resistive strips technology
“C” Barrel
“Z” Barrel
768 “Z” strips
225 mm radius (Z6)
528 µm pitch
PCB thickness 200 µm
Drift thickness 250 µm
0.35% x/X0
Drift Field <2.4 kV on 3 mm gap
Resistive strips technology
Micromegas Tracker
1024 strips
215 (25) mm outer (inner) radius
525 µm pitch
Resistive strips technology
Disk
18 Barrel Tiles, 18 k channels
6 Forward Disks

## Slide 4
Silicon Vertex Tracker
hybrid
sensor
Barrel assembly
SVT module close-up
Three regions (radii 65, 93, 120 mm)
1% of radiation length per region
42 sectors/modules (10, 14, 18)
21504 channels
168 front end chips
Cantilevered cylinders with support rings
Double sided modules with 3 daisy chained sensors
Single sided sensors with graded pitch
Rigi-flex hybrid with extended L1 disconnect
156 m graded pitch 202 m
3° stereo angle 2°

## Slide 5: CVT Integration (May 2017)

## Slide 6: SVT and MVT Online Monitoring Overview
Monitoring suites within MON12 framework (COATJava application)
Shifter Monitoring:
  Top level summary plots to monitor system performance
  Hit occupancy (raw data), FPGA scalers (from DiagGUIServer), MVT pulse timing
  On-the-fly decoding and reconstruction of ET ring data, using CED monitoring
  Local reconstruction and tracking summaries
  Online track data visualization (XY, XZ, component views)
Expert Level Monitoring:
  Hierarchical structuring of the event data (detector, region, layer, module, chip, channel) to check functionality of all system components
  Detector view and selection of component to monitor
  Color-coded plots (on/off track, hits, clusters, crosses)
  Local reconstruction (hits, clusters, crosses, rates, multiplicities)
  Track reconstruction (kinematic distributions, rates, multiplicities, trajectory, efficiencies, on-track vs. off-track distributions)
  Component summaries (average values of monitoring variables)
  Detector stability (time-line plots of occupancies and multiplicities)
  Saving histograms as hipo file
Slow Controls Monitoring
  System Overview, interlock status, shifter level control
  Expert Level with authentication, multiple screens, hierarchical views
Single Event Effects (SEE) Monitoring
  Monitor beam induced effects on tracker DAQ

## Slide 7: Slow Control Monitoring

## Slide 8: Online monitoring: track reconstruction
SVT
MVT

## Slide 9: MVT Online Shifter Monitoring: Hit Occupancy
Cosmic Run
Monte Carlo
Tiles ordered by layer and then by sector
Z
C

## Slide 10: MVT Online Shifter Monitoring: Pulse Properties
Pulse : ADC vs. time samples
Number of samples over the threshold
Number of samples over the threshold average
Chip
Time of max ADC
Entries
Strip
Entries
(test DAQ synchronization)
Threshold

## Slide 11: MVT Online Monitoring: Cluster Properties
Cosmic Run
Monte Carlo
Cluster Charge
Cluster Size

## Slide 12: MVT: Expert Monitoring
Most plot have 2 versions:
  Average per strip
  Distribution for each tile
Occupancy plots
Rate plots
ADC plots
  Integral over the pulse
Timing plots
  Time of max
  Number of samples over threshold
  First sample over threshold
Integral of pulse ADCs vs. strip number
Number of samples over threshold

## Slide 13: VSCM Scalers: noise hit occupancy map
DaqGuiServer running on svt1 and svt2

## Slide 14: Singe Event Monitoring (SEM)

## Slide 15: SVT Hit Occupancy Monitoring

## Slide 16: SVT Hit Occupancy Monitoring (Cosmic Run)
All hits
First track
Second track
Off track

## Slide 17: SVT Monitoring during KPP run
All hits
First track
Second track
Off track
Hall B counting room

## Slide 18: SVT Monitoring: Detector Level Histograms

## Slide 19: SVT Monitoring: Region Summaries

## Slide 20: SVT Monitoring: Sensor Level Histograms

## Slide 21: SVT Monitoring: Sensor Level Histograms
Bad VSCM connector (replaced)

## Slide 22: SVT Monitoring: Reconstructed On-Track Crosses

## Slide 23: SVT Monitoring: Tracking (Cosmic Run)

## Slide 24
SVT Monitoring: Track kinematics (Simulated Data)

## Slide 25: CLAS Online Display
Configurable monitoring histograms

## Slide 26: SVT Monitoring: Mean Residuals, mm
L1
L2
L3
L4
L5
L6

## Slide 27: SVT Monitoring: RMS Residuals, mm
L1
L2
L3
L4
L5
L6

## Slide 28: SVT Monitoring: Mean Cluster Charge
L1
L2
L3
L4
L5
L6

## Slide 29: SVT Monitoring: Mean Cluster Size
L1
L2
L3
L4
L5
L6

## Slide 30: SVT Monitoring: Mean Local Track Angle
L1
L2
L3
L4
L5
L6

## Slide 31: SVT Monitoring: Mean Hit Occupancy (per event)
L1
L2
L3
L4
L5
L6

## Slide 32: Summary
SVT and MVT online monitoring of detector performance developed as part of MON12 framework
Shifter and expert level monitoring defined
On-the-fly decoding and reconstruction validated on ET ring
Tracker monitoring has been tested on cosmic runs and in the KPP run
Slow Control Monitoring validated (system overview and expert level)
Path forward:
Time-line monitoring
Quality tests, automation, and logging
Integrate the suite with other MON12 subsystems and test performance
Establish EPICS monitoring of the scalers and SEE
Modify track visualization interface
Integration with CLAS Data Quality Monitoring Framework
Web Interface for shifter summary plots
Complete documentation on the monitoring suites