## Slide 1
TOF Systems Settings/Calibration/Performance Status and Plans
Daniel S. Carman
Jefferson Laboratory
FTOF
CTOF

## Slide 2
TOF Hardware Status
S1 |  | 
S2 | P1a #6L | Bad divider
 | P1a #10L | Bad divider
 | P1a #19L | Bad divider
S3 |  | 
S4 |  | 
S5 |  | 
S6 | P1a #21L | Bad divider
Counter #14 not installed due to space issues; to be installed before fall 2018 run
FTOF
CTOF

## Slide 3
TOF Hardware Status
S1 |  | 
S2 | P1a #6L | Bad divider
 | P1a #10L | Bad divider
 | P1a #19L | Bad divider
S3 |  | 
S4 |  | 
S5 |  | 
S6 | P1a #21L | Bad divider
Counter #14 not installed due to space issues; to be installed before fall 2018 run
FTOF
CTOF
CTOF Group Leader

## Slide 4
TOF TDC Setup
TDC time windows set at 500 ns
Disc. width/thr = 35 ns/-35 mV (FTOF), 100 ns/-20 mV (CTOF)
FTOF
CTOF
t (ns)
FADC
FADC
t (ns)

## Slide 5
TOF FADC Setup
FADC window: 296 ns (74 samples)
TET threshold: 60
  (1 MeV FTOF, 0.5 MeV CTOF)
NSB/NSA = 8/28 FTOF, 12/60 CTOF
FTOF
CTOF

## Slide 6
Calibration Suites
Timing Calibrations | 
1 | PMT Timing Diff.
2 | Attenuation Length
3 | Effective Velocity
4 | Time-Walk (FTOF only)
5 | RF Offset
6 | P2P Offset
Timing calibrations are an iterative procedure that rely on multiple passes through a data file for optimal resolution
Intimately tied in with
quality of tracking

## Slide 7
TOF Calibration Flowcharts
FTOF
CTOF

## Slide 8
FTOF Calibration Constants
(ns)
LR
VEFF
RF
ATTEN
TW
P2P

## Slide 9
FTOF Calibration Comparison
FTOF S2 p1a
Eng. Run data
FTOF S2 p1a
KPP data
runs
2052-2058
design specs
runs
804-810
FTOF S2 p1b
KPP data
FTOF S2 p1b
Eng. Run data
runs
2052-2058
design specs
runs
804-810
P1a Resolution (ns)
P1a Resolution (ns)

## Slide 10
FTOF Calibration
Strong correlation remains with hit position as position dependent time-walk correction is not yet taken into account
this is work in progress

## Slide 11
CTOF Calibration Constants
UD
VEFF
P2P
ATTEN
RF

## Slide 12
CTOF Calibration
Design specifications for CTOF: 65 ps
CTOF calibrations not possible during KPP due to lack of solenoid magnet
Resolution (ns)
Counter Number

## Slide 13
CTOF Calibration
Strong correlations remain with vz, hit position, path length that point to issues with path length and geometry

## Slide 14
System Calibrations
Runs | Eb (GeV) | i (nA) | Torus/Solenoid
2052-2058 | 10.6 | 5 | 85% (nin) / -100%
2091-2093 | 10.6 | 25 | -85% (nin) / -100%
2193-2195 | 10.6 | 10 | 100% (nout) / -100%
2475-2478 | 2.2 | 2 | 60% (nout) / +60% (CTOF only)
3050 | 6.4 | 15 | 100% (nin) / -100%
3105 | 6.4 | 10 | 75% (nout) / -100%

## Slide 15
Remaining Work
Optimize Forward Tracking (DC+FMT) to optimize path length resolution
Include correct torus/solenoid field maps to improve tracking
Improve time-walk algorithm to account for position dependent response
Include updated INL tables into TDCs
Include Forward Carriage survey data
Resolve current issues with CVT tracking algorithm
Complete CVT (SVT+MM) alignment
Include CTOF survey data (radial shifts vs. counter number)
Include updated INL tables into TDCs
Include correct CTOF counter geometry in reconstruction
FTOF
CTOF

## Slide 16
FTOF Rate Studies
kHz
p1b p1a p2
GEMC simulation at Lnom:
10.6 GeV, FT-On
100% torus, 100% solenoid
1 MeV Edep threshold
i, nA
Hz
p1a
p1b
p2
Rates from beam studies:
Presented as average over panels
Based on FADC scalers
FADC threshold ~0.25 MeV

## Slide 17
CTOF Rate Studies
U
D
D
U
TET=20
(200 keV)
TET=100
(1 MeV)
i, nA
<R>, Hz
Simulations of CTOF rates for Lnom:
  5 MHz/counter with 0 threshold
  150 kHz at 1 MeV threshold
Good agreement with simulations
CLAS12-Note 2017-016

## Slide 18
Summary
FTOF and CTOF hardware is in very good shape
The CLAS12 time-of-flight systems performed as expected during the Engineering Run under a broad range of conditions even up to ~150 nA
The calibrations of the detectors have been completed for data collected under a number of different conditions
Systematic studies of the detectors are getting underway
The FTOF calibrations are showing performance very close to expectations – once the remaining work to improve the reconstructions and calibrations is completed - full agreement is expected relative to design specs
The CTOF calibrations are a factor of two worse than expectations due to the current state of CVT tracking and the CTOF geometry approximations in the reconstruction code; development work in progress