## Slide 1
TESLA Technology Collaboration
At Jlab, 5-8 November, 2012
Nobu Toge and Wolf-Dietrich Moeller
Report from the Technical Board (TB)

## Slide 2: TTC TB participants
Co-chairs
N. Toge (KEK)
W.-D. Moeller (DESY)
Cavity and couplers
C. Antoine (CEA)
S. Bousson (CNRS-Orsay)
R.L. Geng (JLab)
C. Ginsburg (FNAL)
E. Kako (KEK)
R. Laxdal (TRIUMF)
D. Reschke (DESY)
Ji Yuan ZHAI (IHEP)
Red = participants in this meeting
RF and Tuning
O. Brunner (CERN)
P. McIntosh (STFC)
Cryomodule and cryogenics
H. Nakai (KEK)
T. Peterson (FNAL)
P. Pierini (INFN)
... Rep by Paolo Michelato
Integration and Operation
H. Hayano (KEK)
Sang-Ho Kim (SNS)
M. Liepe (Cornell) via Network
S. Schreiber (DESY)
Honoris Causa
J. Mammosser (JLab)
C. Pagani (INFN)
M. Ross (GDE)
H. Weise (DESY)
A. Yamamoto (KEK)
F. Pilat (Jlab)
Invitees
G. Giovati (Jlab)
R. Garoby (CERN)
Y. Yamamoto (KEK)
J. Preble (Jlab)
D. Kostin (DESY)

## Slide 3: Technical Board Mission
According to the MoU of TTC:
“the Technical Board TB shall provide advice to the Collaboration on technical activities towards reaching the goals of the Collaboration Mission. To this end, the TB will:
compile information on the technology activities in different technical areas,
provide findings and recommendations to the CB.”
These are very abstract goals.
In the beginning of this (Jlab) TTC meeting - TTC Chair, Olivier Napoly proposed that the Technical Board attempts
1) digest the findings, debates and technical needs from the meeting,
2) highlight the most interesting paths of progress, within the APE triangle,
3) propose developments or experimental tests to explore these paths.
A long term topic suggested from this Meeting on :
Clean-room assembly procedures as a key to cryomodule (counter-) performance

## Slide 4: From Beijing Meeting (Dec., 2011)
In depth discussion favored:
 Jlab meeting: Tried this morning, Nov.8, 2012 (WG4 and WG2)
Recommendations:
  Contact the new “Open Collaboration Meeting on Superconducting Linacs for High Power Proton Beams (SLHiPP-1)” and find out how we can work together
   Jlab meeting: Topic of CB, Nov. 5, 2012

## Slide 5: Follow-up topics from previous TBs (1)
Documentation of existing cavity preparation infrastructures
  Wolfgang Weingarten delivered within EuCARD a booklet for Europe: http://eucard.web.cern.ch/EuCARD/activities/communication/booklets/
  Oliviers proposal: we ask every TB representative once a year for just a table with the main information. This will be published at the TTC homepage.
  Jlab meeting: Need to reclafity the mandate and determine if we try to address this.
Pressure vessel certification
  No presentations at this meeting.
  Procedure for the XFEL cavities is almost fixed and realisation already started.
  An international approach is not investigated and also not visible now.
  Not a topic this meeting
  We propose: XFEL and KEK procedure presentation at the next meeting.
  Jlab meeting: KEK presentation in Nov. 7 PM, XFEL next time

## Slide 6: Follow up topics from previous TBs (2)
Cavity field emission: calibration of the different test stands (vert. , hor.) at different institutes
  Paper from D. Kostin at the SRF11 conference about the Desy test stands
  First activities at Fermilab and Jlab.
  This is still very important! We propose presentations from various Labs at the next TTC meeting. Jlab meeting: Work done by KEK-JLab, although no presentation  next time. Also, related to “clean room procedure” review.
Which data can TTC expect from the larger scale cavity/coupler/module production of e.g. XFEL?
  In a mass production the components are probably not qualified up to its limits, but only up to the needed performance – this is not R&D
  This is a loss of information for later projects and R&D.
  Which additional systematic measurements could be included in the tests? (recording of processing events? one or more power rise?)
  We propose to get information on the module test procedures from XFEL and Jlab next meeting (Sept.2012 first XFEL module tests).
  Jlab meeting: Defer to the next meeting.

## Slide 7
Cavity degradation is discussed in Beijing meeting
  After the module assembly
  During the test, vert. and in module
  Because of the importance we propose to continue. The low beta experience would be very helpful. Jlab meeting: “Clean rom procedure review” to launch
Power coupler
  We had a session in Beijing meeting
  Technology
  Operating
  Cleaning of power coupler
  Copper plating – SLAC, CERN sputtering, GSI?
   Jlab meeting; Will be continued / maintained.
High Q discussion
  CW operation – was addressed in Beijing meeting
  Low field high Q discussion should be continued.
  Magnetic shielding and microphonics
   Jlab meeting: should be continued / maintained .
Follow up topics from previous TBs (3)

## Slide 8: Initiative for Review: “Clean Room Issues” (2)
Topic = Clean room issues for cavity string assembly
Proposal by Olivier (Oct.22), picked up by Wolf-Dietrich
  Comparison of the procedures for cavity and coupler assembly in clean rooms.
    Exmaple: XFEL clean room procedure - ftp://ftp.cea.fr/incoming/y2k01/NAPOLY/
  Scenario:
    Collect information of clean room assembly proc’s of module strings from experts at major production / R&D efforts.
    Exchange the info, among the experts, for an internal review.
    Collection of comments will be documented and be shared.
    Possibly some external review (semi-conductor industry folks have been contacted by some labs, we try to find a branch who also with ‘bolts and nuts’)
Jlab meeting: TB on Nov. 7 endorsed the proposal.

## Slide 9: Initiative for Review: “Clean Room Issues” (3)
Points of internal review
  Focus on cavity string assembly
  Acceptance procedures of incoming parts
  Cleaning procedures for entering the clean room
  Most critical manipulation
  Uncertain manipulations
  Safe/ evident manipulations
  Dependencies from hardware:
    Flange design
    Sealing systems
    Materials
    Tooling
  Dependencies from level of gradient
  Dependencies from level of alignment
  What documentation is needed

## Slide 10: Initiative for Review: “Clean Room Issues” (4)
List of experts to be possibly mobilized
  FNAL: Tug Arkan, Allan Rowe agreed
  KEK: Eiji Kako agreed
  FZB: Andrew Burrill agreed
  DESY: Axel Matheisen, Delef Reschke tbc.
  CEA: Stéphane Berry, Christelle Cloué, agreed
  Cornell: Rolf Eichhorn agreed
  Univ. Frankfurt: Holger Podlech agreed
  IPN Orsay: Sebastian Bousson agreed
  CERN: Oliver Brunner agreed
  Find more experts from other Labs

## Slide 11: Initiative for Review: “Clean Room Issues” (5)
Timeline:
  We have material from CEA and FNAL
  Identify experts from different labs, this year
  Get more material within the next few month
  Send the material to the experts by Jan 2013 (if necessary continue sending material)
  Get responses from experts by end of March
  Edit incoming comments/reviews by end of May
  Chair with the community before SRF 13
  …

## Slide 12: Thoughts on “In-Depth discussion”
Considered to be a good initiative.
Jlab meeting tried
  WG4: Toward cost-effective SRF – in both construction and operation. Convened by R.Garoby, J.Preble, H.Hayano
  WG2: High-gradient and high Q0 cavity developments
  Convened by D.Kostin, G.Ciovati, Y.Yamamoto
Subject matters go across a very wide range of topics
  Cannot cover them all in one shot
  Recommend: Be selective. Address a few focus topics at each time, and continue, while we try to keep the whole perspectives.