| Jefferson Lab Alignment Group Data Transmittal |
| --- |
| TO: M. Ito, D. Kashy | DATE: Sep 03 2004 |
| FROM: James Dahlberg | Checked: | # : B940 |

DETAILS:

Below are the results from the Hall B HyCal detector calibration performed on

Aug. 27, 2004.  The values are in a beam following system relative to ideal CLAS centerline.  Actual CLAS center is beam left 0.22 mm and high 0.66 mm.  A -Z is upstream, a +X is to the beam left, and a +Y is above.  A +pitch is CCW looking from the beam right, a + roll is CCW looking downstream, and a -yaw is CCW looking from above.  The locations are labeled as noted during the survey.  Values below are in millimeters and degrees.

LOC.	            Z	            X	            Y		ROLL		PITCH		 YAW

2		     -8524.01             -582.36               596.28	  	0.008  		0.123 		-0.085

3		     -8524.04	      -582.43	        596.23		0.008		0.119		-0.085

4		     -8523.96	      -582.44                596.29		0.009		0.122		-0.084

5		     -8524.18	      -297.83	        596.49		0.015		0.118		-0.089

6		     -8524.71               -11.65	        596.54		0.014		0.092		-0.089

7		     -8524.69	        -11.35	        596.61		0.010		0.088		-0.088

8		     -8524.74	        -11.66	        596.57		0.012		0.091		-0.089

9		     -8524.73	           1.34                596.57	 	0.012		0.090		-0.088

6_2	     -8524.71	        -11.68                596.58	  	0.012		0.089		-0.088

7_2	     -8524.70	        -11.36	         596.52	  	0.015		0.092		-0.089

8_2	     -8524.86	        -11.69	         596.54	  	0.014		0.092		-0.091

9_2	     -8525.60	       274.24	         596.67		0.008		0.060		-0.088

10	     -8525.72	       584.85	         596.72		0.013		0.067		-0.087

11	     -8525.62	       584.71	         596.73		0.013		0.066		-0.087

12	     -8525.60	       584.74	         596.74		0.012		0.066		-0.086

12_1	     -8525.82	       584.74	         596.90	  	0.013		0.066		-0.089

12_2	     -8525.66	       584.69	         596.66		0.016		0.065		-0.087

14	     -8525.12	       584.53	            -3.59		0.026		0.050 		-0.087

16	     -8525.18	       584.49	            -3.85	 	0.028		0.055		-0.088

17	     -8525.08  	       584.53	            -3.60		0.027		0.052		-0.086

19	     -8525.77	       584.45	        -698.43		0.030		0.034		-0.097

21	     -8525.76	       584.41	        -696.73		0.034		0.036		-0.097

22	     -8525.88	       584.45	        -698.47		0.029		0.034		-0.099

22_1	     -8525.93	       584.47	        -698.56		0.031   		0.035		-0.100

22_2	     -8525.90	       584.47	        -698.56		0.029		0.035		-0.099

23	     -8525.91	       274.40	        -698.51	  	0.022		0.021		-0.099

24	     -8525.24	        -11.56	        -698.53		0.025		0.052		-0.102

25	     -8524.38	      -431.25	        -698.60		0.023		0.079		-0.099

26	     -8524.19	      -582.65	        -698.68		0.018		0.084		-0.098

27	     -8524.13	      -582.65	        -697.53		0.017		0.086		-0.097

28	     -8524.12	      -582.64	        -697.50	  	0.015		0.084		-0.097

29	     -8525.31	        -11.88	        -697.35		0.024		0.053		-0.107

30	     -8525.34	        -11.89	        -697.90		0.025		0.054		-0.108

31	     -8525.06	        -11.88	        -697.91		0.026		0.055		-0.103