| Jefferson Lab Alignment Group Data Transmittal |
| --- |
| TO: M. Ito, D. Kashy, A. Gasparian | DATE: Oct 13 2004 |
| FROM: J. Dahlberg | Checked: | # : B958 |

DETAILS:

Below are the results from the Hall B HyCal detector alignment performed on

Oct. 8, 2004.  The values are in a beam following system relative to ideal CLAS centerline.     Values are in millimeters and degrees.

Z:	7416.18 upstream.

X:	0.02 beam right.

Y:	0.09 high.

Roll:	0.0017 clockwise looking downstream.

Pitch:	0.0065 clockwise looking from the beam right.

Yaw:	0.0036 counter clockwise looking from above.